## Slide 1: DAQ in practice… during summer 2017 beam tests
E. Noah
8 December 2017

## Slide 2
PC
PC
PC
Scripting C#
AFE
Host appli. V1.0.0.476
Scripting C#
Scripting C#
Scripting C#
AFE
Host appli. V1.0.0.476
AFE
Host appli. V1.0.0.476
AFE
Host appli. V1.0.0.476
FEBv2
Firmware v5.3-268
FEBv2
Firmware v5.3-268
x6
FEBv2
Firmware v5.3-268
FEBv2
Firmware v5.3-268
x6
FEBv2
Firmware v5.3-268
FEBv2
Firmware v5.3-268
x6
FEBv2
Firmware v5.3-268
FEBv2
Firmware v5.3-268
x6
Scripting C#
AFE
Host appli. V1.0.0.476
Scripting C#
Scripting C#
Scripting C#
AFE
Host appli. V1.0.0.476
AFE
Host appli. V1.0.0.476
AFE
Host appli. V1.0.0.476
Scripting C#
AFE
Host appli. V1.0.0.476
FEBv2
Firmware v5.3-268
x1
PC
Win.7
PC
Win.7
PC
Win.7
Socket server
T9 beam area
T9 control room
USB3 hub
FEBv2
Firmware v5.3-268
FEBv2
Firmware v5.3-268
x6
FEBv2
Firmware v5.3-268
FEBv2
Firmware v5.3-268
x6
FEBv2
Firmware v5.3-268
FEBv2
Firmware v5.3-268
x6
FEBv2
Firmware v5.3-268
FEBv2
Firmware v5.3-268
x6
USB3 hub
Clock fanout board
Clock fanout board
Clock fanout board
Remote desktop connection
Remote desktop connection
Remote desktop connection

## Slide 3
SSH
Pre-amp
Peak det.
MUX
HV DAC
SiPM
ADC
Cable bundle
SSH
Pre-amp
Peak det.
MUX
ADC
FSH
Disc.
Disc.
Mask
OR32
FPGA
0
0
0
0
31
31
31
31
0
31
HG
LG
LG
HG
CITIROC
FEB
Signal paths from SiPM affecting signal levels (assume L1Hold does not…)

## Slide 4
Gain change
Baseline change
Gain and baseline changes

## Slide 5
component | Parameter | Controllable? | Controllable per ch? | Gain | Baseline shift
SiPM | Device Operating V (f(T)) | No | No | - | -
Cable bundle |  |  |  | ? | ?
CITIROC | HV input DAC | Yes | Yes | Yes | ??
CITIROC | Pre-amp HG | Yes | Yes | Yes | ??
CITIROC | Shaper time constant | Yes | No | Yes? (TBM) | ??
Threshold |  |  |  |  | 
CITIROC | DiscriDAC10b | Yes | No | ?? | ??
CITIROC | DiscriDAC10b_t | Yes | no | ?? | ??
CITIROC | DiscriDAC4b_Trigger | Yes | Yes | ?? | ??
CITIROC | DiscriDAC4b_Trigger_t | Yes | Yes | ?? | ??
FPGA/ADC | Sampling point | Yes | No | ? | ?
Some parameters that are set

## Slide 6
 |  | Input stage |  |  | Output stage |  | 
Component | Parameter | Control? | Gain | Baseline shift | Control? | Gain | Baseline shift
SiPM | Operating V (f(T)) |  |  |  | No | - | -
Cable bundle | ?? | No | ?? | ?? |  | ?? | ?
CITIROC | Pre-amp | No | ?? | ?? | No | ?? | ??
Analogue data path |  |  |  |  |  |  | 
CITIROC | Slow Shaper (HG) | No | ?? | ?? | No | ?? | ??
CITIROC | Peak Detector (HG) | No | ?? | ?? | No | ?? | ??
CITIROC | Multiplexer (HG) | No | ?? | ?? | No | ?? | ??
ADC | ADC | No | ?? | ?? | no | ?? | ??
FPGA | - | No | ?? | ?? | No | ?? | ??
Trigger/Digital path |  | No | ?? | ?? | No | ?? | ??
CITIROC | Fast Shaper | No | ?? | ?? | No | ?? | ??
CITIROC | Discriminator_t | No | ?? | ?? | No | ?? | ??
CITIROC | Discriminator | No | ?? | ?? | No | ?? | ??
CITIROC | OR32 | No | ?? | ?? | No | ?? | ??
Stages possibly affecting I/V levels for signals from SiPM to FPGA

## Slide 7
Host application run from Windows 7

## Slide 8
Host appli ASIC settings
Per ASIC
Per Channel

## Slide 9
Host appli FPGA settings
Changed in script: HG=200, LG=20
L1Hold was 2.5 ms
Should be 9-10 ms at T2K
Per ASIC
Per Channel
All ASICs
L1Hold start:
Mostly from OR32 x3 during beam test
A few runs from OR96

## Slide 10
Many issues with unpacking of data during beam tests: with untested unpacking software and without adequate diagnostic tools
Settings for discriminator DAQ and FPGA thresholds where chosen based on balancing:
  Reduction in readout errors experienced during tests (function of data acquisition rate)
  Efficiency in collecting “beam” data (as opposed to dark counts)
How the settings were chosen (without the benefit of hindsight!)
 | Run1000 (similar to all runs taken) | Run1100 (special run) | Run1200 (special run)
Or32tADC | False (OR32 x3) | True (OR96) | True (OR96)
HG_SH_TimeConstant (12.5 ns steps) | 1 | 4 | 1
LG_SH_TimeConstant (12.5 ns steps) | 1 | 4 | 1
L1_HoldHG_Delay (2.5 ns) | 1000 | 3000 | 1000
L1_HoldLG_Delay (2.5 ns) | 1000 | 3000 | 1000

## Slide 11: Few notes for DAQ at J-PARC

## Slide 12
Socket server
NA building
Neutrino monitor building
FEBv2
Firmware V_y.y-yyy
x6
USB3
PC
FEBv2
Firmware V_y.y-yyy
FEBv2
Firmware V_y.y-yyy
x6
USB3
PC
FEBv2
Firmware V_y.y-yyy
FEBv2
Firmware V_y.y-yyy
x6
USB3
PC
FEBv2
Firmware V_y.y-yyy
FEBv2
Firmware V_y.y-yyy
x6
USB3
PC
FEBv2
Firmware V_y.y-yyy
FEBv2
Firmware V_y.y-yyy
x6
USB3
PC
FEBv2
Firmware V_y.y-yyy
FEBv2
Firmware V_y.y-yyy
x6
USB3
PC
FEBv2
Firmware V_y.y-yyy
FEBv2
Firmware V_y.y-yyy
x6
USB3
PC
FEBv2
Firmware V_y.y-yyy
FEBv2
Firmware V_y.y-yyy
x6
USB3
PC
FEBv2
Firmware V_y.y-yyy
Ethernet network
Ethernet network
Ethernet
Data
Server
Configuration
Server
Baby MIND control PC
DAQ hardware implementation proposal

## Slide 13
2.6 s
30 s
10 s
2.4 s
400 ms
~5 ms
T2K
PS T9
SPS
Beam time structures

## Slide 14
2.6 s
~5 ms
T2K Beam bunch structure
80 ns
Event rates per spill @ Baby MIND (~ 7 m2, 61 t Fe) for 750 kW:
WAGASCI events: < 0.01
n interactions in Baby MIND: < 3
beam induced events (non-WAGASCI): < 4
on average 1 muon track per bunch
580 ns
T2K beam
e.g. event rates @ INGRID (~ 22 m2, 99.4 t Fe):
n events: 1.5 / 1014 POT
beam induced events cavern walls: 4 / 1014 POT
for runs I and II: max. 145 kW (3 × 1014 POT --> 750 kW)
NIM A 694 (2012) 211-223:
PhysRev D90, 052010 (2014) ( a little more... x1.36 TBC )

## Slide 15
2.6 s
~5 ms
T2K beam
beam
MPPC calibration
cosmics
n interactions in:
Baby MIND
... & beam induced muons from n interactions in:
WAGASCI
sMRD
INGRID, cavern walls etc...
evaluate MPPC & electronics periodically:
all 4000 channels
a few channels per spill
every few hours
cosmics:
mean light yield
timing resolution
hit efficiency as a function of track angle
< 100 kHz dark cnts/ch
< 100 Hz cosmics
Baby MIND data taking at WAGASCI T59
in spill
after spill
delayed signal
< 10 muon tracks per spill
< 100 hits per FEB per spill
… but depending on DAC threshold level, will also get dark counts
Need functionality to change ASIC configuration!

## Slide 16: Optimising the readout of analogue signals from CITIROC

## Slide 17
Readout with peak detector window set to 500 ns
2.6 s
~5 ms
80 ns
580 ns
FEB i, Ch #: i_n
FEB i, Ch #: i_m
m through sci.
FSB shaper
Digi hits
SSH shaper
Charge readout
Peak detector
“gate”
typ. < 100 digital hits per charge hit
typ. < 100 hits
No readout possible
500 ns
T2K beam
Proton beam bunches

## Slide 18
Readout with peak detector window set to 5-10 ms
2.6 s
~5 ms
80 ns
580 ns
FEB i, Ch #: i_n
FEB i, Ch #: i_m
m through sci.
FSB shaper
Digi hits
SSH shaper
Charge readout
Peak detector
“gate”
typ. < 100 digital hits per charge hit
typ. < 100 hits
5-10 ms
T2K beam
Proton beam bunches
Charge readout from two separate channels is possible
Use digital trigger hits to reconstruct event time

## Slide 19
Readout with peak detector window set to 5-10 ms: Channel occupancy >1 within spill
2.6 s
~5 ms
80 ns
580 ns
FEB i, Ch #: i_n
FEB i, Ch #: i_n
m through sci.
FSB shaper
Digi hits
SSH shaper
Charge readout
Peak detector
“gate”
typ. < 100 digital hits per charge hit
typ. < 100 hits
5-10 ms
T2K beam
Proton beam bunches
No readout possible
For a given channel “Peak detector” will only retain highest amplitude hit occuring in its 10 ms window

## Slide 20
Readout with peak detector window set to 5-10 ms: Channel occupancy >1 within spill
2.6 s
~5 ms
80 ns
580 ns
FEB i, Ch #: i_n
FEB i, Ch #: i_n
m through sci.
FSB shaper
Digi hits
SSH shaper
Charge readout
Peak detector
“gate”
typ. < 100 digital hits per charge hit
typ. < 100 hits
5-10 ms
T2K beam
Proton beam bunches
No readout possible
For a given channel “Peak detector” will only retain highest amplitude hit occuring in its 10 ms window

## Slide 21
Readout with peak detector window set to 5-10 ms: Channel occupancy >1 within spill
2.6 s
~5 ms
80 ns
580 ns
FEB i, Ch #: i_n
m through sci.
FSB shaper
Digi hits
SSH shaper
Charge readout
Peak detector
“gate”
ToT must resolve the two hits
5-10 ms
T2K beam
Proton beam bunches

## Slide 22
T2K n‑beam
Beam trigger
80ns
580ns
~30μs
~5μs
100ns
100ns
100ms
Pre‑beam trigger
Beam trigger
~2.48s
800ns
L1_Hold: FEB_00
9 μs
”Self-starting” L1_Hold
9 μs
‘Self-starting” L1_Hold
For summer 2017 beam test: L1Hold starts independently for all 44 FEBs
…. Consequence of this for operation with T2K beam
Variable to defined as a function of
FPGA tunable parameters (typ. 100ns)
Deadtime for analogue data
“Free hold” mode, all CITIROCs are “self-starting”
L1_Hold: FEB_44
Deadtime for analogue data
9 μs
Deadtime for analogue data
‘Self-starting” L1_Hold
Loss of analogue data
Loss of analogue data

## Slide 23
T2K n‑beam
Beam trigger
80ns
580ns
~30μs
~5μs
100ns
100ns
100ms
Pre‑beam trigger
Beam trigger
~2.48s
800ns
L1_Hold: FEB_00
L1_Hold_MASK
> ADC read duration (~9 ms)
9 μs
Forced L1_Hold start
L1_Hold_MASK
9 μs
Forced L1_Hold start
New CITIROC “L1_Hold” Mask and Hold Scheme for WAGASCI T59 - T2K beam operation
22 November 2017
Variable to defined as a function of
FPGA tunable parameters (typ. 100ns)
All FEBs have synchronised L1_Hold start and end
No Hold allowed in this period
> ADC read duration (~9 ms)
Tunable in FPGA
with res. 10ns
Max. 32 ms
Tunable in FPGA
with res. 10ns
Max. 64 ms
“Forced hold” mode
L1_Hold: FEB_44