## Slide 1: WLCG Service Report 4 weeks, June 19 – July 17 WLCG Management Board, 17th July, 2018 Maarten Litmaath CERN v1.0

## Slide 2: Operations Coordination meetings
These meetings normally are held once per month
  Usually on the first Thursday
Each meeting has a standard agenda plus at least one dedicated topic, announced in advance
Experiments and sites are kindly asked to have the relevant experts attend, depending on the topic(s)
Next meeting:
  Sep 13 – topic(s) TBD

## Slide 3: Operations Coordination highlights
The tape accounting portal already has data for almost all tape sites
Activities related to GDPR policies will be continued in the coming months

## Slide 4: Selected items from Operations (1)
1 meeting was virtual because of CHEP
Overall high activity across the experiments
ATLAS
  Software and Computing Week in Hamburg, June 25-29
  Commissioning of the Harvester submission system via PanDA ongoing
  80k files unrecoverable from 1 old CASTOR disk server at RAL
    Almost no primary data
LHCb
  File transfer issues at CNAF and IN2P3-CC
  Pilot issues at CNAF and KIT
CMS, ALICE
  No major issues

## Slide 5: Selected items from Operations (2)
TRIUMF
  Most grid services moved to the new data center
NLT1
  1 pool node down for 4 days due to HW and support issues
  dCache 3.2 bug affected SAM tests
    Workaround applied
BNL
  Developed & applied procedure to detect / remove ATLAS dark data from their dCache storage
Security
  EGI and OSG advisories concerning critical vulnerabilities in Singularity 2.5.1
    Fixed in 2.5.2 available in EPEL and OSG repositories

## Slide 6: Service Incident Reports
None

## Slide 7: GGUS summary (4 weeks, June 18 – July 15)
VO | User | Team | Alarm | Total
ALICE | 2 | 3 | 0 | 5
ATLAS | 8 | 55 | 0 | 63
CMS | 193 | 0 | 0 | 193
LHCb | 0 | 21 | 0 | 21
Totals | 203 | 79 | 0 | 282
Chart: