## Slide 1: Thermions
Work Overview at EP-DT,
Karolina Klimek
Adam Wątroba
Kamil Iwanowski
HSSIP November 2018

## Slide 2: Work timeline
Neil laboratory
Microtubes
CO2 cooling
Types of trackers
Fiber optic thermal sensors
@ Neil laboratory
6,13 /11
Desiree Hellenschmidt micro scale tests with TRACI CO2
9/11
Wiktor Byczyński,
microchannel
for LHCb Velo Detector
12/11
Loic Davoine, introduction to CO2 detector cooling & controls
Michael Brodski, heater test at Crystal Palace @ LUCASZ plant
12/11
13/11
Wojciech Hulek & Natalia Koss CO2 DAQ racks b.153 – hands on control system, sensor calibration
14/11
CMS Phase II mechanics – Kamil Cichy
15/11
15/11
Tiago Neves - Fiber Optics Temperature and Humidity sensors

## Slide 3: Our master and teacher - Neil

## Slide 4: Transition Radiation Tracker (TRT)
3 types of trackers
Pixel detector
Semiconductor tracker (SCT)
TRT ( Barrel and End-cap)

## Slide 5: How it works?
Geiger - Mueller scheme
Ionisation of the gas
Amplification of the current( High voltage)
Current measurement

## Slide 6: Different position -> different structure
Positioned near the IP, designed to detect particles moving perpendicular to the beam(Barrel).

## Slide 7: Different position -> different structure
Positioned further from IP, designed to detect particles moving parallel to the beam(End-cap).

## Slide 8: GEM detectors- gas electron multiplier
A gas electron multiplier (GEM) consists of a thin, metal-clad polymer foil, chemically pierced by a high density of holes. On application of a difference of potential between the two electrodes, electrons released by radiation in the gas on one side of the structure drift into the holes, multiply and transfer to a collection region.

## Slide 9: Heat conductivity measurements
Existing thermal bridge
Detecter thermal isolation
Faraday’s cage
Temp. gradient up to 50 K
Isolation needed because of the water vapour condensation

## Slide 10: Heat conductivity measurements
Existing thermal bridge removal
Detecter thermal isolation
Faraday’s cage
Temp. gradient up to 50 K
Isolation needed because of the water vapour condensation

## Slide 11: Heat conductivity test @ detector laboratory - 3days
With thermal bridge
1st measurement
2nd measurement
PT100
PT100
PT100
PT100
PT 100(resistance temperature detector - RTD) sensor
Without thermal bridge

## Slide 12
Temperature increase due to thermal bridge removal. Temp. is much higher.
Visible difference in gradient
Radiation influence
(4 K diff.)

## Slide 13
Kamil Cichy- CMS Phase II mechanics
Pixel + Strip semiconductor silicon sensors
Preparation models in Catia
Less means better- new model of detectors for CMS
Real model made by using 3D printer
Our group next to the prototype.
Sensors are located on different angles
and because of that we are able to catch every particle
There are less sensors so the weight is smaller – really important
You don’t need as much cooling part as before
Project in Catia

## Slide 14: CO2 DAQ racks – Data Acquisition
Every meter along this pipe we can also measure temperature using sensors RT100
In the future similar experiments are going to be conducted in vertical position
At the beginning of the experiment
we want to have specific enthalpy of
This setup is projected for measuring pressure loss along the horizontal pipe

## Slide 15: Wiktor Byczyński, microchannel for LHCb Velo Detector
Cooling integrated with silicon wafle
By using CO2 evaporation to cool circuits, this method is very efficient and eco – friendly
New parts will be installed during LHC LS2

## Slide 16: Wiktor Byczyński, microchannel for LHCb Velo Detector
Cooling needs to be verified with tests involving using 150 bar pressure
Of course, it needs to keep its properties – even in extreme condotions
Planned for LHC LS2
Amateur vacuum chamber – not from Leroy Merlin
Professional heater – 4 lightbulbs from Leroy Merlin

## Slide 17: Desiree Hellenschmidt - micro scale tests with TRACI CO2
Test chamber scheme
Micro – pipe test contraption

## Slide 18: Desiree Hellenschmidt - micro scale tests with TRACI CO2
Micro – pipe (1mm diameter) with temperature sensors
Heater cables
We can predict one – phase flow in both macro- and micro- tubes
Two – phase flow in macro – tubes is not a problem too
But we have no idea how two – phase liquid behaves in micro – tubes!
Tests about that are currently in progress
Pressure sensors and precise heaters

## Slide 19: Loic Davoine, introduction to CO2 detector cooling & controls
Basically, CO2 cooling works pretty similar to out kitchen fridges – it’s just a bit oversized
Also, it is staged – first stage cools down using R404, and second stage uses CO2
Carbon Dioxide: Pressure – Enthalpy Diagram

## Slide 20: Fiber optics sensors
Snell’s law
Propagation of light in the fiber, difference in refractive indexes
Optic fiber structure
Dependence on:
Temperature
Mechanical strains/ pressure
Radiation

## Slide 21: FBG, LPG, Continuous sensors
Fiber Bragg Grating
Grating made by laser
Sensitive to radiation, existence of safety zones, required adequate calibration
Multiplexing
-> more sensors(up to 14!!)
-> different grating periods
Coating to measure the stress
-> humidity measurement
Best suited as temperature sensor

## Slide 22: FPG, LPG, Continuous sensors
Long Period Grating
Light propagation in LPG
Leakage of the light to the cladding enables it to be more sensitive to outside conditions.
more sensitive to Relative Humidity (RH)
lack of ability to multiplex efficiently (maximum of 3/4 sensors on one fiber)

## Slide 23: FPG, LPG, Continuous sensors
Distributed Continuous Sensors
Using the imperfections in the fiber structure we can derive the information about the temperature along the fiber.
Used method:
We send a short pulse of light
When the light passes through mediums of different refractive indexes some of it reflects.
The amount of reflected light depends on the temperature
The reflected light can be distinguished by the different time of arrivals, which precisely tells us the position of the imperfection
Therefore we can use the structure as a continuous temperature sensor

## Slide 24
Thanks for your attention