## Slide 1: Cockcroft Update
H. Zhang, A. Salehilashkajani

## Slide 2: Content
New setup
  Injector
  Alignment laser system
  Skimmer assemblies
  Setup as a whole
Use residual gas to calibrate the gas jet density

## Slide 3: Injector

## Slide 4: Alignment laser system

## Slide 5: Skimmer assemblies

## Slide 6: Screen & Target

## Slide 7: Setup as a whole

## Slide 8: Pump connection issue
The standard cable (4 pins) from DCU is not compatible with the TC (Profibus), remade the cable to connect the TC with remote port this week according to the Pfeiffer Technician, and start to pump yesterday.

## Slide 9: Pumping test
2.7e-7 mbar
5.4e-8 mbar
8.4e-7 mbar
2.0e-7 mbar

## Slide 10: Things not ready
Gas line (Will be delivered this week)
Optics holder (under manufacturing)
Alignment mirror & holder (under manufacturing)
LED port for target??
Nozzle??

## Slide 11: Nozzle suggestion

## Slide 12: Using residual gas to calibrate the gas jet density
Leaking valve
Gauge

## Slide 14: Photon counting VS Gauge measurement using leaking valve
Chart: 
| 8.3999999999999998E-8 | 1.4999999999999999E-7 | 1.9999999999999999E-7 | 2.4999999999999999E-7 | 2.9999999999999999E-7 | 3.4999999999999998E-7 | 4.0999999999999999E-7 | 4.4999999999999998E-7 | 5.3000000000000001E-7 | 5.9999999999999997E-7 | 6.4000000000000001E-7 | 6.9999999999999997E-7 | 7.4000000000000001E-7 | 7.8999999999999995E-7 | 8.9999999999999996E-7 | 9.9999999999999995E-7
 | 5071.8354 | 7055.2562 | 8231.4013 | 9782.7485 | 11507.4541 | 13282.5079 | 18424.1089 | 32914.7665 | 27205.9381 | 27309.695 | 25656.0949 | 27155.5474 | 27373.8371 | 28820.5602 | 31816.6026 | 36052.8495
Photon number
Pressure

## Slide 15: Next
Continue the density measurement using gas jet
Test with new scintillator and target in the interaction chamber
Install the alignment mirror, align the nozzle and skimmers after nozzle arrives
Checking any leakage of the new system
Bake-out