## Slide 1: How can physicists explore the particle world? (II)
Junji Haba (KEK)
The 4th Asia Europe Pacific School of HEP @Quy Nhon, Vietnam

## Slide 2: The 2nd step
Measuring four momentum of particles combining the information from detectors….

## Slide 3: Momentum
Momentum can be measured as a radius of circular motion in a magnetic field
B

## Slide 4: Lorentz force and momentum measurement
p
r
q or ze
s
sagitta

## Slide 5: Wire chambers invented by Charpak
Ionization

## Slide 6: Drift velocity

## Slide 7: Electron avalanche multiplication

## Slide 8: Electric field around a thin wire is extremly high
b
a
V

## Slide 9: Central Tracker

## Slide 10: Drift Chamber
Belle CDC consists of three parts(Main, Inner and Cathode).
Curved Aluminum enplates for the main part.
  Thickness : 10mmt
Conical endplates for the inner part to give a space for accelerator components.
(momentum,PID)

## Slide 11: X-T relation (drift time vs position)
He(50%)-C2H6(50%)
B=1.5Tesla
HV : 2.3KV
Cell Size:18mm
Maximum Drift Time : ~400nsec
+
cell
+
+
+
+
+

## Slide 12
Inner part
5120 wires
Outer part
43,776 wires
Wire stringing for
BelleII central drift chamber
It took more than 5 years to complete

## Slide 13: Pt resolution of BelleII CDC (Big contribution of Vietnamise students in KEK)
Before Align
After Align
Belle CDC only:
=> Estimate for Belle II :
Obtained : :
PT (GeV/c)
σrϕ: position resolution
B: magnetic field (1.5 T).
Χo: radiation length.
L: lever arm.
N: number of measurement point
Belle  Belle II
L: 77.5  94.84 cm
N: 50  56
PT resolution is much improved compare with Belle CDC.
Much better than the expectation (extrapolation from Belle CDC)
Observed constant term is not improved as expected because of the multiple scattering on the B-field mapper
Belle CDC
MC
No B-filed mapper
(0.05p+0.7)%
~ CMS

## Slide 14: TPC(Time Projection Chamber)
Z座標をドリフト時間で
３次元の空間測定
CERN/ALICEウェブページ
より抜粋

## Slide 15: Straw Tubes Modules
Straw Tubes packed in double-layered modules
modules 64-cells wide
modules only ~0.37% of 1 X0
  “light” panels
  (Rohacell core with carbon fiber skins)
  “light” straws
x
z

## Slide 16: Scintillation strip/fiber tacker
0.5 – 1 mmf
0.25 mmf
Mu3e
T2K FGD

## Slide 17: Energy measurement
Energy can be measured
by a total absorption calorimeter,
in which all the energy are released
through cascading shower.

## Slide 18: Energy measurement
Energy measurement with calorimetry is a powerful technique especially for higher energy experiment at hadron colliders.
  E ~ Number of particles generated in a shower (N)
  Cf.
Klaus Pretzl 2005 J. Phys. G: Nucl. Part. Phys. 31 R133
Traditional sampling calorimeter

## Slide 19: Photon vs neutron For low energy area
  Material with high Z for photon, high absorption cross section (like 3He) for neutron
Question given yesterday: How to distinguish photon from neutron?

## Slide 20
  Pulse shape discrimination in scintillation device, very important technique in low energy neutrino experiment or DM search
PNNL-21609
Lintereur, Azaree T.; Ely, James H.; Stave, Jean A.; McDonald, Benjamin S.

## Slide 21: For high energy area
Radiation length, interaction length (~ mean free paths of photon or neutron, respectively)
 | Radiation length | Nuclear interaction length | Density
W | 6.76 (g/cm^2) | 191.9 (g/cm^2) | 19.3 g/cm^3
 | 0.35 cm | 9.94 cm | 
Fe | 13.84(g/cm^2) | 132.1(g/cm^2) | 7.87 g/cm^3
 | 1.76 cm | 16.8cm | 
10cm thick W EM calorimeter
100cm thick Fe Hadron calorimeter
~28.6 r.l. ~1.0 int. l.
~56.8 r.l. ~ 6 int. l.
photon
neutron

## Slide 22: Organic scintillator and ＷＬＳ
Scintillator | Emission spectrum（nm） | Decay time（ns） | Light yield wrt NaI
Naphthalene | 348 | 96 | 0.12
Anthracene | 440 | 30 | 0.5
p-Terphenyl | 440 | 5 | 0.25
PBD | 360 | 1.2 | 
POPOP | 420 | 1.6 | 
bis-MSB | 420 | 1.2 | 

## Slide 23: Particle identification
Particle identification (mass) can be made from its veolocity（β=v/c）, which can be measured through time of flight, Cherenkov radiation or energy loss rate.
Life time (flight distance) of particle is another very important characteristics.
 | m ± | e ± | g | p ± | K0 | K ± | p | n
Mass (MeV/c2) | 106 | 0.511 | 0 | 140 | 498 | 494 | 938 | 940
Detection | Charge | Charge Shower | Shower | Charge Strong | Strong | Charge Strong | Charge Strong | Strong
Life time （ct m） | 659 | -- | -- | 7.8 | 0.027 (15.3) | 3.7 | -- | 2.7 x1011

## Slide 24: Some theorists know better….

## Slide 25: How modern detector measrue them? Higher energy collider

## Slide 26: Direct b measurement: ToF (Time of Flight)

## Slide 27: b measurement through energy loss information
Remember Bethe-Bloch formulation
Effective aet low enrgy

## Slide 29: Particle identification with Silica Aerogel Cherenkov radiator
Colloidal form of SiO2. Very special refractive index of n=1.006 ~ 1.06
with r=0.1g/cc. Hydrophobic
Fractal structure

## Slide 31: Belle II A-RICH

## Slide 33: HAPD Belle II
~5mm pixel size. Large coverage.
Immune to 1.5T magnetic field.
Radiation tolerance (neutron, gamma).
Photo-detector
HAPD (Hybrid Avalanche Photo-Detector)
Developed with Hamamatsu Photonics.
144 channels (36-ch APD chip×4).
Gain ≥45000.
Peak QE ~28%
Size 73mm×73mm.
Effective area 63mm×63mm (65%).
Total 420 HAPDs

## Slide 34: Possible Solution
Photocathode
Multi-pixel AD
Proximity focus
(8kV)
AD voltage
(-200 to -400 V)
EB gain (x1200)
Acceleration
Avalanche gain (x40)
Photon
Electron
Output
Total gain:
5x104
HPD with Multi-pixel Avalanche Diode (AD-HPD)

## Slide 36: cf Serious mass measurement beyond particle identification..
Example of
p mass
measurement
Example of
p mass
m spectrum from p decay at rest
X-ray spectrum from
pionic atom

## Slide 37: Life time measurement using decay vertex
Life time is measured through “decay length “ L,
L= c b g t
\\\
L

## Slide 38: Vertex detector

## Slide 39: Silicon vertex detector

## Slide 40: ATLAS SCT
ATLAS
Web page

## Slide 41
150mm

## Slide 42
－
－
－
－
－
－
－
－
－
－
－
－
＋
＋
＋
＋
＋
＋
＋
＋
＋
＋
＋
＋
P type semiconductor
acceptor
－
hole
N type semiconductor
+
donor
electron
Reverse bias
Depletion layer
Principle of semiconductor detector

## Slide 43
No big difference from old leaf electroscope
shown yesterday!