## Slide 1: How can physicists explore the particle world?(II+)
Junji Haba (KEK)
The 4th Asia Europe Pacific School of HEP @Quy Nhon, Vietnam

## Slide 2: Very important components to measure momentum, magnetic field
Image of momentum measurement

## Slide 3: Magnetic field gereration
Dipole configuration

## Slide 4: ALICE muon dipole
One of the biggest warm dipoles in the world
(free gap between poles ≈ 3 m, height of the yoke ~ 9 m
Designed for 0.7T w/6000A @600V ).

## Slide 5: Toroidal magnets

## Slide 6: ATLAS Toroidal magnet

## Slide 7: Toroidal magnet for neutrino experiment

## Slide 8: Toroidal (horn) magnet for neutrino production

## Slide 9: Solenoid magnet most standard magnet for collider detectors

## Slide 10: Solenoid magnet: Belle
Non-uniformity below 5% inside tracking volume.
Field mapping with 0.3% precision.
Iron flux return

## Slide 11: Muon Identification using Instrumented flux return

## Slide 12: Comments from the last lecture
Drift velocity is not always monotonically increasing with external electrical field. Why?

## Slide 13: How can physicists explore the particle world?(III)
Junji Haba (KEK)
The 4th Asia Europe Pacific School of HEP @Quy Nhon, Vietnam
real

## Slide 14: Applications of HEP detector technology to society
At Hospitals…
  X-ray, g-ray, ＰＥＴ diagnosis, Cancer therapy
At Aiports or Boarder gates….
  X-ray inspection
At factories, infrastructures as bridges, power plants….
  X-ray or Neutron Non–destructive defect/damage inspection
At the Fukushima site
  Mapping and Identification of radioactive substances

## Slide 15: X-ray

## Slide 16: X-ray imaging device with the most advanced technology developped in Particle detectors

## Slide 17: For safety Flights:

## Slide 18: 3D X-ray CT
Sensor chip INTPIX4 NFZ (5JA-FZ-1407) Back illumination
HV：200V、integration/frame：1ms、ScanTime：320ns/pix
Calibration：500frame、Event：1000frame
X-ray energy：9.5keV
(by R. Nishimura, K. Hirano)

## Slide 19: New technique of X-ray imaging: Phase contrast image

## Slide 21: Gamma Ray

## Slide 22: Scintigraphy
Blood flow can be observed externally by radio isotope (RI) labelling.
Imaging of radiation from RI by particle detectors.
撮像３０分とのこと
After exercise
At rest

## Slide 23: Standard Gamma “camera”
Not very efficient. Most of gamma rays are absorbed in collimators.

## Slide 24: Gamma Pin hole camera
2mm
60°
RI source
g ray imager
Pinhole
g ray
Enlarge
10mm

## Slide 25: Further attempt: Compton camera

## Slide 26
Application of Gamma camera developed for Gamma ray astronomy
to Fukushima NP restoration
平成24年11月15日
宇宙航空研究開発機構 三菱重工業株式会社 国立大学法人 名古屋大学 独立行政法人 科学技術振興機構

## Slide 28: Very useful for medical application ＰＥＴ（Positron Emission Tomography ）
glucose
Cancer
tissue
Normal
tissue

## Slide 29: Just like a barrel calorimeter of collider detectors
From the photo gallery cmsinfo.cern.ch
Higher resolution/efficiency can make
exposure dose less.

## Slide 30: PET g detector module
© Siemens AG

## Slide 31: Neutron

## Slide 32: Imaging with neutron beam
Non-invasive studies of objects from cultural heritage
(photo: example of Sakyamuni, Bhumisparsa Mudra, West-tibet, 14.- 15. century).
Left: X-ray image
Right: Neutron imaging. Organic material buried inside , invisible with X-ray, can be visualized by neutron.

## Slide 33: Application to Neutron Detector
Expensive 3He Gas is not necessary.
  No pressure vessel
Free readout pattern
High resolution
  Position and Time
Insensitive against g-ray
Capability against high counting rate
Normal GEM
B10 coated
GEMs
Readout board
Cathode plate
With B10
Ar-CO2

## Slide 34: Pulse neutron and Energy Selective Neutron Radiography
Bragg Edge
region
(Thermal and cold)
Resonance absorption region (E>1eV)
l

## Slide 35: Resonance absorption imaging
By T. Kai (JAEA) et al.
at BL10 in J-PARC

## Slide 36: Imaging for bended iron plates at LINAC in Hokkaido University
674cm
Moderator
GEM
Detector
Sample
70cm
504cm
100cm
Flight tube
30°Bend
90°Bend
90°Bending
and Re-flattening
60°Bend
Sample
+Reference
（without bending）

## Slide 37: Results
Two dimensional imaging of crystallite size in the bended iron plates
can be done clearly.
Visualization of microstructure for heavy material can be performed with the gaseous neutron detector.
Photo of iron plates
Position X (mm)
Position Y (mm)
90° Bending
60° Bending
30° Bending
Reference
Re-flattening

## Slide 38: Others

## Slide 39: See through mega structure using cosmic ray muons
東大地震研HPより
K.Morishima (Nagoya U.)

## Slide 40: Low energy negative muon can probe inside material
3D imaging of
material
composition

## Slide 41: Summary
Huge detector system for HEP is very important tool to investigate Law of Nature together with a large accelerators.
The system is a complex of advanced radiation measurement devices.
Those “advanced” system enables very quick diagnose with higher precision using much less radiation dose. They are also very useful to visualize the hidden structure /defect /dangerous substance inside material clearly.
The advanced detector technology originally developed for particle physics are now being applied to innovate the instrumentations in society like medical or industrial equipment. Higher resolution, higher sensitivity and lower dose exposure for human is expected.

## Slide 42: What is the next generation tracking system?
One of the question raised in the discussion sessions.
My answer is that it should be
  Better precison in position resolution
  Thinner
  Higher functionality (good timing and/or dE/dx information, local tracking, trigger, …)
  Better timing resolution
  dE/dX information hopefully
  Tolerance for higher particle flux

## Slide 43: One of promising candidates: Monolithic pixel sensor using SOI
Monolithic pixel sensor
  Silicon sensor with read out CMOS electronics on chip
SOI: Silicon-On-Insulator
My very personal view

## Slide 44
SOI Performance : Smaller Junction Capacitance
Cj is 1/10 of Bulk technology.
Gate Capacitance is 30-40% Lower.
High Speed / Low Power
44

## Slide 45: Thinner than Hybrid pixel applied in the LHC experiment
No bump bonding at all
Full Deplete
(Hi-R)
Hybrid Detector
Full Deplete
(Hi-R)
Silicon-On-Insulator (SOI)

## Slide 46
Pix size 8um
No bump bonding
Springer Proc.Phys. 213 (2018) 331-338

## Slide 48: High functionality On-Chip

## Slide 49: Not very high radiation tolerant so far
It will survive in e+e- collider like SUperKEKB, ILC

## Slide 50: Thank you for your attention (and patience). It has really been a nice experience for me to meet and discuss you all at Quy Nhon.
Please do not hesitate to contact with me junji.haba@keke.jp if you have any question later.