## Slide 1: Radioactive Ion Beams for Medical Applications I : Production by the Isotope mass Separation OnLine (ISOL) method
Thierry.stora@cern.ch
University of Oslo,
Spring workshop on nuclear and particle physics

## Slide 2: Structure of the presentation
Radioactive Ion Beams for Medical Applications : 1.- Production by the Isotope mass Separation OnLine (ISOL) method
Radioisotopes
Accelerators for the production of radioisotope beams
Specificity of the Isotope mass separation
Questions, discussion
2.- CERN-MEDICIS, non-conventional radioisotopes for medical applications
Ion accelerators for radiotherapy
Principle of PET imaging
PET Molecular imaging in nuclear medicine
Concept of theranostics (therapy + diagnostics) in nuclear medicine
CERN-MEDICIS : a new facility and new projects
Virtual visit with cameras
Questions discussion

## Slide 3
Radioisotopes in our every day’s lives
Daily, we “internalize” natural radioisotopes
M Goma et al

## Slide 4
40K, a natural or artifical radioisotope ?
Our whole body natural activity
is of ca 4 kBq (0.2 mSv/year)
40K Method of production :
S. Woosley, Astrophys j
But none of these facilities is cheap and easy to implement !
Nucleosynthesis in supernovae explosion
12C+16OX, etc
Neutron capture s-process
in stars 39K(n,g)40K

## Slide 5: Radioisotope decay scheme
Radioactivity, decay chain, etc

## Slide 6
Nuclear Physics
ISOLDE and MEDICIS
14 years ago – now :
Innovative radioisotopes
Auger therapy
a-therapy
b-therapy
PET
SPECT

## Slide 7: Nuclide Chart

## Slide 8
Stopping range of particles in matter

## Slide 9: Neutron capture in Boron and emission of alpha particle
94%: 7Li (0.840MeV + α (1.470MeV) +γ(0.478MeV)
6%: 7Li (1.015MeV + α (1.777MeV)
10B+n
Pu-Be source: 1*108 n/s @4π
α
n
Sample
Si detector
σth(10B(n,α)7Li)=3840 barn
C. Seiffert, PhD Thesis, CERN-THESIS-2014-332.

## Slide 10: Where can we study fundamental properties of these isotopes (aka nuclear physics) ?
224Radium is pear shaped
(Result from Isolde).
one of the 10 breakthroughs in 2013
Courtesy Prof. Ratib

## Slide 11: World map of radioisotope ion beam facilities*
*As shown during FPRIB, Saha inst., Kolkata, India
(Apr 2012)
In-flight
Fragmentation
Facilities (in red)
Isotope Separation
OnLine Facilities
ISOL (in black)
( ) RISP
( )
E
EXCYT/SPES

## Slide 12: The main ingredients :An accelerator for isotope production + mass purification

## Slide 13: An example : FRIB under construction at MSU (USA)

## Slide 14: Principle of isotope production, release and acceleration
Isotope purification in MEDICIS Laboratory
Standard ISOLDE target unit with surface ion source
Ions
Radioisotopes

## Slide 15: 1st Targets used at CERN-PS for alkali metals (p 10-24 GeV)‏
R. Klapish et al.
(UCx at CERN-PS&IPNO/CSNSM, 1967)‏
Fission
(10.5GeV p on ThCx)‏
Rb release
Phys Rev Lett, 1968
After
Proton
pulse
After 8 sec.
Target preparation:
5cm long, 6mm diameter.
36x 70m C, 1-10m (1-8mg/cm2) U compound, 100m gap: tot 0.3g/cm2 U
Operated at ca 1500°C
Na from Ir/C target

## Slide 16
Isotope mass separation

## Slide 17: Isotope mass separation with long-lived isotopes
Can this process be applied in a large scale facility ?
A first terrifying use: 235 uranium enrichment of “Little Boy”
And later a much more positive application :
isotope enrichment for medical isotope production
The Calutron (E. Lawrence)

## Slide 18: New isotope beams by mass separatio (ISOL)
2012
And more recently
at JAEA (2013)
at TRIUMF
at GANIL
??
at ISOLDE (2015)
We don’t evaporate/release
refractory elements in atomic
form
T. Sato, et al. http://dx.doi.org/10.1063/1.4789772 (2013).
at JAEA (2016)

## Slide 19: Principles of ISOL radioactive beam production
Primary beam
(MeV/u-GeV/u)
Or
neutrons‏
Leaks
Release loss
Decay loss
Leaks
Decay loss
Condensation
Decay loss
Condensation
Leaks
Neutrals
Sidebands
Multiply charged
Transfer line
Ion source
Extraction
Target oven
Plasma
Extracted
ion beam
~nA for Surface
~A for FEBIAD
~mA for ECR
H. Ravn and W. Brian
"On-line mass separators.
" Treatise on heavy ion science. Springer US, 1989. 363-439.
Make sure you collect a large fraction,
and fast,
and before it evaporates !

## Slide 20
I[pps] ~ F[pps] s[barn] N[g/cm2] production rate
From excitation function to production rate
Incident particle
Beam intensity
Target thickness
Bragg peak possibly
in a dump
1010pps 100mA (6.1014) 1mbarn 1g/cm2 for Atarget=30g/mol

## Slide 21
The ISOLDE and MEDICIS facility

## Slide 22
Beam – target interaction
Courtesy of E. Bouquerel
Fast n,
1.4GeV p
238U
Gas target
(ie N2 + trace of O2 for 14N(p,a)11CO2)

## Slide 23: Beam – target interaction : use of the lost proton beam fraction

## Slide 24: Isotope release : an analytical function
(9Be (n,a) 6He
Eur. Phys. Lett. 98, 32001 (2012) & Europhysics news
2009
Isotope with
“short/long” T1/2

## Slide 25: Release 35Ar + from cold nanostructured targets !!
Fast release of 35Ar from cold nanostructured CaO targets:
Recoil into nanomaterial
J. P. Ramos et al., NIMB 376, 81 (2016).
400 nm
SSA = 38 m2/g
48h at 800oC
Fick’s law
for diffusion

## Slide 26: 1st Boron ISOL beams: 8BF2+ from carbon nanotubes
8BF2+ (T1/2 880ms) produced
from multiwall carbon nanotube target (fast diffusion)
and SF6 reactive gaz injection (volatile BF3 molecule)
« CHEMICAL EVAPORATION »
Multiwall Carbon Nanotubes
C. Seiffert, Production of radioactive molecular beams for CERN-ISOLDE.
PhD thesis TU Darmstadt, CERN (2015)

## Slide 27: Ionization of radioisotopes
The related radio-isotopes have in addition
A finite half-life
( from a few ms to years at ISOL-Type facilities)

## Slide 28: Surface Ion Sources
+
Hot tube
e-
0
Saha-Langmuir Equation
Meghnad Saha, 1920
Material work function F
Isotope 1st Ion. Pot. : Wi
For Alkalis,
g0=2 (2S1/2, degeneracy 2), g+=1
Some additional correction factors such as applied electrical potential or
surface coverage

## Slide 29
New manuscript in preparation
For Elements Z=100-102
Ideas to measure Ionization potential
On element Z=112 have started
Clever use of Surface Ion Sources

## Slide 30: Isotope mass separation and post acceleration
HIE-ISOLDE:
Superconducting
post-accelerator
(1st beam in 2015)
1+ ions
HV platform
TRAP
EBIS
60 kV
Analyzing magnet,
Bunches and cools
ions
Charge
breeding
Triplet
Multiple charged
ions
Switched
HV platform
60 « 20 kV
RFQ
IH
Accelerator
from
5 -> 300 keV/u
Accelerator
from
0.3 -> 1.2 MeV/u
Doublets
Triplet
7-gap
resonator
Accelerator
from
1.2 -> max 2.2 MeV/u
Target and
detectors
ISOLDE
REX-ISOLDE radioactive ion beam post-accelerator

## Slide 31
Time for questions, discussion, before we embark on nuclear medicine and CERN-MEDICIS

## Slide 32: Spare

## Slide 33: From production to beam formation
10-100m
30cm
1cm
spallation
fragmentation
fission
1.4 GeV protons
99Mo*
2000C
*we don’t mean it’s « competitive »
in this context

## Slide 34: 1000+ isotopes (for 70+ elements) “online”
Exotic isotopes down to t1/2 ~ 10 ms)
Intensities up to 1011 ions/s
30+ types of targets
Transfer lines
10+ ion sources

## Slide 35: Principles of radioactive beam production
Primary beam
(MeV/u-GeV/u)‏
Ion sources: compact, simple and withstand 1 MGy
Ionize trace radioelements in larger impurities loads
Used to measure Ion. Pot. Lr (Z=103)
at “1 atom at a time” rate
Leaks
Release loss
Decay loss
Leaks
Decay loss
Condensation
Decay loss
Condensation
Leaks
Neutrals
Sidebands
Multiply charged
Transfer line
Ion source
Extraction
Target oven
Plasma
Extracted
ion beam
~nA for Surface
~A for FEBIAD
~mA for ECR

## Slide 36
10 MeV deuterons
d-to-n converter (Be)‏
n moderator (wax)‏
UO2 (10 kg)
Baking powder
O.Kofoed-Hansen
K.O. Nielsen
Dan. Mat.Fys.Medd. 26, no. 7 (1951)‏
ISOLDE “0”
89Kr (CO2, H2O, NH3)‏
CERN 76-13, 3rd conf. nuclei far from stability