## Slide 1: High voltage tetrode replacement in the LHC klystron modulator
Daniel Valuch

## Slide 2: LHC RF
The LHC has 16 RF stations, each powered by 300 kW / 400 MHz CW klystron
Nominal DC working point of the klystron is 8.8 A @ 58 kV
The cathode current could be controlled by a means of “modulation anode”

## Slide 3: LHC RF
With less intensity and only few bunches in the machine there is not need for the all available RF power and the full RF voltage
At the moment LHC needs only 5-8 MV (out of 16 MV) per beam

## Slide 4: LHC RF

## Slide 5: LHC RF
Reduce the RF drive and hence the total RF power
Reduce DC voltage by power convertor
Reduce DC current by mod. anode and keeping the HV constant
Run klystrons at full power and reduce number of powered cavities

## Slide 6: Klystron DC power vs. VMA
Current DC power limit
Specified DC power limit

## Slide 7: Klystron modulator tank
The Klystron modulator tank (1 per klystron) contains:
  Heater transformer
  Modulation Anode voltage divider
  Measurement and diagnostic circuitry

## Slide 8: Current MA source
The current MA source uses the TH5186 tetrode
HV power supply
Mod. Anode
Cathode (-58 kV)
Gnd
MA control box
Modulator Tank
Opt. Fibers

## Slide 9: Current MA source

## Slide 10: New MA source
Digital Control
DC Supply
AC Supply chain
Digital Link chain
MA voltage chain

## Slide 11: New MA source
AC Supply chain
Digital Link chain
Cathode terminal
MA terminal
Gnd

## Slide 12: New MA source
Klystron current regulation granularity

## Slide 13: New MA source
Klystron MA voltage granularity

## Slide 14: New MA source
Reed switch voltage loading

## Slide 15: Summary
The new MA source should replace the current tetrode based modulator by a “solid-state” solution
The digital control will provide 0.1 A cathode current regulation steps in the active region (~100 reed relays)
Serial digital link will give us much better access to the “hot side” measurements (heater current and power, cathode current, MA current)
A prototype unit is currently being developed, it should occupy not more volume then the currently used tetrode