## Slide 2: TbT Wire Grids electronics status
F.Roncarolo, G.Focker, A.Guerrero
LIU-PS Beam Dynamics WG meeting – 07-Jun-2018

## Slide 3: TbT electronics
Same layout as PS Complex SEM system
Special Control Cards and special TbT-ADC’s in VME
Common design for PSB and PS (+ TT2) grids
Linear Amplifiers, BW >5MHz
TbT-ADC’s:
  Integrators to measure each pulse,
  Shortest measurement cycle 240ns,
  Memory 2k / channel
Wire Grid Detector

## Slide 4: TbT Electronics
Enough electronics available for PR.MSF52
  ITS1: 2-3 hours to switch from present to new electronics. Main work is amplifiers installation in the tunnel
  Software (FESA) almost ready
    FESA interface identical to PS Complex SEM system.
PLC interlock between PR.MSF52 ONLY and RAL
  The interlock will be removed in the PLC code directly, as temporary measure
    Low level expert intervention
    Proposal: remove interlock the day of TbT MD, re-put it at the end
      Need to schedule MD when G.Focker is present (not between 14July and 15August)