## Slide 1
Status of n_TOF
Laurent Tassan-Got
on behalf of the n_TOF collaboration

## Slide 2
April-May

## Slide 3
June-August

## Slide 4
September-November

## Slide 5
Proton delivery

## Slide 6
A few preliminary results
68Zn(n,γ)
The main nuclear uncertainty for the abundance of 68Zn, produced in AGB stars (s-process)

## Slide 7
A few preliminary results
140Ce(n,γ)
Neutron closed shell.
Problem in simulation of the natural abundance through the s-process
New assignation of the 1st resonance !

## Slide 8
Fission Fragments
Separation point between α- particles and fission fragments
A few preliminary results
241Am(n,f)
Important for incineration in fast reactors
High α activity (100 MBq)
Alpha Background

## Slide 9
231Pa(n,f) replaced by important detector tests
231Pa samples could not be done (fundamental electrochemistry problem)
Experiment replaced by important tests:
  neutron dosimeter
  neutron imaging (energy selectivity)
  voltage divider for small BaF2 crystals to measure at short
  time close to the γ-flash
  fast localisation on PPACs for high energy fission
  switch technology against γ-flash

## Slide 10
PPAC localisation
Before
Pile up beyond 200 MeV (EAR1)
(wide localisation signals)
After
After re-design of delay lines and preamps: localisation signals as narrow as anodes
Delay line
Localisation strips

## Slide 11
Switch technology
For reactions above MeV involving low energy particles (LCP, γ) the γ-flash is a concern because its intensity is typically 1000 higher than the energy of particle to be detected.
As a result the preamplifier gets saturated and takes a long time to be de-saturated (100μs).
Ionisation chambers, μMegas, silicon, HPGe detectors suffer from this problem.
Insert an electronic switch between the detector and the preamplifier. The device has to be low noised and has to have a large bandwidth (GHz).
He has to be gated by the proton pulse or ancillary detector
The solution… (with HZDR)

## Slide 12
Switch technology
γ-flash gated
by the switch

## Slide 13
Conclusion
All the experiment accepted by INTC have been scheduled before LS2
10% cut of the experiments at EAR1 to fit into the available beam time, partly compensated by the higher number of delivered protons
231Pa(n,f) cancelled due to the unexpected difficulty to make the targets (electroplating)
All other experiments perform as expected
Replacement by several detectors tests:
  Neutron dosimetry
  Imaging (neutron energy selectivity)
  Small BaF2 scintillators with new PMT’s and VD
  PPAC: narrower localisation signals: avoid pile up at high energy
  Switch technology (with HZDR) for gaseous and semiconductor detectors: measurement close to the gamma-flash opening the study of threshold reactions.