## Slide 2: Measurement of cosmic radiation by straw detector
Kristína Júlia Jarinová, Richard Rippel
Supervisor: Peter Lichard
Response of the straw detector to ionizing radiation and calibration

## Slide 3: Main objectives
Examine detector response to different types of radiation
Investigate the effect of changed straw detector parameters, namely operating voltage and pressure on signal amplitude.
Simulate effects of changed parameters on time resolution

## Slide 4: Contents
Straw detectors
Radiation sources
Experimental apparatus
Experimental results
Garfield simulation

## Slide 5: Straw detectors

## Slide 6: Primary ionization
Electrons
Ions
Straw - cathode
Wire - anode
Gas

## Slide 7: Secondary ionization
Electrons
Ions

## Slide 8: Signal generation
Image charge

## Slide 9: Extra resolution
signal
r
r

## Slide 11: Radiation sources

## Slide 12: Electron capture decay

## Slide 13: Electron capture decay
5,9 keV
photon
Absorbed all at once
Consistent amount of energy
Consistent detector signal

## Slide 14: Other radiation sources
546keV electron
photons, neutrons, α-particles, clusters, fission products
Background radiation

## Slide 15: Experimental aparatus

## Slide 22: Experimental results

## Slide 23: Typical signal (after electronic processing)
Chart: Time [s]

## Slide 24: Background radiation
Chart: signal peak voltage [V]

## Slide 25: radiation
Chart: signal peak voltage [V]
| 5.3999999999999999E-2 | 6.4000000000000001E-2 | 7.3999999999999996E-2 | 8.4000000000000005E-2 | 9.4E-2 | 0.104 | 0.114 | 0.124 | 0.13400000000000001 | 0.14399999999999999 | 0.154 | 0.16400000000000001 | 0.17399999999999999 | 0.184 | 0.19400000000000001 | 0.20399999999999999 | 0.214 | 0.224 | 0.23400000000000001 | 0.24399999999999999 | 0.254 | 0.26400000000000001 | 0.27400000000000002 | 0.28399999999999997 | 0.29399999999999998 | 0.30399999999999999 | 0.314 | 0.32400000000000001 | 0.33400000000000002 | 0.34399999999999997 | 0.35399999999999998 | 0.36399999999999999 | 0.374 | 0.38400000000000001 | 0.39400000000000002 | 0.40400000000000003 | 0.41399999999999998 | 0.42399999999999999 | 0.434 | 0.44400000000000001 | 0.45400000000000001 | 0.46400000000000002 | 0.47399999999999998 | 0.48399999999999999 | 0.49399999999999999 | 0.504 | 0.51400000000000001 | 0.52400000000000002 | 0.53400000000000003 | 0.54400000000000004 | 0.55400000000000005 | 0.56399999999999995
 | 0 | 0 | 0 | 40 | 32 | 41 | 33 | 41 | 34 | 56 | 40 | 47 | 54 | 71 | 101 | 130 | 154 | 161 | 161 | 132 | 81 | 75 | 70 | 65 | 56 | 55 | 47 | 72 | 111 | 185 | 256 | 382 | 568 | 757 | 845 | 875 | 876 | 839 | 754 | 554 | 412 | 301 | 170 | 90 | 80 | 39 | 20 | 10 | 27 | 0 | 0 | 0

## Slide 26: radiation
Chart: signal peak voltage [V]

## Slide 27: radiation
Chart: signal peak voltage [V]

## Slide 29
Chart: supply voltage [V]
| 1730 | 1730 | 1740 | 1740 | 1740 | 1750 | 1750 | 1750 | 1750 | 1760 | 1760 | 1760 | 1770 | 1770 | 1770
 | 0.3351 | 0.3556 | 0.37329 | 0.38726 | 0.36647 | 0.40988 | 0.43006 | 0.42304 | 0.40934 | 0.44518 | 0.45946 | 0.44034 | 0.48919 | 0.50699 | 0.48094

## Slide 30
Chart: pressure [mbar]
| 1.96133 | 1.96133 | 1.96133 | 1.96133 | 2.9419949999999999 | 2.9419949999999999 | 3.92266 | 3.92266 | 4.9033249999999997 | 4.9033249999999997 | 5.8839899999999998 | 5.8839899999999998
 | 0.40988 | 0.43006 | 0.42304 | 0.40934 | 0.4098 | 0.42924 | 0.40487 | 0.43118 | 0.39952 | 0.42713 | 0.40231 | 0.42598

## Slide 31: Garfield simulation

## Slide 32
signal
r
r
Impact parameter
Leading time

## Slide 33: Different supply voltage

## Slide 34: Different pressure

## Slide 35: References
Uhliarik, A. (2019). Optimization of STRAW spectrometer parameters for the NA62 experiment (bachelor thesis).
Híveš, Z. (2019). Time resolution studies of the STRAW detector at the NA62 experiment (bachelor thesis).
https://cds.cern.ch/record/1454654?ln=sk
Photo source

## Slide 36
https://drive.google.com/file/d/1PbhPPaNLzsyDU3Bb1vaXGHe8K70RuMC6/view?usp=sharing