## Slide 1
A proposal for a controls and data acquisition demonstrator
Javier Serrano
(with help from Greg Daniluk, Eva Gousiou and Maciej Lipiński)
Clic workshop | 22 jan 2019

## Slide 2
Custom Electronics Architecture
Front-End Computer
VME/PICMG/PLC
master
Front-End Tier
Fieldbus Tier
Distributed I/O Tier
Fieldbus (WorldFIP/PROFINET/etc)
DIO3
slave
sensor
DIOn
slave
sensor
DIO2
slave
actuator
DIO1
slave
actuator

## Slide 3
Custom Electronics Architecture
Front-End Computer
VME/PICMG/PLC
master
Front-End Tier
Fieldbus Tier
Distributed I/O Tier
Fieldbus (WorldFIP/PROFINET/etc)
DIO3
slave
sensor
DIOn
slave
sensor
DIO2
slave
actuator
DIO1
slave
actuator

## Slide 4
Rad-tol Communication Technologies
performance
GBTx/LpGBTx
500 Gy
2MGy

## Slide 5
DIOT today
Power Converters
Beam Instrumentation
Cryogenics
Machine Protection
Beam Transfer
Magnets Positioning

## Slide 6
Future DIOT Recipe
+
=
Modular hw kit
Designed with eq.groups
Maintained by BE-CO
App-specific parts
Designed by eq. groups
Machine Protection
Magnets Positioning
Beam Instrumentation
RF
Beam Transfer
More robust designs
Benefit from existing developments
Re-use between equipment groups
In CLIC we go one step further: all groups share a crate
Notes: Modular hw kit designed by CO in collab with eq. groups
Maintenance by CO

## Slide 7
Common hardware kit for DIOT
WorldFIP FMC
Powerlink FMC
White Rabbit FMC
Industrial Ethernet FMC
Radiation-tolerant System Board
System Board
LpGBTx FMC
. . . . . . . .
. . . . . . . .
PSU
Custom space

## Slide 8
3U Chassis & Backplane
Hosts Power Supply, System Board & Application-specific Peripheral Boards
Low cost crate with 9-slots CompactPCI Serial backplane by default
  Fully passive
  Star-topology differential lanes from System to Peripheral
  AirMax VS connectors
Application-specific backplanes (with the system slot) possible
Optional 1U fan tray
. . . . . . . .
. . . . . . . .
PSU
Custom space
Notes:   No PCIe in radiation
  Robust connector used in transportation

## Slide 9
Rad-tol System Board
FPGA for
  application-specific logic
  common crate monitoring and diagnostics
FMC for fieldbus
Backplane connector:
communication with
peripheral boards
220mm

## Slide 10
Rad-tol System Board v1.0
Redesigned C-GEFE (BE-BI)
Added backplane connector to communicate with peripheral boards
Minor fixes (including FMC compatibility)
Together with: BE-BI, TE-MPE, EN-SMM
10 boards produced for lab use
v2.0 in the future, with NanoXplore or Smartfusion2 FPGA
EDA-03828

## Slide 11
Rad-tol Power Supply
Lalit Patnaik (FELL) dedicated to this task – R2E and HL-LHC funding
Collaboration with R2E and TE-EPC
Survey of currently used rad-tol power supplies
Gathering requirements and drafting specs
  230V AC  DC +12V, +5V, 100W
  TID > 500Gy (1kGy?)
  Redundancy
  PMBus monitoring interface
First lab prototype using FEAST chips as controller of switched supply
Components selection and qualification planned for 2019
https://wikis.cern.ch/display/DIOT/Rad-tol+power+supply

## Slide 12
Template Peripheral Board
I/O board based on requirements for Warm Interlocks application (TE-MPE)
24V generation (TRACO)
16 opto-coupled current loop inputs (HCNR200)
16 opto-coupled relay driving outputs (HCNR200)
Template for future application-specific Peripheral Boards
Radiation tests in 2019
EDA-03829

## Slide 13
White Rabbit
WR switch
WR switch
WR
node
WR
node
WR
node
WR
node
WR
node
WR switch
WR
node
WR
node
WR
node
WR
node
WR
node
WR switch
WR
node
WR
node
WR switch
WR
node
WR
node
WR
node
WR
node
Timing Master
WR Switch
UTC

## Slide 14
White Rabbit Performance

## Slide 15
White Rabbit Switch

## Slide 16
Proposal
Make a version of the WR switch which can use lpGBT protocol (clocked by an RF-related clock signal) for the physical layer (Q1 2021)
Design lpGBT mezzanine for DIOT system board (Q1 2021)
Identify a use case in CLEAR in collaboration with BE-BI (Q4 2019)
Test (Q4 2021)
  Radiation tolerance
  Power consumption (and possibly power cycling scheme)
  Beam-synchronous acquisition and time-stamping
  Possibilities for daisy-chaining to reduce fibre costs
The resulting demonstrator will provide answers to outstanding questions regarding radiation tolerance, power consumption and cabling costs, and will allow to fine-tune our proposed strategy for controls and data acquisition in CLIC.

## Slide 17
Proposal
+
+
App-specific
Peripheral boards
lpGBT DIOT

## Slide 18
+
+
App-specific
Peripheral boards
lpGBT DIOT
Proposal
lpGBT DIOT

## Slide 19
Proposal
WR switch
WR switch
lpGBT DIOT
lpGBT DIOT
lpGBT DIOT
lpGBT DIOT
lpGBT DIOT
WR switch
lpGBT DIOT
lpGBT DIOT
lpGBT DIOT
lpGBT DIOT
lpGBT DIOT
WR switch
lpGBT DIOT
lpGBT DIOT
WR switch
lpGBT DIOT
lpGBT DIOT
lpGBT DIOT
lpGBT DIOT
Timing Master
WR Switch
RF/n
Colour code:
Timing Master
WR Switch
WR switch
lpGBT DIOT
Outside radiation
In radiation
lpGBT link
WR link