## Slide 1: Experiment Control System
…A Brief History
And the path to Operations…

## Slide 2: The JCOP Project
Joint COntrols Project
  Between the 4 LHC Experiments and a CERN Support Group: IT -> EN -> BE
  Created in December 1997
  First tasks
    Gather Requirements from Experiments
    In-depth Technological Survey
      SCADA – Supervisory Control and Data Acquisition (commercial and “home-made”)
    WinCC-OA (PVSS at the time) chosen
    Define the Architecture, Develop the Framework

## Slide 3: The SCADA tool
Why WinCC-OA?
  Technical (& Financial) Reasons
    Windows & Linux (not so common)
    Distributed & Open Architecture
      Could scale to very large distributed systems
      Could integrate external tools (FSM, etc.)
    Many tools and interfaces:
      Graphic Editor, Archiving, Alarm Handling, Drivers, etc.
    Many man-years of development for a small price
  “Sociological” reasons
    Standard Interfaces: The same concepts everywhere (The datapoint mechanism, the scripting language, Gedi, etc.)
      Can share resources within and outside the experiment.
      Not perfect at everything, but a coherent and integrated set of tools

## Slide 4: The JCOP Project
Today:
  Still extremely active
    Meetings (almost) every week
    Several FW components being revised and improved:
      Archiving, Alarm handling, Device access, etc.
    Provide Support & Training
JCOP Tools Usage:
  LHCb use the JCOP Concepts throughout ECS
    DAQ/RunControl, DCS/BigBrother, etc.
  While the other LHC Experiments only for DCS
    NA62 and ProtoDUNE more like LHCb
  Other CERN domains also use it:
    Magnets, Cryogenics, Electricity, Cooling, Vacuum, etc.

## Slide 5: LHCb Upgrade ECS
Same Architecture & Concepts as current system
Selected Concepts:
  Integration & Homogeneity
  Partitioning & Automation
  Promote HW Standardization
    Same board (PCIE40) for:
      DAQ R/O (TELL40)
      TFC + ECS (SOL40)
    CAEN, Wiener, Iseg, ELMBs…
  Separate Data/Control paths
  Promote SW Uniformity
    Guidelines, FW Components, FSM Templates
  Small number of Operators
    1 Operator +1 Data Manager
LV Dev1
LV Dev2
LV DevN
DCS
SubDetN DCS
SubDet2 DCS
SubDet1 DCS
SubDet1 LV
SubDet1 TEMP
SubDet1 GAS
…
…
Commands
Control Unit
Device Unit
DAQ
SubDetN DAQ
SubDet2 DAQ
SubDet1 DAQ
SubDet1 FEE
SubDet1 RO
FEE Dev1
FEE Dev2
FEE DevN
…
…
Legend:
INF
TFC
LHC
ECS
HLT
Status & Alarms

## Slide 6: LHCb Operations
  RunControl
    Handles the DAQ & Dataflow
    Allows to:
      Configure the system
      Start & Stop runs
  AutoPilot
    Knows how to start and keep a run going from any state.
  BigBrother
    Based on the LHC state:
      Controls SD Voltages
      VELO Closure
      RunControl
Main Tools:

## Slide 7: Run Control
Matrix
Domain
x
Sub-detector

## Slide 8: DAQ Partitioning
Partition:
  Part of the system that can run independently and concurrently with the others (LHCb, VELO, RICH1, etc.)
Some resources are shared:
  TFC
  HLT
  Storage
  Monitoring
  Reconstruction
Need to “Allocate”
  In order to define the resources needed by a partition:
  For example the number of HLT sub-farms
SWITCH
HLT farm
Detector
TFC
System
SWITCH
SWITCH
SWITCH
SWITCH
SWITCH
SWITCH
READOUT NETWORK
L0 trigger
LHC clock
MEP Request
Event building
Front
-
End
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
C
P
U
Readout
Board
Experiment Control System (ECS)
VELO
ST
OT
RICH
ECal
HCal
Muon
L0
Trigger
Event data
Timing and Fast Control Signals
Control and Monitoring data
SWITCH
MON farm
C
P
U
C
P
U
C
P
U
C
P
U
Readout
Board
Readout
Board
Readout
Board
Readout
Board
Readout
Board
Readout
Board
FE
Electronics
FE
Electronics
FE
Electronics
FE
Electronics
FE
Electronics
FE
Electronics
FE
Electronics
X

## Slide 9: Sub-Detector Integration
VELOA DCS
VELOA HV
VELOA DAI
VELOA DAQ
INF
DCS
HV
DAI
DAQ
TFC
HLT
LHC
ECS
VELOA LV
VELOA TEMP
VELOA FEE
VELOA TELL40
VELOA CRATES
VELOA COOLING
VELOA
VELOC
VELO
X
X
X
X

## Slide 10: Run Control FSM
Steps:
  Allocate resources
  Configure Sub-systems: Apply Electronics settings prepare DAQ/HLT jobs
  Start: Prepare to acquire data
  Start Trigger: TFC only
RUNNING
READY
NOT_READY
Start
Stop
ERROR
UNKNOWN
Configure
Reset
Recover
CONFIGURING
NOT_ALLOCATED
Allocate
Deallocate
ACTIVE
Go
Stop_Trigger
ALLOCATING

## Slide 11: Run Control
Matrix
Domain
x
Sub-detector
Activity
Driven

## Slide 12: Run Control Activities
Activity
  “Activity” defines the “recipe” which will be applied by all sub-systems on CONFIGURE
    Ex.: PHYSICS|LEAD Will try to apply “PHYSICS|LEAD” everywhere, if not existing will try “PHYSICS”, if not existing “DEFAULT”
  “Activity” also contains the global run settings:
    Architecture for farm nodes ->
    Nr. Sub-farms
    Trigger Config. (TCK)
    Data Type & Destination:
      Local, Castor, Offline
    Calibration “Step Runs”
      TAE flag, nr. events, nr. steps

## Slide 13: Sub-detector Configuration
VELOA DCS
INF
DCS
HV
DAI
DAQ
TFC
HLT
LHC
VELOA HV
VELOA DAI
VELOA DAQ
VELOA DCS_1
VELOA DCS_2
VELOA DAQ_1
VELOA DAQ_2
ECS
Conf.
DB
1
1
Configure/mode=“PHYSICS|LEAD”
Check… Ex: Get “PHYSICS” Settings
Apply Settings
1
VELOA Dev1
VELOA Dev1
VELOA Dev1
VELOA DevN
1
1
2
2
3
3
2

## Slide 14: ECS Databases
WinCC-OA (Project) Data Base Context
Experimental Equipment
PVSS
.
To Offline
WinCC OA
Cond.
.
DB
Conf.
DB
To Offline
Configuration settings for a running mode “Recipes”
Monitoring data (at regular intervals)
if Archive On
if Passes Conditions filter
if Needed for next run settings (Pedestal Followers)
Archive
DB

## Slide 15: LHCb Operations
  RunControl
    Handles the DAQ & Dataflow
    Allows to:
      Configure the system
      Start & Stop runs
  AutoPilot
    Knows how to start and keep a run going from any state.
  BigBrother
    Based on the LHC state:
      Controls SD Voltages
      VELO Closure
      RunControl
Main Tools:

## Slide 16: Big Brother
Based on LHC state, controls:
  Voltages
  VELO Closure
  Run Control
Can sequence activities, ex.:
  End-of-fill Calibration
Handshake Confirmation
Voice Messages

## Slide 17: Big Brother Scheduler
Scheduler: Provides complete Run Control Automation

## Slide 18: Big Brother Voltage Table
Matrix
Sub-detector
X
LHC State

## Slide 19: Voltage Control
State column (Current SD state regard. LHC state)
Requested (SD target state)
%Ok
HV/LV State (SD Current state)

## Slide 20: Safety Tree(s)
Sub-detectors can have a “parallel” Safety tree
  Does not replace HW/DSS interlocks
VELOA DCS
VELOA HV
VELOA DAI
VELOA DAQ
VELOA LV
VELOA TEMP
VELOA FEE
VELOA TELL40
VELOA CRATES
VELOA COOLING
VELOA
VELOA Safety
VELOA HV
EMERGENCY_OFF
READY
OFF
ERROR
NOT_READY
Switch_ON
Switch_OFF
Recover
Switch_OFF
Do_Emergency_OFF
From any state
Clear_Emergency
DCS FSM (HV FSM Equivalent)

## Slide 21: Alarm Screen
Normally empty
Every alarm should be followed up
May also provide complementary information to FSM Errors
Severities:
  Warning
  Error
  Fatal

## Slide 22: Alarm Screen (Yesterday)

## Slide 23: Slide from Nov. 2006
 | VELO | ST |  | OT | RICH |  | CALO |  |  | MUON | 
 |  | IT | TT |  | RICH1 | RICH2 | ECAL | HCAL | PRS/SPD |  | 
DAQ |  |  |  |  |  |  |  |  |  |  | 
FE | SPECS | SPECS | SPECS | SPECS | SPECS/J | SPECS/J | SPECS | SPECS | SPECS | ELMB | 
TELL1/UKL1 | CC-PC | CC-PC | CC-PC | CC-PC | CC-PC | CC-PC | CC-PC | CC-PC | CC-PC | CC-PC | 
DCS |  |  |  |  |  |  |  |  |  |  | 
LV | CAEN E | Wiener M | Wiener M | Wiener M | Wiener M | Wiener M | Wiener M | Wiener M | Wiener M | Wiener M | 
Environ. | ELMB | SPECS | SPECS | SPECS | ELMB | ELMB |  |  | ELMB | ELMB | 
Cooling | Nikhef | 2 TC/CV | 2 TC/CV | TC/CV | TC/CV | TC/CV | TC/CV | TC/CV | TC/CV | TC/CV | 
Gas |  |  |  | GasWG | GasWG | GasWG |  |  |  | GasWG | 
HV |  |  |  |  |  |  |  |  |  |  | 
HV | ISEG | CAEN | CAEN | CAEN | CC-PC | CC-PC | SPECS | SPECS | SPECS | C | FL
DAI |  |  |  |  |  |  |  |  |  |  | 
crates | CERN | CERN | CERN | CERN | CERN | CERN | CERN | CERN | CERN | CERN | 
 | VELO | ST |  | OT | RICH |  | CALO |  |  | MUON
 |  | IT | TT |  | RICH1 | RICH2 | ECAL | HCAL | PRS/SPD | 
Other |  |  |  |  |  |  |  |  |  | 
VELO Posit. | PLC |  |  |  |  |  |  |  |  | 
VELO Vacuum | PLC |  |  |  |  |  |  |  |  | 
VELO Interlock | ELMB |  |  |  |  |  |  |  |  | 
ST BP pos. |  | SPECS | SPECS |  |  |  |  |  |  | 
IT RadMon |  | VME |  |  |  |  |  |  |  | 
OT Pos. Mon |  |  |  |  |  |  |  |  |  | 
OT RASNIK Al |  |  |  | PCI |  |  |  |  |  | 
RICH Si. bias |  |  |  |  | CAEN | CAEN |  |  |  | 
RICH Magfield |  |  |  |  | ? | ? |  |  |  | 
RICH Laser Al |  |  |  |  |  |  |  |  |  | 
RICH MagDist |  |  |  |  |  |  |  |  |  | 
Calo LED |  |  |  |  |  |  | SPECS | SPECS | SPECS | 
Calo source |  |  |  |  |  |  | CAN | CAN | CAN | 
Legend:
Not yet started
Development started (Tools identified)
Under development
Almost Ready
(Prototype exists)
Ready

## Slide 24: Conclusion
ECS “Readiness”
  Tools are better than in 2016, but:
    Very short time
    A lot to be done
    (In 2008 we had an extra year…)
Don’t hesitate to talk to us…