## Slide 1: SPS reference measurements – status update
K. Li, F. Velotti

## Slide 2: Goals
During LS2 there will be ~20 months shutdown for the SPS
Many components and also beam parameters will change significantly
Re-commissioning will be very challenging
  To provide some guidance and to have some means of comparison we need a good snapshot of the situation before LS2
  For this we are collecting a list of reference measurements to be done in every machine – also in the SPS
Presentation of the current list along with the status of the individual measurements – organized according to beam type

## Slide 3: Goals
During LS2 there will be ~20 months shutdown for the SPS
Many components and also beam parameters will change significantly
Re-commissioning will be very challenging
  To provide some guidance and to have some means of comparison we need a good snapshot of the situation before LS2
  For this we are collecting a list of reference measurements to be done in every machine – also in the SPS
Presentation of the current list along with the status of the individual measurements – organized according to beam type
Status report:
Where are we?
Are we progressing well?
Are there any critical items that need follow-up/support?

## Slide 4: New reference measurement tool
Profited a lot from new tool available from the e-logbook
Screenshots
Tags
Description
Timestamps
Tab accessible from Logbook

## Slide 5: Status of reference measurements
Long list being processed

## Slide 6: Status of reference measurements

## Slide 7: LHC
Measurement | Status | Data source | Comments
Orbit along the cycle |  |  | 
Orbit at flattop |  |  | 
Tune functions & measurements |  |  | 
Chromaticity function & measurements |  |  | 
Transmission, extracted intensity and dump intensity |  |  | 
Losses around the ring for given intensity |  |  | 
Longitudinal beam profiles |  |  | 
BLM thresholds |  |  | 
Golden trajectory in TT10 |  | YASP | Store also name from dataset catalog
Golden orbit at injection |  | YASP | Store also name from dataset catalog
Trajectory in TI 8 and TI 2 from the golden |  | YASP | 

## Slide 8: LHC
Measurement | Status | Data source | Comments
Auto-tune steps for given intensity |  | LSA + logging | 
Losses on transfer line collimators for given intensity and beam type (BCMS and LHC25NS) |  | Logging | 
Emittances for given bunch intensity and beam type (also INDIV beams such as vanDerMeer,…) |  | Logging | 
Emittance blowup through cycle – bunch-by-bunch |  | Logging / acquired data | 
Emittances for BCMS at 450 GeV |  |  | 
Tune-shift with intensity |  | Logging / acquired data | Transverse + longitudinal – MD time needed
Scraper settings for given bunch intensity and beam type |  | LSA | 
Losses at extraction |  | Logging | 

## Slide 9: LHC
Measurement | Status | Data source | Comments
TT10 SEM grids |  | Screenshots | Dedicated
BTV images and settings |  |  | Dedicated
BTV images at septa and start of TL |  |  | Dedicated
OASIS MKP 1st batch |  | Screenshots | 
OASIS MKP 2nd batch |  | Application | 
200 ns batch spacing reference oscillations (in mm) |  | Application | 
Long. blow up settings |  | LSA | 
Calculated bucket area function |  | LSA | 
Rephasing signals |  | Application & screenshot | 
Phase profiles |  | FC manual acquisition | 
Beam loading |  | FC manual acquisition | 

## Slide 10: LHC
Measurement | Status | Data source | Comments
Bunch length through cycle for given bunch intensity |  | Screenshots | With new tool
Bunch length at injection |  |  | Dedicated
Bunch length at extraction |  |  | Dedicated

## Slide 11: Fixed Target
Measurement | Status | Data source | Comments
Orbit along the cycle |  |  | 
Orbit at flattop |  | YASP | Dedicated
Tune functions & measurements |  | YASP | Dedicated
Chromaticity function & measurements |  | Logging | 
Chromaticity at flattop |  |  | 
Transmission, extracted intensity and dump intensity |  | Logging | Need typical variations: normalized losses
Losses around the ring for given intensity |  | Fixed display | Screenshot
Losses at the ZS + normalized losses at ZS and LSS2 for a given intensity |  | Logging | 
BLM thresholds |  |  | 

## Slide 12: Fixed Target
Measurement | Status | Data source | Comments
Trajectory in TT10 with all SEMs in |  | YASP | Dedicated
Trajectory in TT20 with all SEMs in |  | YASP | Dedicated
Losses at splitters for a given intensity |  | Logging | Need typical variations: normalized losses
Profiles at splitters for a given sharing |  | Fixed display | Screenshot
Intensity on targets for given extracted intensity (also include T10) |  | Logging | 
Emittances of 4 islands plus core for a given intensity |  | Wire scan app | Screen shot
BSRT images |  |  | 
FBCT images |  |  | 
Spill for a given intensity |  | Logging | 
Mini scans in extraction channel |  | Screenshots | 
Mini scans at targets |  | Screenshots | 

## Slide 13: Fixed Target
Measurement | Status | Data source | Comments
Voltage programme |  | LSA | 
RF gymnastic (OASIS + momentum spread distribution) |  | Screenshot + mom distr app | 
Jump |  |  | 
Mountain range |  | Screenshot | Screen shot
Longitudinal beam profiles |  | Logging | 
RF wall current monitor profiles |  |  | Full machine at critical times, higher resolution for shorter timespans
Spiral step |  | Screenshot | 
BTV images and settings (MKP on and off) |  | Screenshot | Dedicated
Setting of TBIU for T4 |  |  | 
ZS gaps |  | Logging | 

## Slide 14: Fixed Target
Measurement | Status | Data source | Comments
Reproducibility of radial position at 4260 with YASP |  | YASP | 
Reference trajectory (TT20, TT25) with SHIP cycle to T6 |  |  | All grids as well
SHIP spill |  |  | 

## Slide 15: Awake
Measurement | Status | Data source | Comments
Orbit at flattop |  |  | 
Tunes through cycle |  |  | 
Trajectory in TT41 |  |  | 
Rephase signals |  | Application & screenshot | 
Bunch rotation via peak detector |  |  | 
Bunch length evolution before extraction |  | ABWLM screenshots | 
Bunch length measurement before extraction |  | ABWLM screenshots | 
RF wall current monitor profiles |  |  | Single bunch throughout, higher resolution at injection and last 200ms

## Slide 16: HiRadMat
Measurement | Status | Data source | Comments
Orbit at flattop |  |  | 
Tune steps for given intensity |  |  | 
Losses at extraction for high intensity |  |  | 

## Slide 17: Coast
Measurement | Status | Data source | Comments
Emittance blow-up over time on COAST for given chromaticity |  |  | 
Bunch length evolution |  | Appplication | 

## Slide 18: Conclusions
Completion
  SFT: 72%
  LHC: 60%
  AWAKE: 88%
  HIRADMAT: 67%
  COAST: 0%
Main open points
  BTV images in TLs
  BTV images at injection (1 turn stopper needed)
  Chromaticity function & measurements along cycle with TC
Planning/suggestions?
  Nothing yet for ions
  Still need some dedicated time slots!

## Slide 20: Backup

## Slide 21: General
Measurement | Status | Data source | Comments
Aperture |  | From measurements | 
LSS4/LSS6 extraction apertures |  | From measurements | 
Alignment |  | In checklist | 
BPM gains |  | YASP | 
BLM thresholds |  | LSA | 
Radiation survey |  |  | 
Mains harmonic spectrum |  | Logging | 
Vacuum pressure around the ring |  | Logging | 
Reaction times for interlocking: mains trip, hardware interlocked BLMs |  | Screenshots | 

## Slide 22: General
Measurement | Status | Data source | Comments
Orbit along the cycle |  | YASP | Multi-acquisition
Orbit at flattop |  | YASP | 
Tune functions & measurements |  | LSA + AutoQ | 
Chromaticity function & measurements |  | LSA + AutoQ | 
Transmission, extracted intensity and dump intensity |  | Logging/Stats | 
Losses around the ring for given intensity |  | Logging/Stats | 
Longitudinal beam profiles |  | FC manual acquisition | 

## Slide 23: New reference measurement tool
Profited a lot from new tool available from the e-logbook

## Slide 24: New reference measurement tool
Profited a lot from new tool available from the e-logbook

## Slide 25: New reference measurement tool
Profited a lot from new tool available from the e-logbook

## Slide 26: New reference measurement tool
Profited a lot from new tool available from the e-logbook

## Slide 27: BPM gains

## Slide 29: Bunch-by-bunch tune shifts

## Slide 30: Emittance blow-up evolution

## Slide 31: TT20 - T2 TL steering

## Slide 32: Miniscan profiles T4

## Slide 33: Data types storage and retreival
Lots of data can be retrieved from the Logging Data Base – here, we would like to have plots showing the overall time evolution and displaying a histogram to evaluate some statistical parameters (averages, spread, outliers).
This will be made available via a collection of dedicated Jupyter notebooks:
Francesco