## Slide 1: Status and outlook of the refurbishment of BLDG.574 C. Colloca
RWTCS Steering Commitee

## Slide 2
BLDG. 574 Layout
236 m2

## Slide 3
BLDG. 574 Planning

## Slide 4
BLDG. 574 Cost

## Slide 5
Planning of the HVAC installation

## Slide 6: Technical problems with the new installed doors : - max under guarantee period - to be ready for the future Difficult purchasing of new doors: Wrong companies? Heavy process? Dosimetry? Too high level of requirements (size & fire safety)? Non compliant material /supply - > energy wasting & shifting dates
Supply of vent.doors & stairs
RWTCS Steering Commitee

## Slide 7: Possible improvements for general safety aspects: - anticipation / suggestions (active presence) of HSE CO - re-set (or respect) SLA - clarify MSI (yes or no, and where)
Contribution/collaboration with HSE-OHS
RWTCS Steering Commitee

## Slide 8: Work progress vs. expenditures
RWTCS Steering Commitee

## Slide 9
WORK PACKAGES | WORK PACKAGE OWNER | WORK PACKAGE TEAM
Civil engineering & building work | C. Colloca SMB/SE | L. Maricalva, R. Ortega, T. Moro SMB/SE
Electricity | J. Gomez SMB/SE | F. Vincent SMB/SE
HVAC | G. Rouge SMB/SE | 
Cranes & handling/lifting equipment | O. Boettcher EN/HE | Y. Seraphin EN/HE
IT networks | L. Borakiewicz IT/CS | 
Access control | R. Nunes BE/ICS | N. Rama BE/ICS
Fire detection | D. Raffourt BE/ICS | P. Thome BE/ICS
INFRASTRUCTURE WORK

## Slide 10: - Old electrical network dismounting ISR2 - Old telephone & IT network dismounting ISR2 - New electrical installation ISR2 - Floor sealing (hatches, underground connections & passages, holes, water channels) and local floor repairs ISR2 - Floor grids installation ISR2 - Tunnel painting (walls ceiling) ISR2 - Crane corbels repair ISR2 - Crane rail alignment ISR2 - V1 (ventilation unit) dismantling ISR1-2 - Fire wall ISR2 entrance basin & basin small wall
FINISHED WORK (MARCH – OCT 18)
ISR2 sector

## Slide 11: - Fire doors finishing works ISR3, ISR4, ISR5, ISR6, ISR7 - Replacement of safety stairs ISR2, ISR4, ISR8 and exterior
FINISHED WORK (MARCH – OCT 18)
Bldg 574: - dismounting & demolition - plateform preparation
    - concrete slab

## Slide 12: - Fire wall ISR2-ISR3 - Fire detection installation ISR2 - Rails repairs & replacement ISR2 - New meeting room bldg. 184 - Foundation & cover structures for HVAC (all sectors) - BLDG 574: - separation wall
On going/starting WORK

## Slide 13: - Foundations & cover structures for HVAC (all sectors) - Execution file for HVAC installation - BLDG 547: class C cell - BLDG 573: design finalized - BLDG 225: waiting for HSE/OHS input
On going/starting STUDIES

## Slide 14
PLANNING

## Slide 15
SPENDING PROFILE
EXPENDITURES (FOR TUNNEL WORK ONLY – NO SECURITY) | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
GLOBAL BUDGET* (kCHF) | 890 | 2’750 | 500 | 260 | 300 | 45
TOTAL | 4’745 |  |  |  |  | 
*Without ‘Access control’, ‘Human resources’
Includes:
New estimate for dry raisers
Finalization of civil eng. works for HVAC
Floor reparation included (out of the waterproofing)
Planning v 62

## Slide 16: THANK YOU FOR THE ATTENTION!