## Slide 1: Beam test data analysis - few steps -
11 October 2018

## Slide 2
Raw data
Calibration data
Common basis
Unpacking
(reference)
All.root
Reference files
edit unpacking code depending on CITIROC HG/LG settings to select correct calibration data files
Calibration data files: do not edit unless absolutely necessary, discuss first.
/eos/experiment/neutplatform/t2knd280/Super_FGD/Unpacking_august_v2/Unpacking_august_v2.2/
For given HG/LG settings, all.root should always be the same, regardless of where it is generated
Detailed explanation of root file to be provided in next few days
This all.root is sufficient for several types of analyses such as channel uniformity

## Slide 3
Raw data
Calibration data
Specific analysis
Unpacking
(reference)
All.root
Reference files
edit unpacking code depending on CITIROC HG/LG settings to select correct calibration data files
Calibration data files: do not edit unless absolutely necessary, discuss first.
/eos/experiment/neutplatform/t2knd280/Super_FGD/Unpacking_august_v2/Unpacking_august_v2.2/
For given HG/LG settings, all.root should always be the same, regardless of where it is generated
yyyy.root
User edited code