## Slide 1: Colloquium Bachelor Thesis
Johanna Glutting
Alignment of nozzle and skimmers of the Beam Gas Curtain (BGC)

## Slide 2: Outlook
Context (BGC) and problem definition (alignment)
Developed solutions (alignment setup and procedure)
Maximal alignment precision compared to objectives
Gas jet pressure calculation (with gas jet thickness)
Simulation to verify pressure calculations

## Slide 3: Applications of a beam-gas jet instrument
Overlap monitor: monitor overlapping hollow electron beam (HEL) and LHC proton beam at the same time
Beam diagnostics: dense beam gas target, imaged by a secondary particle tracker
Beam-gas wire for future high energy colliders : similar functionality as a wire scanner

## Slide 4: Application: Hollow Electron Lens (HEL)
Source: Adriana Rossi, BGC collaboration meeting 19 Mar. 2018 (modified); https://indico.cern.ch/event/712498/
Halo particles can collide with vacuum components and create losses
HEL gives particles out of centre a kick
Halo particles are easier to remove in the collimation system
 Monitoring of the concentricity is important

## Slide 5: The BGC for the monitoring of HEL and LHC proton beam
BGC = Beam Gas Curtain
HEL = Hollow Electron Lens
LHC = Large Hadron Collider

## Slide 6: The BGC for the monitoring of HEL and LHC proton beam
BGC = Beam Gas Curtain
HEL = Hollow Electron Lens
LHC = Large Hadron Collider
Fluorescence image of a single particle beam (e.g. only protons)

## Slide 7: BGC Setup (simplified)
10bar
10-9mbar
10-7mbar
10-3mbar

## Slide 8: BGC Setup (simplified)
1st skimmer (Ø180μm)
2nd skimmer (Ø400μm)
3rd skimmer (4mm x 0.4mm)
333
228.3
20.2
2 ... 17
nozzle
(Ø30μm)
10bar
10-9mbar
10-7mbar
10-3mbar

## Slide 9: BGC Setup (simplified)
camera with optical components
1st skimmer (Ø180μm)
2nd skimmer (Ø400μm)
3rd skimmer (4mm x 0.4mm)
view port
particle beam perpendicular to gas jet and camera axis
333
228.3
20.2
2 ... 17
nozzle
(Ø30μm)
10-3mbar
10bar
10-9mbar
10-7mbar

## Slide 10: BGC Setup (simplified)
skimmer chamber
interaction chamber
dump chamber
camera with optical components
1st skimmer (Ø180μm)
2nd skimmer (Ø400μm)
3rd skimmer (4mm x 0.4mm)
view port
particle beam perpendicular to gas jet and camera axis
333
228.3
20.2
2 ... 17
nozzle
(Ø30μm)
nozzle chamber
10-3mbar
10bar
10-9mbar
10-7mbar

## Slide 11: BGC Setup (simplified)
skimmer chamber
interaction chamber
dump chamber
camera with optical components
1st skimmer (Ø180μm)
2nd skimmer (Ø400μm)
3rd skimmer (4mm x 0.4mm)
view port
particle beam perpendicular to gas jet and camera axis
333
228.3
20.2
2 ... 17
nozzle
(Ø30μm)
nozzle chamber
10-3mbar
10bar
10-9mbar
10-7mbar

## Slide 12: BGC Setup (simplified)
skimmer chamber
interaction chamber
dump chamber
camera with optical components
1st skimmer (Ø180μm)
2nd skimmer (Ø400μm)
3rd skimmer (4mm x 0.4mm)
view port
particle beam perpendicular to gas jet and camera axis
333
228.3
20.2
2 ... 17
nozzle
(Ø30μm)
nozzle chamber
10-3mbar
10bar
10-9mbar
10-7mbar

## Slide 13: Alignment Objectives
Chart: x (mm)
| 11 | 11.1 | 11.2 | 11.3 | 11.4 | 11.5 | 11.6 | 11.7 | 11.8 | 11.9 | 12 | 12.1 | 12.2 | 12.3 | 12.4 | 12.5 | 11.75 | 11.76 | 11.77 | 11.78 | 11.79 | 11.8 | 11.81 | 11.82 | 11.83 | 11.84 | 11.85 | 11.86
 | 0.0044 | 0.0046 | 0.0057 | 0.0069 | 0.0073 | 0.01 | 0.016 | 0.0382 | 0.0519 | 0.0302 | 0.0161 | 0.0122 | 0.0095 | 0.0065 | 0.0065 | 0.0044 | 0.0418 | 0.0489 | 0.0504 | 0.0515 | 0.0542 | 0.0533 | 0.0516 | 0.0519 | 0.0498 | 0.0475 | 0.0474 | 0.038
Source: Hao Zhang, BGC regular meeting 13 Oct. 2017 (modified); https://indico.cern.ch/event/670010/
Test at the experimental setup at CI:
Scan with the movable nozzle through the 1st skimmer
Recording of the gauge signal
The signal is at 90% of the maximum or higher within 60μm
60μm
90% of the maximum

## Slide 14: Alignment Concept
Installation of the equipment
Alignment of the laser to the nozzle (with the iris system)
▪ Maximization of the laser intensity
Alignment targets in the focal planes of nozzle 1st and 2nd skimmer
(laser is reference)
Alignment of the nozzle and skimmers

## Slide 15: Scheme of the Developed Alignment Setup
adjustment screws integrated in the frame
laser with
2 linear and
2 rotational degrees of freedom
x
y
z
x
y
nozzle holder
1st skimmer holder
2nd skimmer holder
camera with 3 linear degrees of freedom
x
y
nozzle
alignment frame
irises, one with 2 linear degrees of freedom
z  focus of the camera with linear stages

## Slide 16: Scheme of the Developed Alignment Setup
adjustment screws integrated in the frame
laser with
2 linear and
2 rotational degrees of freedom
x
y
z
x
y
nozzle holder
1st skimmer holder
2nd skimmer holder
camera with 3 linear degrees of freedom
x
y
nozzle
alignment frame
irises, one with 2 linear degrees of freedom
z  focus of the camera with linear stages

## Slide 17: Alignment Setup in the Optical Lab

## Slide 18: Laser Alignment (example)
Maximizing the light going through the nozzle
Irisis to define and measure laser angles
Recording of intensities at different iris positions
Finding the maximum in each axis
Laser diffraction pattern affects intensities, only reliable if the laser gets centred each time

## Slide 19: Nozzle 1st Skimmer Alignment (1)
The laser blurred up after leaving the nozzle
but is still visible in the first skimmer plane
Centring of the nozzle (laser spot) to the skimmer position

## Slide 20: Nozzle – Skimmer Alignment (2)
The laser blurred up after leaving the nozzle
Centre is not detectable in skimmer plane
References of the laser axis for alignment
Skimmer diameter
(400μm)
Reference (Ø750μm)

## Slide 21: Nozzle – Skimmer Alignment (2) larger distances
nozzle plane
1st skimmer plane
Coordinates of the Laser Reference
2nd
skimmer plane
1st skimmer set  nozzle and 2nd skimmer position calculated
1st skimmer position

## Slide 22: Achievable Alignment Precision
First Skimmer:
Second Skimmer:
Notes: 1

## Slide 23: Achievable Alignment Precision
First Skimmer:
Second Skimmer:
Notes: 1

## Slide 24: Achievable Alignment Precision
First Skimmer:
Second Skimmer:
Notes: 1

## Slide 25: Achievable Alignment Precision
First Skimmer:
Second Skimmer:
Notes: 1

## Slide 26: Gas Jet Pressure Measurement
Idea: Obtaining the gas jet pressure directly out of a fluorescence image
Photons emitted by the residual gas compared to photons emitted by gas jet
Residual gas pressure is known by pressure gauge (+calibration)
Pressure is linear to emitted fluorescence
Notes: 1

## Slide 27: Prinziple Pressure Calculations

## Slide 28: Pressure Calculation
Partial pressure of the gas jet:
Absolute pressure of the gas jet:

## Slide 29: Assumptions for Fluorescence Simulation
The fluorescence is in a linear ratio to the gas density (constant e-beam density)
The e-beam excites a gas of consistent density at the same rate as it excites the phosphor screen to fluorescence  image taken with the phosphor screen represents the e-beam profile
The profile of the e-beam is constant over the whole regarded volume
The camera is sufficient far away of the interaction point
Sharp limitations of the gas jet

## Slide 30: Simulation of the Fluorescence Image
e-beam
gas jet
xz plane = matrix (image) of the beam profile
yz plane = cross section of the gas jet = pressure distributions/thickness of the gas jet
  Each xyz volume element radiates fluorescence in linear dependency to pressure and beam intensity
  Suming up the fluorescence of the volume elements in the z-axis for each xy-pixcel
  Greyscale image of the fluorescence

## Slide 31: Simulation of the Fluorescence Image
e: E-beam image with 2 dimensions and an intensity value in the xz-plane
g: Gas jet density proﬁle in the yz-plane
F: Emittance of each volume element of the xyz-volume
f: Fluorescence signal projected in the xy-plane
f
e
g
Implemented first in Octave, then in c++

## Slide 32: Cross Section of the E-Beam
perfect cylindrical profile
simulated fluorescense image
beam profile
real beam profile
fluorescense image from the experiment
modified for better contrast

## Slide 33: Conclusions
Alignment of the first skimmer within 6.5 μm is possible
New calculation of gas jet pressure consider gas jet thickness
Simulations can verify reading out of fluorescense images

## Slide 34: Conclusions
Verification of the functionality of the procedure in the real experimental setup at the Cockcroft Institute near Liverpool

## Slide 35
Questions?

## Slide 36: The 30μm hole

## Slide 37: Release of the nozzle hole

## Slide 38: Prealignment
Length: 300mm
centred holes of 0.8mm
misaligned
aligned

## Slide 39: Diffraction Pattern of the Laser

## Slide 40: Position of the Nozzle at Different Orientations
Chart: x (vertical) [μm]
| -4 | -7.84 | 3.04 | 8.8000000000000007 | -4
inner | 4.8 | -2.88 | -8 | 6.08 | 4.8
outer | 1.92 | -3.84 | -1.28 | 3.2 | 1.92
1 | 1.92 | 4.8
2 | -3.84 | -2.88
3 | -1.28 | -8
4 | 3.2 | 6.08
If the nozzle is build in tuned by 180° this causes an angle error of 1.6°
Aligning to this angle (0.8°) will result in a deviation in the 3rd skimmer plane of the ideal position of :
Mean radius outside: 4.3
Mean radius inside: 8.5
Difference: 4.2
Measurable with the iris system: