## Slide 1: Diamond membrane detectors GSI, 7.2.2019
Miha Červ, CIVIDEC Instrumentation

## Slide 2: CVD diamonds
CVD = Chemical Vapor Deposition
Little impurities
High temperature, low pressure
Ionized hydrogen, methane gas
0.1 μm to 10 μm per hour

## Slide 3: Why diamond detectors
Radiation resistant
Low noise
Low leakage current
No cooling required
Fast response – sub nanosecond

## Slide 4: Applications for diamond detectors
Beam instrumentation and spectroscopy
Neutron spectroscopy and flux monitoring
X-ray and gamma beam position and beam intensity monitoring

## Slide 5: pCVD and sCVD
Polycrystalline (pCVD)
  Cheaper per area
  Can be up to 75 cm2
Single crystal (sCVD)
  Smaller sizes – up to 8mm * 8mm
  For spectroscopy, particle recognition

## Slide 6: pCVD diamond detector

## Slide 7: Ionization

## Slide 8: Particle detection

## Slide 9: Drift velocity
Electrons and holes have different mobilities
Holes have higher mobility
Shockley-Ramo theorem :
-
-
-
-
-

## Slide 10: Electron drift

## Slide 11: Hole drift

## Slide 12: Amplifiers
Current amplifiers
  Counting
  Pulse shape analysis
Charge amplifiers
  Spectroscopy

## Slide 13: Current amplifier

## Slide 14: Charge amplifier

## Slide 15: Particle Identification

## Slide 16: Particle Identification

## Slide 17: Particle identification

## Slide 18: My measurements
Grace beam line at AEgIS at CERN
Low energy antiprotons

## Slide 19: Measurement setup
Knopf detector
C2 current amplifier
ROSY readout system

## Slide 20: Knopf detector
sCVD diamond
500 μm thickness
4mm * 4mm sensor area
Fits directly onto the SMA connector

## Slide 21: Measured waveforms

## Slide 22: Annihilation

## Slide 23: Second measurement
Repeat measurements with thinner electrode
Expected more annihilation in the sensor
Thin electrode Knopf detector

## Slide 24: Energy histogram
Energy [MeV]
Measurements from 2017
Energy [MeV]
Measurements from 2018

## Slide 25: Energy over time plots
Delay [ns]
Measurements from 2017
Delay [ns]
Measurements from 2018

## Slide 26: FWHM over time plots
Delay [ns]
Measurements from 2017
Delay [ns]
Measurements from 2018

## Slide 27: Nonlinearities
Amplifier nonlinearity
Pulse height defect
Measured energy deposition
Pulse height defect (PHD)
Deposited energy
C2 amplifier nonlinearity
Pulse height defect

## Slide 28: Thin diamond detectors
Maximum thickness 500 um
Standard sizes 140 um and 50 um
Experiments with 20 um diamonds
  Limit for producibility
  Extremely fragile

## Slide 29: Effects of thinning detectors
Higher output signal
Higher capacitance

## Slide 30: Crystal bending
sCVD
glue
PCB

## Slide 31: 50 µm and 20 µm crystal comparison
50 µm crystal
20 µm crystal

## Slide 32: Bent crystal

## Slide 33: www.cividec.at