## Slide 1: LHC integration update
2018-11-15 Marton Ady

## Slide 2: Current setup at Cockroft (“version 2”)
3D model: Tom Dodington

## Slide 3
HIPACE 300
300L/s
DN 16 ISO-KF to DN25 KF adaptor
SP25K Speedivalve
1 m 25KF hose
nXDS15i scroll pump from Edwards
SP25K Speedivalve
2 m 25KF hose
nXDS10i scroll pump from Edwards
HIPACE 300
300L/s
DN 16 ISO-KF to DN25 KF adaptor
SP25K Speedivalve
DN100 – DN40 CF adaptor and DN40 CF to KF25 adpator
HIPACE 700
700L/s
SP25K Speedivalve
This Channel is used for initial pumping, will be turned of when Turbo turns on.
nXDS15i scroll pump from Edwards
HIPACE 700
700L/s
SP25K Speedivalve
KF25 Tee
0.5 m 25KF hose
1 m 25KF hose
nXDS15i scroll pump from Edwards
HIPACE 300
700L/s
SP25K Speedivalve
HIPACE 300
300L/s
DN 16 ISO-KF to DN25 KF adaptor
SP25K Speedivalve
2 m 25KF hose
0.75 m 25KF hose
2* KF25 Tee
1 m 25KF hose
Slide: Hao Zhang

## Slide 4
Primary
Ne
blackened tube
10 bar injection
separator cone
nozzle
skim1
skim2
skim3
2
1
3
4
5
1
2
3
4
5
Hi-pressure nozzle
Between skimmers 1-2
Between skimmers 2-3
Interaction chamber
Dump area
max. 1E-3 mbar
~1E-5 mbar
~1E-7 mbar
~1E-9 mbar
min. spacing
200mm
DN63
Gauge: Penning
Gauge: 2xPenning + Pirani
Gauge: 2xPenning + Pirani
Gauge: Penning + Pirani
Leak det. valve
2 venting valves
Gauge: Piezoelectric (?)
Gauge: 2xPenning + Pirani
CF/KF adpt.
TMP 300l/s
63/100 adpt.
TMP 300l/s
63/100 adpt.
Leak det. valve
2 venting valves
Leak det. valve
2 venting valves
Primary
Primary
DN63
DN63
TMP 300l/s
63/100 adpt.
Leak det. valve
2 venting valves
Primary
DN63
V3 goal: use DN63 valve
TMP 300l/s
63/100 adpt.
Leak det. valve
2 venting valves
Primary
DN63
V3 goal: DN63 valve with ~25mm backscattering reducer The 90-deg turn can be replaced by tilted turbo, to be finalized
V3 goal: use flat skimmer instead of pyramid-shape
V3 goal: most probably primary only Hao: experimental primary from CERN
DN63
DN63
Backscattering reducer
32mm
V3 goal: DN63 opening, DN63->100 adaptor and 300l/s pumps

## Slide 5
Goal:
Imitate version 3 schematics with experimental setup
Get “matrix of pressures” at every step
  Change 1 parameter at a time
  Pressures as a function of injection pressure (0-10bar)
  Each data point with e-gun off/on

## Slide 6
DN100 gasket with 63 hole
DN160 to DN100 adaptor + DN100 gasket with 63 hole + Hipace300
DN160 to DN100 adaptor + DN100 gasket with 63 hole + Hipace300
I don’t think DN160 gasket with 63 mm hole needed since there is 3 skimmer upstream
DN160 gasket with 32 mm hole
HiPACE700 with 63 mm hole gasket here before CERN Primary pump arrived
HiPACE700 here with standard gasket before CERN Elbow arrived
Slide: Hao Zhang

## Slide 7: TE-VSC: Testing dry pump
Images: Eric Page