## Slide 1: Synchrotron Radiation: Simulation, Stoppers and Blackening
BGC Collaboration Meeting – 27.11.2018

## Slide 2: Principle of SR Masks/Stoppers
The SR masks should stop SR and prevent it from reflecting on surfaces in the optical path
SR mask
Diffuse reflected light
optics

## Slide 3: Experience from the LEP
Purpose: Decrease of the photon background in the detectors at the interaction points
The photon rates at a detector without SR masks was 25-30 times higher than at the detector with SR mask
Syncrotron Radiation Mask for LEP2 – CERN – SL/Note 93-23 (EA)
Test of Syncrotron Radiation Masks in LEP – CERN – SL-MD Note 144

## Slide 4: Experience from the LEP Simulations
Simulation of different aperture diameters and distances
Masks could lower the photon rates by 2 orderes of magnitude (in the simulation)
Syncrotron Radiation Mask for LEP2 – CERN – SL/Note 93-23 (EA)
Test of Syncrotron Radiation Masks in LEP – CERN – SL-MD Note 144

## Slide 5: Syncrotron Radiation (SR) Sources
Bending Magnets (D3 and D4)
The HEL? (not relevant for demonstrator)
The wiggler is on the outer beam (not relevant)

## Slide 6: Basis of Simulations
List of apertures in the beam pipe
  Source is the layout data base
MADX survey for the magnetic elements
   Synchrotron radiation sources

## Slide 7
Tool reads elemnt and aperture list
Calculates X,Y,Z positions
Generates input files for Synrad
Generates polygonised vacuum chambers

## Slide 8
Generated aperture
Magnetic elements

## Slide 9
Primary and scattered photons

## Slide 10
Front view (from bending magnet)
Beampipe inner wall
60% of incident SR reflected, 40% absorbed
Absorbed power: 32.75W
Highest density: 0.174W/mm2
Crotch absorber
Total power absorbed: 407.18W
Power density [W/cm2]
Power density [W/cm2]
Flux visualized at absorption locations

## Slide 11: Feasibility for the Demonstrator
SR mask has to be on the copper liner
Total liner length is 500mm
Inner diameter Ø80mm
Stopper on the liner
Or in the gasket