## Slide 1: LS2 Detector cooling
O.Crespo

## Slide 2: Activities 2019
W49
  Rp Checks on all the cooling plants
    Priorities for results could be given if needed please inform us
      ITS plants are the priority for us as these ones have to be emptied ASAP
W50
  10th of December:
    Fluid recovery on SPD
      Do not touch SPD cooling lines before getting green light from us
    Draining of SSD/SDD (could take more than 1 day depending of the water analysis results. It will depend if we can release the water to the drain or if we need to treat this one as a chemical waste)
      Water analysis will be performed during week 49

## Slide 3: Activities 2019
ITS Plants emptied and electrically consigned during the week 50
Dismantling of the ITS cooling plants will be done between the weeks 14 and 21
Tof / Phos cleaning: proposal to perform this job from week 27to week 30, to be approve with detectors
If any support is needed please ask otherwise maintenance period is foreseen to takes place during CV maintenance
Christmas period
Please let us know what will be the status of the plants
Foreseen to run: TPC FEEC & ROD / TOF-PHOS / TRD / HMPID Please confirm
If plants are running detector contact is needed to take decision in case of failure