## Slide 1: EA BI WG Draft Mandate
L.Gatignon
29 Nopvember 2018

## Slide 2: EA-BI working group –Introduction (1)
In recent years a number of limitations have been observed related to the instrumentation relevant for the experimental areas (East Area, North Area and AD in particular).
The instrumentation in the secondary beams is often very old and in some cases it no longer corresponds to the requirements due to evolving use of the beam lines. An example are the different types of by now obsolete wire chambers. The analog wire chambers are often degraded due to radiation and only respond for beam intensities of typically 105/spill or higher. Delay wire chambers give good results at lower intensities but do not work properly for intensities approaching 105/spill. Typical users often run around 105/spill where none gives good information on the beam profile. On top of that the technology of both is obsolete and the expertise and tooling for producing or repairing such chambers no longer exists at CERN.

## Slide 3: EA-BI working group –Introduction (2)
The instrumentation in the primary beams towards the primary targets also has shortcomings. In many cases the number of detectors is insufficient or only beam position monitors are available where a full profile is really required. Beam loss monitors do not exist in many places. One example is the steering through the North Area splitters where insufficient monitoring is available. For the spill structure hardly any useful information is available.
It is therefore proposed by the EN-EA and BE-BI management to set up a working group to define needs and priorities for the instrumentation related to operation of the experimental areas. This group has synergies with the SPS Losses and Activation Working Group (SLAWG) which addresses similar questions for the transfer line operation.

## Slide 4: Draft Mandate
A new working group is mandated to address the optimization of the beam instrumentation relevant for efficient and successful operation of the North and East experimental areas, as well as the AD.
Weak points in the existing instrumentation must be identified and solutions must be proposed, costed and prioritized. This includes the instrumentation in the secondary beams as well in the primary transfer lines towards the production targets as far as relevant for the experimental areas. The working group shall work in synergy with the SLAWG, which addresses typically the primary beam instrumentation.
Shortcomings may be due to equipment degradation, missing functionality or required additional information.
The working group reports to IEFC.

## Slide 5: Deliverables
The deliverables expected from the working group are the following:
Provide an inventory of the present situation and of the present and future needs,
Evaluate the state of the hardware, the possibilities and difficulties for maintenance and renovation and the long-term availability of expertise,
Evaluate the present and future needs for R&D,
Define baseline requirements for post-LS2 and LS3 requirements, including the associated resources.

## Slide 6: Organisation
Co-chairs: Jocelyn Tan + Lau Gatignon
Sc.Secretary: Inaki Ortega Ruiz
Membership: See separate pdf file
Mandate and strategy approved by IEFC on 29 June
Timeline to be agreed and communicated to Roberto Losito

## Slide 8
Preliminary

## Slide 9
Preliminary

## Slide 10
Preliminary