## Slide 1: Design of the GBAR free-fall chamber
Paul Indelicato, Bruno Mansoulié, Jean-Michel Isac
GBAR collaboration Meeting, CERN, November 28-30, 2018

## Slide 2: Introduction
Fighting for space
GBAR collaboration meeting November 2018, CERN

## Slide 3: General view
GBAR collaboration meeting November 2018, CERN
TOF bars

## Slide 4: General view
GBAR collaboration meeting November 2018, CERN
tracker planes
incoming ions
mumetal shield

## Slide 5: General view
with detectors
GBAR collaboration meeting November 2018, CERN

## Slide 6: With the detectors
GBAR collaboration meeting November 2018, CERN

## Slide 7: With the detectors
GBAR collaboration meeting November 2018, CERN

## Slide 8: Free fall chamber
GBAR collaboration meeting November 2018, CERN

## Slide 9: Design
lasers, ions, vacuum, feedthrough…
GBAR collaboration meeting November 2018, CERN

## Slide 10: Free fall chamber
GBAR collaboration meeting November 2018, CERN
Cooling laser
Raman laser
Raman laser
Raman laser
Raman laser
Photo-detachment

## Slide 11: Free fall chamber environment and pumping
GBAR collaboration meeting November 2018, CERN
H+ 4 keV
Be+
HD+
Dampers to reduce vibrations

## Slide 12: Inside the free fall chamber
GBAR collaboration meeting November 2018, CERN

## Slide 13: Ions trajectories
GBAR collaboration meeting November 2018, CERN
H+
Be+
Deceleration drift tube
HV
4 keV
~1 keV
~980 eV
ground

## Slide 14
GBAR collaboration meeting November 2018, CERN
Precision Trap design (Mainz)
9nm
Trap modeling: Singer et al,
Rev. Mod. Phys. 82, 2609 (2010)
Required:
Symmetric trap fields
Design for few µm
precision fabrication
Segmented electrodes
for versatile potentials
High voltage switching
No-charging for stable
micro motion compensation
Trap electrodes
125 µm thickness
11 electrodes
960 µm distance between chips
Notes: [PLACEHOLDER TEXT]

## Slide 15: Feedtrough
GBAR collaboration meeting November 2018, CERN
Capture trap:
  2x4x7=56 for the ITO trap.
  The ITO trap must be at high-voltage
  It requires low impedance coupling to HF generator
Precision trap
  13x4=52 for the precision trap (+1 for low power HF)
  2x2 pins for magnet coils
  The precision trap is close to ground
Bender
  2 pins for ± electrodes
  2 compensation electrodes (?)
  Ground
  Incoming beam should be decelerated to < 1 kV
Decelerator
  1 electrode, 4 kV

## Slide 16: List of material inside the trap
GBAR collaboration meeting November 2018, CERN
Kapton (40 m of insulated wire or?)
316L steel
304L steel (connectors)
Gold
Be-Cu (connectors)
macor
ITO (Indium Tin oxyde)
Fused Silica glass
Lenses, mirrors…

## Slide 17: Choice of pump
GBAR collaboration meeting November 2018, CERN
Three company consulted (Leybold, Pfeiffer, Edwards)
Ion pump:
  Pumping speed for a CF160:
    H2 1930 l/s
    N2 880 l/s
    Limit vacuum <10-11mbars
  Problem: magnetic field
    Can it be shielded?
Cryopump
  Pumping speed for a CF200:
    H2 2500 l/s
    N2 1500 l/s
    Limit vacuum <10-11mbars
  Problem: vibration due to cryocooler, very large…
  Can we build one using liquid He/N2? (Bruno question)

## Slide 18: Choice of pump
GBAR collaboration meeting November 2018, CERN
Turbo-pump
  Pumping speed for a CF160
    H2 480 l/s
    N2 685 l/s
  Special model:
    high-compression ratio for H2 (105 against 103 in earlier models)
    Fully magnetic bearing: 2 orders of magnitude less vibration
    Vertical with dampers to reduce vibrations
  To get to ultra-high vacuum, one can put two in cascade (add compression ratios) ~1010
In all cases, main issue is to bake properly the components at the different stages of fabrication.

## Slide 19: Choice of pump
GBAR collaboration meeting November 2018, CERN

## Slide 20: Choice of pump
GBAR collaboration meeting November 2018, CERN

## Slide 21: Simulation
GBAR collaboration meeting November 2018, CERN
300 days!
Traced to the long CF160 connection

## Slide 22: Simulation
GBAR collaboration meeting November 2018, CERN
300 days!

## Slide 23: Add NEG in the dead angles from the trap?
GBAR collaboration meeting November 2018, CERN
100 to 500 l/s depending on length

## Slide 24: And then…
GBAR collaboration meeting November 2018, CERN
High-voltages for the capture trap
  Will it work as expected
Transfer between the two traps
How to recognise we have H+ and not a proton…
…