## Slide 1: Free fall experiment: final steps
Implantation
  Inputs: ions (ovens? lasers?) , H+ guiding to an inside FF
  Lasers
  Pumps
  Magnetic shielding
Intermediate steps
  Ion cooling experiments
  Using other ions?

## Slide 2: Vacuum
Meeting with Paolo Chiggiato, CERN top vacuum expert.
  E(-12) probably feasible, with lots of care
    Analyze all sources of gas: input lines, ion injection…
    Pre-treatment of vessel (stainless steel) : firing
    Cryopump OK if bakeable (vibrations?), or ion pump + getter
    Vacuum gauge(s): CERN special OK
    Cryo for chamber: necessary to go below E(-12); whole chamber, screen only would be useless.
  Proposes help for P<E(-11) (eitherwise “trivial”)
    Can measure feed-thrus => URGENT!
    Can measure all pieces for outgassing => please send us samples!
    Review design

## Slide 3
Front
Top
Side
Not included:
Photodetachment laser
Magnetic shielding (???)
Supporting the FF from the floor
Where?
Vibrations?

## Slide 4
1:40
2,5 cm = 1 m
3500
1800x900
1500x900
900x600
2x600x450
Laser hut on ground floor of the GBAR area?
No need for structure (non-magnetic…)
Easier transport of lasers beams
Better view for visitors (?)
No access with e+ beam
(except very low rate)
No access with pbar beam
Access to FF chamber from this end more difficult.
Access from the sides?
(removing TOF side walls?)

## Slide 5: Intermediate steps
Laser cooling of ion(s)
The ion injection/cooling(/ photodetach?) experiment should be first made in a lab. It cannot be developed in GBAR!
  Which steps?
    Which cooling experiments in LKB and Mainz?
  How to prove/calibrate efficiency for H+
    Protons? In the lab / from GBAR
What can be done with other ions?
  H- from ELENA
  Protons from ELENA
  Protons from our source
How far can we design/build the FF chamber without feedback/iteration from the intermediate steps? Examples:
    first trap at 1kV? 500 V? Trap power supplies at the HV?
    materials used? Cables etc. ? => select and test!

## Slide 6: Additional slides

## Slide 7: Vacuum
Patrice (Dec 2016) : <10-11 mbar => difficult in a large, complex object like this
Needs cryogenics => increases complexity.
time in each step?
  slowing down from keV to meV in the capture trap : 1 ms ?
  cooling to 1 mK : 1 ms?
  cooling to 10 microK: 1 ms?
  free fall of the neutral atom : 200 ms
collisions (Svante Jonsell, Pauline,…)
  inelastic : Hbarp / H2 or He unknown. Svante’s best guess: sigma.v ~ 8 10-10 cm3/s for H2, 4 10-10 for He; if 10-9 mbar => t = [(sigma.v). r] = 50 sec
  elastic (heating in traps) : ???
Alpha paper on storing Hbar:
  vacuum estimated from pbar lifetime 5 10-10 m-3 = 7 10-14 mbar
  Hbar lifetime 104 – 105 sec, and “loss by heating by collisions dominate if T>100K”
How to? : Bake-out? Outgassing of materials inside ?
  list all materials
    samples were sent from Mainz to CERN => ?

## Slide 8
x
z
N.B. The trap is rotated by 45° (around z) with respect to the laser beams
coil
coil
45°
B
Doppler beams
(s+/-)
Raman beam R1
(p)
E
Raman beam R2
(s+ / s-)
Beam arrangement 0:
E
45°