## Slide 1
XLS
CompactLight@elettra.eu
www.CompactLight.eu
WP5: Undulators Cost Matrix
Barcelona, December 10-12, 2018
Thomas Schmidt, PSI

## Slide 2
cost for undulators depend on series or single devices
cost overview filled with data from labs and industry
industry (design, full systems, components, ...)
no new developments, but production of established system
requires Tech Transfer
price per m and for saturation (10x gain length)
price tags will give some orientation also for scaling
optimium especially for soft x-rays is not too long but more modules
even if the price for undulator is higher
Undulators cost Matrix general aspects

## Slide 3
Undulators for Compact Light: Hard x-ray: planar
short period, small gap:
- in-vacuum
- cryogenic in-vacuum @ LN2
- classical sc
- High Temperature sc (HTS)

## Slide 4
Undulators for Compact Light: Soft x-ray: variable polarization
gradient control by individual
radial settings of magnet arrays:
short to medium period, small gap:
- planar out of vac FEL with polarized afterburner only
- APPLE II (also in-vac under construction at HZB)
- APPLE X with gradient control
- fixed gap DELTA

## Slide 5: optimizing field strength: APPLE goes in-vac
in-vac APPLE II @ HZB for BESSY II
(Johannes Bahrdt, Atoosa Meseck)
J. Bahrdt et al., In-Vacuum APPLE II undulator,IPAC2018, Vancouver (2018)
Undulators for Compact Light: Soft x-ray: variable polarization
short to medium period, small gap:
- planar out of vac FEL with polarized afterburner only
- APPLE II (also in-vac under construction at HZB)
- APPLE X with gradient control
- fixed gap DELTA
APPLE X UE38 SwissFEL

## Slide 6
 | out of vac | in-vac | in-vac | CPMU | SC NbTi / SC Nb3SN | HTS
Performance: K (λ/gap/L) | 80/13/2 | 15/4/4 | 2m |  |  | 
Design | 1M | 100 MM | 2 M |  |  | 
Fabrication by Lab |  | 800 / 13units |  |  |  | 
Magnetarray | 200 | 300 | 200 |  |  | 
Support | 300 | 380 | 300 |  |  | 
Drive System / Controls | 50 | 50 | 50 |  |  | 
Vacuum System |  | 70 | 50 |  |  | 
Optimization |  | 4MM |  |  |  | 
Fabrication by Company | 460/1- 700/1 |  | 1100/1 |  |  | 
Installation / Infrastructure |  | 400 + x floor |  |  |  | 
Fabrication Time by company / by Lab | 12/12 | 18/12 | 14/18 |  |  | 
Operation / Maintenance |  |  |  |  |  | 
price / m [€] | 230 – 350 | 200 | 600 /550 |  |  | 
total price [M€] / saturation length [m] | 0.46 - 0.7 | 12 | 1.2 / 1.1 |  |  | 
hard x-ray

## Slide 7
 | APPLE II | APPLE II | APPLE III | APPLE III | in vac | CPMU | SCAPE
Performance: K (λ/gap/L) | 70/14/2 | -/-/2 | -/-/2 | 38/6.5/2 |  |  | 
Design | 1 M |  |  | 60MM |  |  | 
Fabrication by Lab |  |  |  | 600 / 16 |  |  | 
Magnetarray | 200 |  |  | 130 |  |  | 
Support | 300 |  |  | 420 |  |  | 
Drive System / Controls | 50 |  |  | 20 |  |  | 
Vacuum System |  |  |  | 30 |  |  | 
Optimization | 1 M |  |  |  |  |  | 
Fabrication by Company | 800 | 560 | 760 |  |  |  | 
Installation / Infrastructure | 2d |  |  | 70 |  |  | 
Fabrication Time by company / by Lab | 12/18 |  |  | 24/24 |  |  | 
Operation / Maintenance |  |  |  |  |  |  | 
price / m [€] | 400 | 280 | 380 | 300 |  |  | 
total price [M€]/ saturation length [m] | 0.8 | 0.56 | 0.76 | 10 |  |  | 
EPU: soft x-ray
will be continued till June 2019