## Slide 1: Improving the Precision for Next Generation Accelerators
Standard BPMs give intensity signals which need to be subtracted to obtain a difference which is then proportional to position
  Difficult to do electronically without some of the intensity information leaking through
    When looking for small differences this leakage can dominate the measurement
    Typically 40-80dB (100 to 10000 in V) rejection  tens micron resolution for typical apertures
Solution – cavity BPMs allowing sub micron resolution
  Design the detector to collect only the difference signal
    Dipole Mode TM11 proportional to position & shifted in frequency with respect to monopole mode
f / GHz
U / V
Frequency Domain
TM01
TM11
TM02
U~Q
U~Qr
U~Q
Courtesy of D. Lipka,
DESY, Hamburg
TM01
TM11
TM02

## Slide 2: Today’s State of the Art BPMs
Obtain signal using waveguides that only couple to dipole mode
  Further suppression of monopole mode
Monopole Mode
Dipole Mode
Courtesy of D. Lipka,
DESY, Hamburg

## Slide 3: Design of Cavity with waveguides

## Slide 4
Pillbox cavity
Cavity with waveguides
Signal to antenna (beam)
Response of cavity