## Slide 1: 1st EPS TIG Hands-on Event for Science, Technology and Interfaces

## Slide 2: Session 2 Project
Build a modern interferometer to measure the shift along the X, Y and Z axis of a piezo stack.

## Slide 3: Working groups
A) Communication and coordination
B) Opto-mechanics hardware
C) Electrical hardware
D) Interferometer software
E) Data Analysis
List of the groups:

## Slide 4: Problems
Prism shape ⇒ two channels are highly correlated ⇒ difficult calibration
Drift compensation during acquisition
Alignment of the lasers and the faces of the piezo-stack

## Slide 5: Final Acquisition
Acquisition only from one channel (Z axis)
Acquisitions:
Drift signal
Piezo displacement changing the tension

## Slide 6: Results: Drift Measure

## Slide 7: Results: Piezo-stack behaviour