## Slide 1: MOBICALL
PROPOSITION

## Slide 2: Evacuation
SMS:
  Location responsible
  TSO
  DSOs
Mails:
  Location responsible
  TSO
  DSOs

## Slide 3: Alarme niveau 2 - DI
SMS:
  TSO
  DSOs
  Location responsible (SF ou PCB ou EMD)
Mails:
  Location responsible
  TSO
  DSOs

## Slide 4: Alarme niveau 3 - DI
Appel:
  TSO
  DSOs
Mails:
  Location responsible
  TSO
  DSOs

## Slide 5: Alarme niveau 2 - HCN
SMS:
  TSO
  DSOs
  Location responsible (SF ou PCB ou EMD)
Mails:
  Location responsible
  TSO
  DSOs

## Slide 6: Alarme niveau 3 - HCN
Appel:
  TSO
  DSOs
Mails:
  Location responsible
  TSO
  DSOs

## Slide 7: Alarme niveau 2 - Solvant
SMS:
  TSO
  DSOs
  Location responsible (SF ou PCB ou EMD)
Mails:
  Location responsible
  TSO
  DSOs

## Slide 8: Alarme niveau 3 - Solvant
Appel:
  TSO
  DSOs
Mails:
  Location responsible
  TSO
  DSOs

## Slide 9: Défaut ventilation – niveau orange
SMS (fermer les couvercles des tanks inactifs)
  TSO
  DSOs
  Location responsible (SF ou PCB ou EMD)
Mails:
  Location responsible
  TSO
  DSOs

## Slide 10: Défaut ventilation – niveau rouge
Appel:
  TSO
  DSOs
SMS: (Extraction en mode dégradé. Fermer couvercles de tous les tanks et évacuer l'atelier)
  Location responsible (SF ou PCB ou EMD)
Mails:
  Location responsible
  TSO
  DSOs