## Slide 1: THE CORES & CO
THINGS TO DISMOUNT DURING THE CIVIL ENGINEERING WORK OF CORES
POSSIBLE IMPROVEMENT (TO AVOID DISMONTING OR REDUCED COST IMPACT)

## Slide 2: P1L
93,25 /IP 1
UL13
RI132
81.4 (IP1)
2 DISMONTING ZONE RI132 TUNNEL
UA13
11.9
UJ13
10
6
10
6
55.5
UJ13
10
154.95 /IP 1
55.5
UL CORES ZONE
UA CORES ZONE
UA CORES ZONE
UL CORES ZONE

## Slide 3
SERVICES IMPACTED BY DRILLING CORES

## Slide 4
SCLINK CORE ( -93.25 )
sclink
Ø1.7
Pipes to cut locally
CUT ≈ 5 m : start at 91 m end at 96 m
IMPACTED ZONE RI132 TUNNEL
Question :
peut-on laisser la tuyauterie?
peut-on laisser la qrl ?
Limite de la zone de travaux souhaité

## Slide 5
Ø1.7
QRL CORE ( -95.25 )
QRL
IMPACTED ZONE RI132 TUNNEL
Question :
peut-on laisser la tuyauterie?
peut-on laisser la qrl ?
Limite de la zone de travaux souhaité
Systeme de protection a prevoir ?

## Slide 6
SERVICE CORE (-94.95)
2000
IMPACTED ZONE RI132 TUNNEL
Ø1.7
1.7
Limite de la zone de travaux souhaité

## Slide 7
TO DISMOUNT (OR CUT) :
Machine side (left)
All cables
ALL cables trays (CT) +
Support structure of CT
Helium ring line
Warm recovery line
Quench line
Compressed air pipe
EDR & EDA
QRL !
Transport side (right)
Transport rail (≈ 3m) &
Rail Support
Power 18kva cable
Safety cables & support (if present)
GSM cable
Optic fibber
Fire detection tube
Cables trays of experiment ALFA
Cables trays attached to support rail
THINGS TO DISMOUNT DURING THE CIVIL ENGEENIRING WORK OF CORE

## Slide 8
93,25 M TO IP
Ø 1.7 M
2
Ø 1 M
1.7
CUT PIPES
ADD VALVES?
CUT rail
2
1
8

## Slide 9
QXL
SCLINK
CABLES
LHC LAYOUT

## Slide 10
IMPACTED ZONE RI132 TUNNEL

## Slide 11
154,95 M TO IP
14.9 M
BOTTOM VIEW TUNNEL RI132

## Slide 12
TO DISMOUNT :
Machine side (left)
All cables
ALL cables trays (CT) +
Support structure of CT
Helium ring line
Warm recovery line
Compressed air pipe
QRL !
Transport side
Not necessary!

## Slide 13: P1R
RI171
154,957 TO IP 1
UA17
RI171
10
6
10
6
55.5
10
55.5
2 DISMONTING ZONE RI132 TUNNEL
UL CORES ZONE
UA CORES ZONE
UL CORES ZONE
UA CORES ZONE

## Slide 14
SERVICES IMPACTED BY DRILLING CORES

## Slide 15
SCLINK CORE ( -93.25 )
sclink
Ø1.7
IMPACTED ZONE RI132 TUNNEL
Ø 660
1400
560

## Slide 16
NEW CONCEPT OF DFX (VERTICAL POSITION/ CORE)

## Slide 17
Ø 660
≈450
1960/IP

## Slide 20
NEW CONCEPT OF DFX (VERTICAL POSITION/ CORE)

## Slide 21
Ø1.7
QRL CORE ( 95.25 )
IMPACTED ZONE RI132 TUNNEL

## Slide 22
2000
Ø1.7
1.7
SERVICE CORE (94.95)
IMPACTED ZONE RI132 TUNNEL

## Slide 23
Ø1.7
1.7
Ø1.7
QRL CORE ( 95.25 )
SERVICE CORE (94.95)
2000

## Slide 24
TO DISMOUNT :
Machine side (left)
All cables
ALL cables trays (CT) +
Support structure of CT
Helium ring line
Warm recovery line
Compressed air pipe
QRL !
Transport side
Not necessary!

## Slide 25
Ø1.7
IMPACTED ZONE RI132 TUNNEL

## Slide 26
TO DISMOUNT :
Machine side (left)
Ventilation duct Ø 300
All cables
ALL cables trays (CT) +
Support structure of CT
Helium ring line
Warm recovery line
EDR & EDA
Compressed air pipe
QRL !
Transport side
Ventilation duct Ø 300
Transport rail & Support (if present)
Safety cables & support (if present)
GSM CABLE
OPTIC FIBER CABLE

## Slide 27
COMPARAISON AVEC LE SCAN

## Slide 28
154,95 M TO IP
≈ 14.9 M
BOTTOM VIEW ZONE CRAB. CAV. TUNNEL RI171

## Slide 29
QXL
SCLINK
CABLES
LHC LAYOUT

## Slide 30
93,25 M TO IP 5
Ø 1.7 M
2
Ø 1 M
1.7
RI171
UJ17
11.9

## Slide 32: p5

## Slide 33: P5R

## Slide 34
SCLINK CORE ( -93.25 )
Ø 1.7 M
IMPACTED ZONE UJ57

## Slide 35
NEW CONCEPT OF DFX (VERTICAL POSITION/ CORE)

## Slide 36
NEW CONCEPT OF DFX (VERTICAL POSITION/ CORE)

## Slide 37
NEW CONCEPT OF DFX (VERTICAL POSITION/ CORE)

## Slide 38
QRL CORE ( -95.25 )
SERVICE CORE (-94.95)
Ø 1.7 M
Ø 1.7 M
IMPACTED ZONE UJ57

## Slide 39
TO DISMOUNT :
Machine side (left)
All cables
ALL cables trays (CT) +
Support structure of CT
Helium ring line
Warm recovery line
Compressed air pipe
QRL !
Part of metallic structure
Transport side
Not necessary!

## Slide 40
93,25 M TO IP 5
Ø 1.7 M
2
Ø 1 M
1.7

## Slide 41
UJ57
UL57
10.2 m
95.25 m
QXL

## Slide 42
IMPACTED ZONE R571 TUNNEL

## Slide 43
TO DISMOUNT :
Machine side (left)
All cables
ALL cables trays (CT) +
Support structure of CT
Helium ring line
Warm recovery line
Compressed air pipe
QRL !
Transport side
Not necessary!

## Slide 44
SERVICES IMPACTED BY DRILLING CORES

## Slide 45: p5L

## Slide 46
SERVICES IMPACTED BY DRILLING CORES

## Slide 47
SCLINK CORE ( -93.25 )
Ø 1.7 M
IMPACTED ZONE R541 TUNNEL

## Slide 48
NEW CONCEPT OF DFX (VERTICAL POSITION/ CORE)

## Slide 49
NEW CONCEPT OF DFX (VERTICAL POSITION/ CORE)

## Slide 51
SERVICE CORE (-94.95)
Ø 1.7 M
IMPACTED ZONE R541 TUNNEL

## Slide 52
QRL CORE ( -95.25 )
Ø 1.7 M
IMPACTED ZONE R541 TUNNEL

## Slide 53
TO DISMOUNT :
Machine side (left)
Ventilation duct Ø 300
All cables
ALL cables trays (CT) +
Support structure of CT
Helium ring line
Warm recovery line
EDR & EDA
Compressed air pipe
QRL !
Transport side
Ventilation duct Ø 300
Transport rail & Support (if present)
Safety cables & support (if present)
GSM CABLE
OPTIC FIBER CABLE

## Slide 54
93,25 M TO IP 5
Ø 1.7 M
2
Ø 1 M
1.7

## Slide 55
2.3 M
Ø 1.7 M

## Slide 56
C.C.
C.C.
C.C.
R532
D2
D2
R532
C.C.

## Slide 57
154,95 M TO IP 5
≈ 14.9 M
≈ 10.4 M
BOTTOM VIEW TUNNEL R532
UJ53