## Slide 1
“something about ground vibration measurements”
K.Artoos
Slides from M.Guinchard, Ch. Collette, M. Sylte

## Slide 2
Ground vibration measurements
Equipment
PSD
Integrated RMS displacement
Technical noise sources: model + some examples
Sensor noise
Coherence measurements

## Slide 3: Equipment and settings
  Vibrations sensors
Type | Supplier | Type | Sensitivity | Freq. Range | Axes
Geophones | GURALP | CMG 6T | 2000 V/m/s | 30s to 100Hz | NS, EW, V
Seismic accelerometers | PCB | 393B31 | 10 V/g | 0.1 to 200Hz | V
 | ENDEVCO | 86 | 10 V/g | 0.1 to 200Hz | V
  Data acquisition system
  Spectrum analyser with 16 channels
  24 bits on 10mV for the lowest dynamic range
  Sampling frequency up to 200kHz
  Noise level DAC< 1 μV
  Software for signal treatment (FFT, PSD, Filtering, etc…)
Sampling rate | 1024Hz
Measurement Length | 1440s
Block length | 64s
Overlap | 66,7%
Window function | Hanning
Averaging | Linear
Parameters:
M. Guinchard, M. Sylte

## Slide 4: Power Spectral Density
M. Guinchard, M. Sylte

## Slide 5
Vertical
1nm
5nm
Lateral
M. Sylte, M. Guinchard
Measured on FLOOR
2 nm

## Slide 6
Additional
technical noise:
Reference
Local excitations: model
Vertical ground motion
Reference
6
Ch. Collette

## Slide 7
Local excitations
Lateral ground motion
Additional
technical noise:
Ref. :
Reference
Reference

## Slide 8: Support amplifications
CLEX girder
Mineral cast girder
(PSI)

## Slide 9
Color map LHC tunnel measurements

## Slide 10
Color map LHC tunnel measurements

## Slide 11
Example influence ventilation
CLEX

## Slide 12
Two geophones side by side:
Sensor noise
where
Signal to noise spectrum ratio:
C. Montag. PhD thesis, Hamburg University, 1996.
Prepared by C. Collette

## Slide 13
Sensor noise detection
Prepared by C. Collette

## Slide 14: Sensor Noise
At high frequency, the sensor noise increases linearly with signal level
C. Collette, M. Sylte

## Slide 15: Sensor Noise
Seismic accelerometers
(Brüel & KjærTM type 8340)

## Slide 16: Use of the seismometers– CMG-6T Guralp seismometers
PSI + Cesr TA: Influence from magnetic fields and radiation:
The sensors were placed about 2 m from the quadrupole. No effect was observed from the magnetic field. The effect from radiation needs more investigation.
Influence from thermal conditions:
Long settling time
noise reduction
cover

## Slide 17: Ground motion measurements : Coherence length
Guralp
CMG 40T
2*800Vs/m
30 s -50 Hz
x,y,z
ENDEVCO 86
PCB 393B31
2 Muller-BBM
MKII Analyzers
1 km of optical fibre for synchronisation + timing
and Data Transfer
Parameters
Sampling rate
256 Hz
Block duration
64 s
Average
Lin – 50
Overlap
66.7 %

## Slide 18: Ground motion measurements : Coherence length
Guralp
CMG 40T
2*800Vs/m
30 s -50 Hz
Specific features :
Synchronous measurements
Phase error < 0.01 deg on the frequency range

## Slide 19: 3D coherences
d=960 m; filtered between
0.08 Hz and 0.5 Hz
Correlation in the low frequency range
Similar amplitudes in all directions
or ?

## Slide 20
Coherence measurements LHC tunnel
0
6m
7m
10m

## Slide 21
Coherence measurements Surface Building 180