## Slide 1
ARIS: ATLAS Radiation Interlock System
Project
A. Replace old SY/Max that has been working for 25 years
B. Simple Digital Input/Output, Timer
No liquid tanks filling, conveyor belts moving, etc.
C. Sense: Gates Open/Closed, Reset Buttons pressed, Keys in digital positions
D. Control: Alarms, Lights, RF Power, Faraday Cups In/Out
2. SPECS
A. Find appropriate PLC vendor – Safety PLC vs. non-Safety PLC
B. SIL3, SIL-4 (Safety Integrity Level)
C. Access States and transitions
D. Radiation values (mRem/hour)

## Slide 2
Issues
Counter cards with enough Channels and sufficient speed
A. PLC counter card modules not sufficient
B. Went with Ludlum cards
Read configuration file
3. Perform mathematical calculations:
A. Calculate Moving averages
B. Calculate accumulated dose