## Slide 1: CI update
Hao & Amir

## Slide 2: CI nozzle
100mm
2mm
Aperture

## Slide 3: Aperture from agar scientific
3.04 mm
0.25 mm
Capillary length = 0.5 hole diameter

## Slide 4: Pressure test with 50 um aperture
Nozzle | Nozzle Chamber (mbar) | Skimmer Chamber(1) (mbar) | Skimmer Chamber(2) (mbar) | Interaction Chamber (mbar) | Dump Chamber (mbar)
Normal Conditions | 3.80E-03 | 3.90E-06 | 3.80E-07 | 7.68E-09 | 2.21E-09
50 um | 8.6E-03 | 3.5E-04 | 2.4E-05 | 2.9E-08 | 7.7E-09
No jet was found for 50 um currently.

## Slide 5: Conclusion
No conclusion yet.
Need more analysis of current data.
Try 20 um as well.