## Slide 1: 1-D ChDR Point Spread Function (3)
Outline
KEK ATF experiment
Simulations of the ChDR PSF
Conclusion
A. Potylitsyn, D. Shkitov, S. Gogolev

## Slide 2: Optical line installation
dlens = 2 inch
L = 30 cm
d/2L = 0.085 ≈ 211γ-1

## Slide 3: Impact parameter scan
Total intensity linear scale
Total intensity log scale

## Slide 4: Simulation of 1-D ChDR PSF
Assumptions:
Cross-section of the LSF at the fixed position of the trajectory trace is considered as one-dimensional PSF;
Both polarization components of the ChDR field are simulated using the polarization currents method neglecting by refraction and attenuation effects;
ChDR fields are simulated for far field zone;
Unit magnification of the optical system.

## Slide 5: OTR PSF calculations
Here and are the coordinates of target surface and lens plane, is the target surface area, is the MacDonald function of the first order, and
It’s the Fourier transformation from momentum presentation into space presentation XD – YD.

## Slide 6: OTR PSF

## Slide 7: OTR profile monitor
θm >> 1/γ
Lens Aperture
CCD

## Slide 8: OTR PSF
Spatial resolution

## Slide 9: ChDR in a vacuum
Polarization currents model in the far field zone
Scheme of the generation of polarization radiation
ChDR angular distribution
= 33.68 deg
= 2500
= 2.1
A = 18.5 mm
(deg)
(arb. units)
A

## Slide 10: ChDR generation scheme
Trajectory image
There is defocusing effect due to Δa ≠ 0

## Slide 11: 1-D PSF simulation. Dimensionless variables
,
,
,
here – in micrometers, a is the distance between a source and a lens.
.
lens
aperture
where
Image from a single charge: .
10

## Slide 12: 1-D PSF distribution
;
;
;
lens
aperture
It is approximation only
In order to simulate a “real” 2-D PSF one has to perform two-fold integration over total lens aperture ().
For such a simulation one should use fields but not .
Dimensionless variable

## Slide 13: Azimuthal distribution of the ChDR for
|
|
Real and imaginary part of electric field vertical component taken in absolute value at the maximum of ChDR
Impact parameter 500 um

## Slide 14: Azimuthal distribution of the ChDR for
|
|
Real and imaginary part of electric field horizontal component taken in absolute value at the maximum of ChDR
Impact parameter 500 um

## Slide 15: Azimuthal distribution of the ChDR for
|
|
Real and imaginary part of electric field vertical component taken in absolute value at the maximum of ChDR

## Slide 16: Azimuthal distribution of the ChDR for
|
|
Real and imaginary part of electric field horizontal component taken in absolute value at the maximum of ChDR

## Slide 17: 1-D ChDR PSF (vertical polarization)
In order to simplify simulation, real and imaginary parts of the vertical component for different impact parameters were approximated by gaussians with parameters (dimensionless values):
→
→
FWHMs of distributions do not depend on the lens aperture (100/γ, 200/γ and 4000/γ were checked).
100 um
1200 um

## Slide 18: 1-D ChDR PSF (vertical polarization)
(arb. units)
100 um
1200 um
PSF for vertical component
γ = 2500
λ = 0.7 um
No dependence on lens aperture if aperture >> γ-1
(in other words, angular distribution of the ChDR decreases exponentially with angle rise but not power decreasing as for OTR)
xD = 1 (dimensionless) --> XD = γλ/2π = 280 um

## Slide 19: Beam profile imaging simulation
Gaussian beam:
PSF transforms beam profile to the measured intensity distribution on the image plane (detector plane):
(um)
(arb. units)
( = 25 um) = 67.1 um
( = 50 um) = 79.8 um
( = 75 um) = 97.5 um
( = 100 um) = 117.8 um
25 um
50 um
75 um
vertical
lens aperture 400/γ
impact parameter 100 um
100 um
RMS size:

## Slide 20: Beam profile imaging simulation for different impact parameters
σx =
25 um
100 um
h = 100 200 300 400
500 800 1000 1200 um
lens aperture 400/γ

## Slide 21: Dependence of the image RMS size on σx (vertical polarization)
σx (um)
σ (um)

## Slide 22: 1-D ChDR PSF (horizontal polarization)
PSF distributions
h = 100 um
h = 800 um
(arb. units)
(arb. units)
Approximation of the field
xD = 1 (dimensionless) --> XD = 280 um

## Slide 23: Beam profile imaging simulation
(um)
(arb. units)
25 um
50 um
75 um
100 um
(um)
(arb. units)
25 um
50 um
75 um
100 um
horizontal polarization
lens aperture 200/γ
impact parameter 800 um
horizontal polarization
lens aperture 200/γ
impact parameter 100 um

## Slide 24: Dependence of the image RMS size on σx (horizontal polarization)
σx (um)
σ (um)

## Slide 25: Conclusions
1-D PSF distributions for both polarization components with taking into account Re(E) and Im(E) were simulated for far field zone;
Width of the PSF distribution is narrower for PSF (horizontal component) and depends on the impact parameter;
2-D PSF simulation should be performed using simulation results for ;
We need to compare measured ChDR angular distribution with simulation results in order to verify validity of simulation for far field zone.