## Slide 1
HL-LHC control architecture proposal
WG #3
TE-CRG-CE
27.06.2019

## Slide 2
Last meeting “ACTION”
M. Pezzetti – 27.06.2019 – TE/CRG/CE
Electrical architecture details
Add pictures representative of the different types of existing
racks (QYC01-QYC02)

## Slide 3: LHC Cryogenics “Electrical” System Refrigerators Architecture (Px)
400V
230V
Cryo Field Boxes
Redundant
24 VDC
Cabling, AL / Linde resp.
Cryo plant “Frigo”
EN/EL resp
Other building
50 m Feedback signal
(Fiber Optics solution)
Cryo
Field Boxes
NE48 cables
NE02 cables
EM01
PLC
IO
HW cable for Order
(48 V)
3.3 kV cell
For technical details please refer to additional slide..

## Slide 4
LHC refrigerator “Control Architecture” 1/2
OLD
NEW
M. Pezzetti – 27.06.2019 – TE/CRG/CE

## Slide 5
LHC refrigerator “Control Architecture” 2/2
M. Pezzetti – 27.06.2019 – TE/CRG/CE

## Slide 6
QYC01 & QYC02 Front View
QYC01 & QYC02 Back View
M. Pezzetti – 27.06.2019 – TE/CRG/CE

## Slide 7
QYC01 “schematics” Front View
QYC01 “schematics” Back View
M. Pezzetti – 27.06.2019 – TE/CRG/CE

## Slide 8
M. Pezzetti – 27.06.2019 – TE/CRG/CE
LHC typical “PROFIBUS” Optical Fiber schematics
LHC Run2 period installation
after S34 “comm cut”
N. B. Not real position of “CYFRE QUI rack”
only for fiber connection comprehension

## Slide 9
M. Pezzetti – 27.06.2019 – TE/CRG/CE
“Preliminary” HL-LHC typical schematics per point

## Slide 10: P1/P5 Cryogenic architecture
QSCG
QSVB
QSDQ
QSRG
QSDN
QSAG
QURCG
QPLG
QXL
DFHM
DFHX
QSP
GHe storage tanks
Dryer
Liquid Nitrogen tank(s)
Surface cold box
Vertical transfer line
Quench tank
Surface piping
Warm compressor station
DSHX
DSHM
DSL
Q1
Q2b
Q3
CP
D1
D2
CC
CC
Q4
Q5
Q6
HRL
QRP
QPP
SHE
SHM
SD
US
SLN
SLN
Q2a
Surface
Shaft
Underground
LHC tunnel
18 kW equivalent at 4.5 K, including 3 kW at 1.8 K
Cold compressors box
QUIG
Interconnection box
UR
UL
DFBL
(existing)
Very limited impact identified for QXL headers

## Slide 11
M. Pezzetti – 27.06.2019 – TE/CRG/CE
HL-LHC point Geo Layout per racks positioning

## Slide 12
M. Pezzetti – 27.06.2019 – TE/CRG/CE
HL-LHC “JM” Junction Module schematics

## Slide 13
“Preliminary” HL-LHC architecture schematics (proposal for discussion)
M. Pezzetti – 27.06.2019 – TE/CRG/CE

## Slide 14
Back up
Slides

## Slide 15
M. Pezzetti – 27.06.2019 – TE/CRG/CE

## Slide 16
Optical Fiber
Patch panel
Ethernet Start point
Double electrical alimentation
M. Pezzetti – 27.06.2019 – TE/CRG/CE

## Slide 17
QYC01 & QYC02 Back View
M. Pezzetti – 27.06.2019 – TE/CRG/CE

## Slide 18
Q6
Q5
Q4
D2
LHC
HL
Present limit for QRL/QXL
Access / safety / sectorisation ?
Powering from existing RR & DFBL, corresponding cooling of DFBL and SAM’s to be with same origin
(QRL or QXL but not mixed)
Q4 and Q5 possibly with remote alignment, compatible with QRL ?
3D models to be implemented and then integrated (Q2-2018 for CRG)
NEW Jan’18
Q4-Q5 could remain at 4.5K (already the case for Q6),
and moved towards the arc by 10-11m
Return Module
Return Module
QRL
QXL
HL-LHC point Geo Layout per racks positioning

## Slide 19: Junction module QRL-QXL
4.0 m
3.5 m
4.5 m
It should fit within 12m