## Slide 1: Development of Readout Electronics for a Digital Tracking Calorimeter (pCT)
27th October 2019
Ola Slettevoll Grøttvik
Bergen pCT Collaboration
Here you can write unit / affiliation. Leave blank if not applicable. To change content go to: Menu -> Insert (Mac = Display) -> Header and Footer

## Slide 2: Digital Tracking Calorimeter / Bergen pCT
Multiple layers of high-granularity pixel detectors
  With absorption/conversion layers
41 planes/layers
  27 x 18 cm
  56 Megapixels
Post-phantom angle measurement:
  Very thin front-tracker layers
3.5 mm thick Al absorber between layers

## Slide 3: ALPIDE – ALICE Pixel Detector
Pixel detector developed for ALICE ITS
Monolithic Active Pixel Sensors (MAPS)
Chip size: 1.5 cm x 3 cm
Integration time: order of µs
1024 x 512 pixels
Pixel size: 27 µm x 29 µm
Digital readout: 1.2 Gb/s (8B10B)
Each pCT Layer: 108 ALPIDEs

## Slide 4: Design Challenges
Structure requirements
  Homogeneity
  Density of connections
High number of high-speed links
High occupancy
  Quasi-online dose planning tool

## Slide 5: ALPIDE bonding and layer design
ALPIDE mounted on thin cables
  LTU, Kharkiv, Ukraine
  Ultrasonic welding / Single-point Tape-Automated Bonding (SpTAB)
  Aluminum-polyimide
    (30 µm Al, 20 µm kapton)
Carrier modules with 3 x 9 chips
Layers with 4 carriers, i.e. 108 ALPIDEs

## Slide 6: Cross-section and bonding

## Slide 7: Design of FEE

## Slide 8: High-speed Data Links
What is high speed?
  Rise time < 1 ns
  Frequencies > 100 MHz
Interconnect becomes transmission line when propagation time comparable to rise time of a signal
Some common problems:
  Reflections
  Dispersion
  Attenuation of high-frequency components
  Cross-talk
  Electromagnetic interference
Notes: Varying dielectrical constant over frequency

## Slide 10: Eye Diagrams

## Slide 11: Simulation

## Slide 12: pCT Readout System Overview

## Slide 13: Physical and Electrical Design

## Slide 14: How to interface high-speed links on FPGA?

## Slide 15: Automatic Phase Tracking
Delay P&N ½ clock period
  Steps in order of ps (512 steps per clock period)
Continuously Monitor P&N variations
  Alexander Bang-Bang Phase Detector
Use delay to sample either P or N in the middle of eye
  Update freq: 300 MHz

## Slide 16: High-Speed Data Flow

## Slide 17: How to avoid data loss with minimal buffering?

## Slide 18: 40 Gb/s UDP + custom protocol
UDP
  Not reliable
  Simple and small footprint
Custom data transfer protocol (pDTP)
  Adds a layer of safety
pixels per second

## Slide 19: Summary
Ultrasonic welding for homegeneous structure
Regular I/O usage saves resources
Hardware Implementation of UDP with custom protocol saves resources
pixels per second

## Slide 21: Backup Slides

## Slide 22: Firmware Top-Level Design

## Slide 23: CT Units to Relative Stopping Power
Pettersen, Helge Egil Seime, ‘A Digital Tracking Calorimeter for Proton Computed Tomography’ (University of Bergen, 2018)

## Slide 24: Proton Therapy
Pettersen, Helge Egil Seime, ‘A Digital Tracking Calorimeter for Proton Computed Tomography’ (University of Bergen, 2018)

## Slide 25: Heidelberg HIT Facility Experiment
Ion Beam
exit point
ALPIDE sensor
coupled to flat cable

## Slide 26: ALPIDE Pixel Circuitry