## Slide 2: Some activities at CNAO

## Slide 3: Experimental room

## Slide 4: Experimental room – phase 2 – 3rd source
Additional ion species
Higher performances source
Ion | SUPERNANOGAN (14.5 GHz) | AISHa (18 GHz + TFH)
 | [mA] | [mA]
H+ | 2000 | 4000
H2+ | 1200 | 2000
H3+ | 800 | 1000
3He+ - 4He+ | 800 | 2000
12C4+ | 200 | 800
6Li2+ | // | 600
18O6+ | 250 | 1000
16O6+ | 400 | 1200
21Ne7+ -20Ne7+ | 120 | 600

## Slide 5: Treatment execution
Sync
Extraction magnets
Injection magnets
1 s
Extracted beam

## Slide 6: Dipole PS control in field
Sync
Extraction magnets
Injection magnets
1 s
Extracted beam
Saved time

## Slide 7: Other magnets short cycles
Ramp to lower Imax
Old cycle
New cycles

## Slide 9: Treatment execution with Multi Energy Extraction
Sync
1 s
Saved
time
Saved
time
(Courtesy K. Noda – CAS Medical)

## Slide 10: Implementation of RFKO in addition to betatron
Dp/p
Amplitude
(b)
Amplitude-momentum
selection
X’
XES
Dp/p
Amplitude
(c)
RF-KO
X’
XES
Standard method
at CNAO
Being implemented
for multi energy
extraction studies
direct comparison
of the two methods

## Slide 11: RFKO implementation
RFKO Kicker just arrived
Installed in the synchrotron
but not yet operational

## Slide 12: Intensity modulation for slow betatrons
Schoemers et Al, NIM A 795 (2015) 92-99
Nmax/Nmin > 100
Subdivide voxels in classes and increase intensity during slice

## Slide 14
< 25 ms reasonable

## Slide 15: Intensity step up test

## Slide 16: Low intensities
For some applications like detector tests, some nuclear physics experiments (see FOOT exp.) a low intensity (103 - 104 particles/s) is required
Such low intensities are out of the measurement range of the DDS
A dedicated detector, capable to count the incoming ions and to monitor the beam position in the x-y plane, was provided by the Foot group (INFN - Roma - SBAI)

## Slide 17
(Courtesy of Giacomo Traini)

## Slide 18
(Courtesy of Giacomo Traini)

## Slide 19
(Courtesy of Giacomo Traini)

## Slide 20: What I would like in the next machine
Just my opinion and wishlist

## Slide 21: What I would like in the next machine
Small
Cheap
Fast

## Slide 22: What I would like in the next machine
Small
Cheap
Fast
Large number of particles (Multi En Ext)

## Slide 23: Large number of accelerated particles
Number of particles required in the fields delivered at CNAO last year
Nc = 1.5 E10
Np = 2 E11

## Slide 24
C
p
Number of spots required in the fields delivered at CNAO last year

## Slide 25: What I would like in the next machine
Small
Cheap
Fast
Large number of particles (Multi En Ext)

## Slide 26: What I would like in the next machine
Small
Cheap
Fast
Large number of particles (Multi En Ext)
Field control

## Slide 27: What I would like in the next machine
Small
Cheap
Fast
Large number of particles (Multi En Ext)
Field control
Dose driven DDS (fast)
Large range DDS

## Slide 28: What I would like in the next machine
Small
Cheap
Fast
Large number of particles (Multi En Ext)
Field control
Dose driven DDS (fast)
Large range DDS
Get rid of the LINAC? (KEK DA style)

## Slide 29: What I would like in the next machine
Small
Cheap
Fast
Large number of particles (Multi En Ext)
Field control
Dose driven DDS (fast)
Large range DDS
Get rid of the LINAC? (KEK DA style)
C6+ source

## Slide 30: What I would like in the next machine
Get rid of the LINAC? (KEK DA style)
C6+ source
LINAC for A/Q=4 for HeCheck
Small
Cheap
Fast
Large number of particles (Multi En Ext)
Field control
Dose driven DDS (fast)
Large range DDS

## Slide 31: HeCheck
Proof of principle
He 10% in number wrt C
1% in dose
(Courtesy of D. Mazzucconi)

## Slide 32: HeCheck
Frammenti da carbonio da 280 MeV/u e 5x107 primari.
Protoni (5x105) da 226.5 MeV e carbonio (5x106) alla stessa energia per nucleone.
Protoni da 81 MeV e 5x105 primari.
(Courtesy of D. Mazzucconi)

## Slide 33: Resolution < 1 mm
(Courtesy of D. Mazzucconi)

## Slide 34: What I would like in the next machine
Get rid of the LINAC? (KEK DA style)
C6+ source
LINAC for A/Q=4 for HeCheck
11C source?
Small
Cheap
Fast
Large number of particles (Multi En Ext)
Field control
Dose driven DDS (fast)
Large range DDS

## Slide 35: What I would like in the next machine
Get rid of the LINAC? (KEK DA style)
C6+ source
LINAC for A/Q=4 for HeCheck
11C source?
Gantry (small, cheap…)
Small
Cheap
Fast
Large number of particles (Multi En Ext)
Field control
Dose driven DDS (fast)
Large range DDS

## Slide 36: What I would like in the next machine
Get rid of the LINAC? (KEK DA style)
C6+ source
LINAC for A/Q=4 for HeCheck
11C source?
Gantry (small, cheap…)
Experimental room
Small
Cheap
Fast
Large number of particles (Multi En Ext)
Field control
Dose driven DDS (fast)
Large range DDS

## Slide 37: What I would like in the next machine (cont)
Multi ion
Multi ion treatment (fast particle switch)
Larger field to avoid patching (increase Np and Nc?)
Hypofractionation (increase Np and Nc?)
3D Tracking
Real time imaging (at least pre treatment He radiograph)
Simple operation but with R&D and upgrade possibility
safety, efficiency, reliability, maintainability

## Slide 39: Intensity modulation for slow betatrons
Schoemers et Al, NIM A 795 (2015) 92-99
Subdivide voxels in classes and increase intensity during slice