## Slide 1
RBI accelerator facility;
Ion beam characterization of radiation detectors;
Detectors for HEP & AIDA-2020 project
Milko Jakšić, Stjepko Fazinić
Laboratory for Ion Beam Interactions,
Division of experimental physics
Ruđer Bošković Institute, Zagreb, Croatia
Unique infrastructure for competitive research !
4 H2020 projects:
PARADESEC
EuroFusion (dual beams)
AIDA-2020 (IBIC technique)
RADIATE

## Slide 2
Scientists (5): Milko Jakšić, Stjepko Fazinić, Iva Bogdanović Radović,
Tonči Tadić, Zdravko Siketić
Postdocs (4+1): Iva Božičević, Georgios Provatas, Matea Krmpotić, Mauricio Rodriguez
Professional associates (3): Donny Domagoj Cosic, Milan Vićentijević, Fares Boussahoul
Doctoral students (4+1): Marko Barac, Andreo Crnjac, Marko Brajković, Toni Dunatov
Technicians (4): Željko Periša, Damir Španja, Andro Kovačić, Zvonko Kolar
Staff, Laboratory for ion beam interactions:
Former staff:
Marin Vukšić, Natko Skukan, Ivana Zamboni, Ivan Sudić, Veljko Grilj, Željko Pastuović, Mladen Bogovac, Nikola Marković,...

## Slide 3
Users:
Chart: 
| 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
 | 755 | 700 | 830 | 920 | 720 | 680 | 1088 | 624 | 560 | 819 | 1588 | 1382 | 1547 | 1203 | 1796 | 1612 | 2382 | 1604 | 2013 | 2438 | 2380 | 2310 | 2142
 | 29 | 664 | 856 | 840 | 248 | 1016 | 869 | 1094 | 682 | 1258 | 1122 | 1199 | 1161 | 1008
 | 755 | 700 | 830 | 920 | 720 | 680 | 1088 | 624 | 560 | 790 | 924 | 526 | 707 | 955 | 780 | 743 | 1288 | 922 | 755 | 1316 | 1181 | 1149 | 1134
Beam time (on target):
IAEA/RBI
agreement
New Tandetron
accelerator
SPIRIT
FP7
RADIATE
H2020
AIDA
2020

## Slide 4
Foreign users of facility:

## Slide 5
1.0 MV HVE Tandetron accelerator
6.0 MV EN Tandem Van de Graaff accelerator
TOF-ERDA
PIXE/RBS
Ion microprobe
Nuclear reactions
In-air PIXE
Dual beam,DiFu
Channeling
Dual µ-beam
Capillary MeV TOF-SIMS
All LIBI end stations were constructed at RBI !

## Slide 6
Ion microprobe – ideal radiation source !
 IONS
- p, , Li, C, O,..
RANGE (E)
- from 1 to 500 m
 ION POSITION
- focusing and scanning
ION RATE
- Currents 1 - 109 p/s

## Slide 7
(for detector testing !)
Semiconductor detectors for HEP; current trends:
Decrease in pixel size
Introduction of monolytic Si detectors (low cost, power)
Extreme radiation hardness (up to 1017/cm2 of 1 MeV neutrons)
Reduction of SE effects
Ion microprobe – ideal radiation source !
MeV ion microbeam & IBIC:
Lateral 0.5 μm; longitudinal up to 500 μm
Same ions can induce damage and can be used as a probe
No changes in leakage current es small parts are irradiated
Can work in air
Can localize origin of SE effects

## Slide 8
Ion Beam Induced Charge technique techniques: IBIC
IBIC: 8/10 first in Google Scholar done at RBI

## Slide 9
WP12. Detector Characterisation Facilities WP12.1.: RBI Accelerator facility, PI Stjepko Fazinić

## Slide 10
  AIDA-2020-RBI-2015-1, Systematic study of radiation damage in scCVD diamond material irradiated with relativistic Au beams, Jerzy Pietraszko, GSI Darmstadt, HADES, Germany (26-30.10.2015.)
  AIDA-2020-RBI-2015-3, Investigation of channeling depth profiles of high energy carbon and silicon ions implanted in diamond and SiC crystals for detector characterization, Michael Kokkoris, National Technical University of Athens, Greece (23-27.11.2015.)
  AIDA-2020-RBI-2015-2, Diamond Membranes for Radioisotope Batteries BATDiαm, Michal Pomorski, CEA, LIST, France (15-19.2.2016.)
  AIDA-2020-RBI-2015-4, 3D diamond, Alexander Oh, University of Manchester, UK (11-15.4.2016.)
  AIDA-2020-RBI-2016-1, IBIC characterization of single crystal diamond based Shottky diodes for microdosimetry application, Claudio Verona, ‘Tor Vergata’ University, Italy (24-28.10.2016).
  AIDA-2020-RBI-2016-2, Microbeam tests of silicon telescope for clynical dosimetry, G. Magrin, Austron, Austria (18-20.1. and 9-10.2.2017.)
  AIDA-2020-RBI-2016-3, Investigation of channeling depth profiles of high energy carbon and silicon ions implanted in SiC /Si crystals for detector characterization, University of Athens, Greece (30.1.-3.2. 2017.)
  AIDA-2020-RBI-2017-1: Diamond Membrane Microdosimeter, M. Pomorski, CEA, France (2-5.5.2017.)
  AIDA-2020-RBI-2017-4: Characterization of a large area CVDdiamond TimeofFlight detector with interdigitated electrodes for energyloss measurements of lowenergy ions in laserinduced plasmas , W. Cayzac, CMLA, ENS Paris, Saclay, France (6-10.11.2017)
  AIDA-2020-RBI-2017-5: Polycrystalline 3D Diamond IBIC and TRIBIC characterisation, A. Oh, Univ Manchester, UK (27.11.-2.12.2017).
  AIDA-2020-RBI-2017-3: Study of channeling depth profiles of high energy silicon ions implanted in diamond and silicon crystals at various fluences for detector characterization, S. Petrovic, Vinča, Serbia (12-16.2.2018).
  AIDA-2020-RBI-2017-2: Analysis of micrometer and millimeter-long graphite pillars buried in sc-CVD diamond , G. Conte, Roma Tre University, Rome, Italy (12-14.9.2017. and 20-21.3.2018)
  AIDA-2020-RBI-2018-1: Single event upsets in CMS pixel ROC, Wolfram Erdmann, PSI Switzerland (2.7.-6.7.2018).
  AIDA-2020-RBI-2019-1: IBIC of monolytic pixel detectors, Rogelio Pinto, University of Sevilla, Spain (19.8.-23.8.2019).
18 AIDA experiments at RBI (2015-2019)
partial list:

## Slide 11
HADES High Acceptance DiElectron Spectrometer:
START i VETO detectors are CVD diamond
Running conditions 106 s-1 Au ions of GeV energies
  AIDA-2020-RBI-2015-1
  Systematic study of radiation damage in scCVD diamond material irradiated with relativistic Au beams, Jerzy Pietraszko, GSI Darmstadt, HADES, Germany
Number of traps:
Au / p4.5MeV / p24GeV = 1 / 30 / 2430

## Slide 12
  AIDA-2020-RBI-2015-4 and
  AIDA-2020-RBI-2017-5
  3D diamond, Alexander Oh,
  University of Manchester, UK
  CCE maps for different biases and geometries
  AIDA-2020-RBI-2017-2
  buried graphite pillars in CVD diamond, G. Conte, Roma Tre Univ and INFN, Italy
Average CCE measured far away
and close (B) to the pillar
IBIC map in case of front-side irradiation
at different bias voltages.
p+
-
-
-
+
+
+
+
-
-
+
300 mm
n+
p+
50 mm
-
-
-
+
+
+
+
-
-
+
3D
PLANAR
p+

## Slide 13
In air IBIC using protons and C ions
(Paradesec + AIDA)
Long range
6 MeV protons
(chip alignment)
Short range
heavy ions – 16 MeV C ions
(single event upsets)
The CMS (Compact Muon Solenoid) inner barrel pixel detector has integrated silicon pixels and readout chip (ROC), where occasional memory soft errors occur.
Total 48 million pixels in CMS
Minimum ionizing particles are supposed to be responsible for SEU in pixel readout chain (tested at PSI)
RBI tests:
New design – reduced SEU rate
  AIDA-2020-RBI-2018-1
  Single event effects in CMS pixel ROC
  W. Erdemann, PSI, Switzerland

## Slide 14
New accelerator building
CDSE (Center for detectors sensors and electronics) laboratories
Overview of future upgrades
The O-ZIP project

## Slide 15
New accelerator building
CDSE/DEP laboratories
Start-up lab
Electronic workshop
X-ray & radioisotope testing
Device preparation area
Electrical & optical characterisation
Overview of future upgrades
The O-ZIP project