## Slide 1
Digital Positron Emission Tomography
Prof. Dr. Nicola D’Ascenzo
Huazhong University of Science and Technology
August 23rd 2021
6th Summer School on Intelligent Signal Processing for frontier research and industry

## Slide 2: The concept of «functional imaging»
The figure A is from CT. It is showing only the morphological structure of the patient.
The figure B is showing the glucose metabolism of the cells in the patient.

## Slide 3: The concept of «functional imaging»
One of these two patients is dead. Can you tell who?

## Slide 4: The concept of «functional imaging»
One of these two patients is dead. Can you tell who?

## Slide 5
“Functional imaging” is a measurement of the functions
of biological systems
Glucose uptake
Water perfusion

## Slide 6: Positron Emission Tomography
The classical concept of PET

## Slide 7: The concept of modern digital PET
Sampling
Single crystal readout: hardware corresponding to single pixel
Digitalization of the pulse: analysis and reconstruction performed offline
Artificial intelligence algorithms for the combination with other digital information
Arificial Intelligence algorithms
Patient’s information
CT,MRI
Other images
Imaging
Risk calculation
Modern digital PET: a risk prediction diagnostic concept

## Slide 8
In this lab we will explore the concept of modern digital PET as a risk prediction imaging technology

## Slide 9: Part 1 – Analysis of the digital signal
Evaluation of the energy resolution and spatial resolution of a digital PET system
Analysis of raw experimental data collected with a digital PET system

## Slide 10: Part 2 – Imaging performances
Evaluation of the image quality of a digital PET system
Analysis of reconstructed experimentl data collected with a digital PET system

## Slide 11
After part 1 and 2, students can select an application

## Slide 12: Part 3.1 – Parkinson’s Disease
Analysis of a PD patient PET image and correlation with blood metabolomics

## Slide 13: Part 3.2 – Plant stress
Analysis of Plant PET imaging of a stressed plant

## Slide 14
The lab will start on Monday August 30th
Bring your laptop!
Online ZOOM