## Slide 1
Plans of the BASE collaboration after LS2 and far future
Stefan Ulmer
Christian Smorra
RIKEN,
Ulmer Fundamental Symmetries Laboratory
2019 / 12 / 08

## Slide 2: BASE since 2014
Most precise
proton g-factor measurment
A. Mooser et al., Nature 509, 596 (2014).
g/2 = 2.792 847 350 (9)
First direct high precision measurement of the proton magnetic moment.
Precise CPT test with baryons
S. Ulmer, et al., Nature 524, 196 (2015)
To be improved by another factor of 10 to 100
Rexp,c = 1.001 089 218 755 (64) (26)
Reservoir trap for antiprotons
C. Smorra, et al., Int. Journ. Mass Spec. 389, 10 (2015).
Idea: Enable operation with antiprotons independent of accelerator run times.
Most precise antiproton
g-factor measurment
H. Nagahama, et al., Nature Comms. 8,
14084 (2017)
g/2 = 2.792 846 5 (23)
Sixfold improvement compared to previous measurement
Partly comparable work by J. DiSciacca, G. Gabrielse et al.. (ATRAP/TRAP collaboration)
C. Smorra et al., Nature 550, 371 (2017)
g/2 = 2.792 847 344 1 (42)
350-fold improvement compared to previous measurement
G. Schneider et al., Science 358, 1081 (2017).
g/2 = 2.792 847 344 62 (82)
Limits on
antiproton / dark matter coupling
C. Smorra et al., Nature 575, 310 (2019)
Time-base analysis of antiproton g-factor resonance allows to constrain antiproton/axion coupling
5-o.o.m. improved constraints compared to astrophysics limits

## Slide 3: After LS2: Improved g-factor measurement
Recent developments at CERN
  Improved axial frequency measurements
  Advanced magnetic shielding system
  Improved magnet stability
  Implementation of local magnets
  Better cyclotron detector
  New trap stack -> cooling trap
(0.3 p.p.b.)
Mainz measurement: Limited by sideband method, magnet stability, magnet homogeneity and statistics
Measure faster in at reduced systematic effects
Quite confident that measurement at a level of 100 p.p.t to 200 p.p.t. are in reach (at higher axion band-witdh) -> Plan for runs after LS2 (2 years at least).
Deliberately saturation broadened / systematics at 1 p.p.b., imposed by magnetic inhomogeneity

## Slide 4: Additional Developments
Implementation of hyperpolarized 3He probes for magnet stabilization.
Advanced trap geometries
Implementation of laser cooling techniques for higher sampling rate cycles at reduced systematic effects.
New Method
Couple protons/antiprotons sympathetically to laser cooled 9Be+ ions and imprint Doppler temperatures to the antiproton
Publication: K. R. Brown, C. Ospelkaus, Y. Colombe, A. C. Wilson, D. Leibfried, D. J. Wineland, Nature 471, 196 (2011).
Was demonstrated for 9Be+ ions in Paul traps – implement same in Penning traps
Chart: Current Time Budget
| Cooling | Maintenance | Measurement | Shuttling
Time Budget Double Trap | 80 | 5 | 10 | 5
Chart: Laser Time Budget
| Cooling | Maintenance | Measurement | Shuttling
Time Budget Double Trap | 5 | 5 | 85 | 5
Effort at University of Mainz
Effort at University of Hannover and PTB
Recent dramatic progress: Detection of a single laser cooled 9Be+ ion, in a Penning trap system which is fully compatible with the BASE trap system at CERN
M. Niemann, J. M. Cornejo, C. Ospelkaus et al.
5 trap design implemented and simultaneous detection of 9Be+ ion and proton in common endcap trap was demonstrated.
C. Smorra, A. Mooser, M. Bohman, M. Wiesinger et al.
Whatever we do, we will eventually be limited by background magnetic field fluctuations
Green: reached precision Red: AD limit

## Slide 5: Improved Charge-to-Mass ratio measurement
Given the current data situation -> need to reach 1 p.p.t. precision level
Recent developments: Implementation of phase sensitive methods.
M. Borchert
Hannover/RIKEN
J. Devlin
CERN/RIKEN
-> Long term: Need to move out of the AD hall (after LS3)
2014 Q/M ratio
2018 Q/M ratio
AD noise limit
2019 phase methods
2014 BASE Sideband
2019 BASE Sideband
AD Background noise
2019 BASE Phase

## Slide 6: Recent Proposal -> applied for offline lab space
-> Transportable trap (BASE/STEP)
-> BASE II / offline lab
C. Smorra
RIKEN

## Slide 7
C. Smorra
RIKEN
S. Ulmer RIKEN
Thanks for your attention!
M. Borchert
Hannover/RIKEN
J. Harrington
MPIK/RIKEN
K. Blaum, Y. Matsuda,
C. Ospelkaus, W. Quint,
J. Walz, Y. Yamazaki
M. Bohman
RIKEN/MPIK
M. Wiesinger
RIKEN/MPIK
J. Devlin
RIKEN
E. Wursten
CERN / RIKEN
S. Erlewein
MPIK/RIKEN
M. Fleck
RIKEN/U. Tokyo
M. Sato
RIKEN/U. Tokyo
J. Warncke
Hannover/RIKEN