## Slide 1: R134a COMPRESSOR TEST -Argon-
31/10/2019

## Slide 3: SETUP

## Slide 4: READING PRESSURE *READING MFC IS NOT WORKING ON WINCCOA*

## Slide 5
Pressure compressed air: 8bar , but it decreased at 5,5/6 when the compressor was ON.
The test was done at 300 l/h.
There were about 20 bar in recuperation bottle when we started.

## Slide 6: SMALL LEAK
The different pressure in two bottles is different(about 2 bar): there is a small leak in a pipe, but it become important when the pressure increase.
Blue line: full bottle
Orange line: empty bottle
*Fix leaks and repeat test starting from recuperation bottle at 0 barg, and arrive at 10bar.

## Slide 7: Orange lines: about 400ppm Yellow lines: about 700ppm
We had switch OFF the test and only the day later we have done the leak test, but there was enough pressure in the system to check.

## Slide 8: we leave or remove the valve to connect the compressor?

## Slide 9: CONNECTORS (Swagelok):
SS-810-A-8ANF

## Slide 10: ADAPTER (Swagelok):
SS-10M0-6-8

## Slide 11: COMPRESSED AIR(Swagelok):
SS-12M0-1-8ST

## Slide 12: TO DO LIST
Repeat Argon test
R134a compressor test
Move the compressor near racks
Connect pneumatic valve
Get the CRRP number for R134a buffer
Install the big drum
Modify the drawing