## Slide 1: Construction/Installation approval process (LBNF and DUNE, post AUP)
M.Ne, February 2020

## Slide 2
A first attempt for a discussion
In white : documents handling
In light green : approval requests
In dark green : acceptance by line management
In yellow : reviews
In blue : project steps
https://edms.cern.ch/document/2302829

## Slide 3
Consortium/Project (post AUP)
physics requirements
technical specifications
QC plans
technical drawings
safety plans
EDMS storage
compliance office requirements
Structural/elect. analysis
compliance office check and approval
TC, IPD, LBNF-PD approval
design reviews
PRR reviews
DUNE TC or LBNF man. approv.
EDMS final storage
TC, cons. PL and TL approval
or LBNF PL approval
final DR
QC officer approval
compliance office approval
Production by the consortium/project
QC results
non conformities
compliance office check
ready for installation milestones
production history
EDMS production final storage
TC, IPD, LBNF-PD approval
Installation process start
installation reviews
Detector FD, ND
Cryostats
External cryogenics
Internal cryogenics
Top of cryostat infrastructure
Facility infrastructure
Services
Production technical specifications, incl. tools
Production drawings
Final QC plans
Safety plans
Installation plans
Transport and storage
safety approval (EH&S manag.)
configuration control approval

## Slide 4
Installation process start
installation procedures (risks, coactivity, training, procedures, tools)
installation tools
QC plans
installation drawings
safety plans (ODH, fire, access,…)
QC results
non conformities acceptance
cryogenics conformity
cryostat conformity
electrical conformity
safety systems conformity
safety organizational procedure
IPD and LBNF-PD approval
commissioning process start
insitu inspection by install managers
ES&H representatives safety approval
QC officer approval
compliance office approval
EDMS final storage
IPD approval
configuration control approval
cryostat, cryogenics, detectors installation, BSI managers
Installation start
EDMS safety files storage
project managers approval
safety approval (EH&S manag.)
compliance office approval
QC officer approval