## Slide 1
Dimitar MLADENOV & The entire CERN Team
FS Integration/Installation Planning
Kartause Ittingen, 02-04 January 2020
LBNF – Cold Box Interfaces & Requirements

## Slide 2: Current Design
External Dimensions
14.0m x 3.2m x 1.3m (H x L x W)
Thickness of the insulation
3x100mm
Internal Dimensions
13.4m x 2.6m x 0.7m (H x L x W)
Physical dimensions
11 T of Stainless Steel
+ insulation + membrane + services + …

## Slide 3: Current cavern layout

## Slide 4: Current cavern layout

## Slide 5: Current cavern layout

## Slide 6: Future Work
Agree on:
- the internal dimensions
- cryo interfaces
- clean room interfaces
Improve:
- the door, for easier opening and closing
- the door sealing, i.e. add additional seal
- the “membrane”