## Slide 1: 20/40/80MHz Cavity Controller
Ben Woolley
Nathan Pittet

## Slide 2: Repeat Florian’s results in the lab
In order to learn the behaviour of the system and perform sanity checks.
Using PyChebDHWA to parse the memmap and read/write to the registers via VME.
Perform simple open loop measurement with the VNA.
Then add a test cavity (40 MHz LC resonator), calibrate for the cavity transfer function, adjust e-delays to move phase of feedback to 180 degrees and switch on the FB for all 11 harmonics.

## Slide 3: Repeat Florian’s Results: Open Loop
Open loop test, simply switch on all 11 feedbacks at maximum gain and let the VNA drive the ADC and sample the DAC.

## Slide 4: Repeat Florian’s Results: Closed Loop (Small LC Cavity)
Need to give the board a sweeping clock and enable calibration mode.
  A calibration table of phase against frequency is written.
Then lock the clock to a single frequency, then switch on each FB harmonic one at a time and adjust the e-delay until the feedback notch has maximum gain. (Ideally this would be automated…)
Once all are adjusted then turn all FB harmonics on.

## Slide 5: Swept Clock

## Slide 6: Swept Clock

## Slide 7: Swept Clock

## Slide 8: Swept Clock

## Slide 9: Calibration Table Glitches/errors

## Slide 10: Overflow Glitches!?! When delays are wrong

## Slide 11: Overflow Glitches!?!

## Slide 12: Overflow Glitches!?!

## Slide 13: Overflow Glitches!?!

## Slide 14: HFCC Open Loop

## Slide 15: HFCC Closed Loop (Small LC cavity)

## Slide 16: Calibration Glitches MHFB + HFCC