## Slide 1: Overview on preparing the LHC tunnel for the cores works – slides for discussion
HL-LHC Cores Opening (Integration Meeting) – 25.11.2019
S. Maridor, M. Mendes, M. Modena, P. Fessia

## Slide 2: Disclaimer
The content of these slides was based on previous discussions held in the series of HL-LHC cores meetings.
These slides sum up all those discussions with concrete propositions about the preparation needed on the 8 places where the vertical cores coming from the HL-LHC will arrive in the LHC tunnel.
They are meant to be a basis for discussion and not yet a final solution.

## Slide 3: Point 1 (Left and Right, situation is symmetric)

## Slide 4
LHC Point 1 - LEFT

## Slide 5
LHC Point 1 - RIGHT

## Slide 6
OPTION
SAS LEVEL UA13/17 (RF CORES)
1.1 m2
0.2 m2
Considered free area for ventilation: 1.3m2, corresponding to a flow of 18,000 m3/h – i.e. no need to activate smoke extraction mode, assumes no hot works in adjacent sectors

## Slide 7: SAS LEVEL UL13/17
0.7 m2
0.2 m2
Cables protection & possible way of ventilation
Still need to find the space for ~0.3m2 of space for ventilation: flexible duct? False floor? Others?

## Slide 8: Point 5 (situation is asymmetric)

## Slide 9: LHC Point 5 - LEFT

## Slide 10: LHC Point 5 - RIGHT

## Slide 11
SAS LEVEL UA53 (RF CORES)
1 m2
0.2 m2
Considered free area for ventilation: 1.2m2, corresponding to a flow of 18,000 m3/h – i.e. no need to activate smoke extraction mode, assumes no hot works in adjacent sectors
(18kA displaced)

## Slide 12
SAS LEVEL UA57 (RF CORES)
1 m2
0.2 m2
Considered free area for ventilation: 1.2m2, corresponding to a flow of 18,000 m3/h – i.e. no need to activate smoke extraction mode, assumes no hot works in adjacent sectors
(18kA displaced)

## Slide 13
SAS LEVEL UL53
0.7 m2
0.2 m2
Cables protection & possible way of ventilation
- “cul-de-sac”, LHC ventilation here is not an issue!
- But fresh air must be supplied to the chantier…

## Slide 14
SAS LEVEL UL57
No issues with LHC ventilation;
Minimizing the SAS allows minimizing the infrastructure to dismantle
11 m

## Slide 15
FOR DISCUSSION
Spares slides

## Slide 16: Smarteam 3d models
R571+sas : st1217587_01
Uj57+sas : st1217523_01
R532 +sas : st0938781_01
R541 +sas : st0938795_01
R171+sas : st0927074_01
Ri132+sas : st09405588_01

## Slide 18
FOR DISCUSSION
REMOVE ONLY 2 SUPPORTS?
PROPOSE TO CUT A MINIMUM OF RAIL AND PIPES

## Slide 19
FOR DISCUSSION
Possible air passage
UL_XX

## Slide 20
FOR DISCUSSION

## Slide 21
FOR DISCUSSION

## Slide 22
FOR DISCUSSION
REMOVE ONLY 2 SUPPORTS?
PROPOSE TO CUT A MINIMUM OF RAIL AND PIPES
Part of metallic structure MUST be dismounted and
Modified . (Who is in charge?)

## Slide 23
FOR DISCUSSION

## Slide 25
UAs
More air passage

## Slide 26
r571

## Slide 27
Limit as much as possible parts to CUT during cores drilling

## Slide 28
Limit as much as possible parts to CUT during cores drilling

## Slide 29
Limit as much as possible parts to CUT during cores drilling

## Slide 30: LHC Point 5 – LEFT – UL 53 Cores
R 541 – Transport Side
R 541
L01A ES
L01A ES (Control Safety Cables) - To be displaced ( ~30-40cm)

## Slide 31: LHC Point 5 – RIGHT – UPR57

## Slide 32: LHC Point 5 – LEFT – UL 53 Cores
R 541

## Slide 33: Thank you for your attention