## Slide 1
HNFS meeting
November 25th 2019
Analysis of Oct. tests at ALBA
M. Siano, B. Paroli, and M. A. C. Potenza
Università degli Studi di Milano, Dipartimento di Fisica

## Slide 2
Outline
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. tests
Simulations
Some considerations on signals

## Slide 3
Introduction
to the HNFS method
‘HNFS meeting’ - Siano Mirko - 25/11/2019

## Slide 4
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals
The HNFS setup
‘HNFS meeting’ - Siano Mirko - 25/11/2019
IVU at NCD-SWEET | 
 | 92
 | 21.6 mm
 | 6.057 mm
 | 20 keV
 | 0.062
IVU at NCD-SWEET | 
 | 92
 | 21.6 mm
 | 6.057 mm
 | 20 keV
Sample | 
colloids | silica spheres ()
 | 500 nm
medium | water
capillary d | 1 mm
YAG thick. | 0.1 mm
Sample | 
colloids | 
 | 500 nm
medium | water
capillary d | 1 mm
YAG thick. | 0.1 mm
20x
0.4 NA
Basler scA1300-32gm
1296x966
3.75x3.75 µm2
ET = 50 ms

## Slide 5
The HNFS technique
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Data at z = 500 mm,
900x900 pixels
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 6
The spatial scaling
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 7
The spatial scaling
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 8
Issues during
Oct. tests
‘HNFS meeting’ - Siano Mirko - 25/11/2019

## Slide 9
Issues
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Data at z = 18 mm,
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 10
Water signal: strategy
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Minimize fluctuations in water signal by averaging different acquisitions (horizontal profiles)
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 11
Calibration: strategy
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Compute H(q) from data at larger distances (20 mm 40 mm)
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 12
Calibration: strategy
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Compute H(q) from data at larger distances (20 mm 40 mm)
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 13
Calibration: strategy
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Compute H(q) from data at larger distances (20 mm 40 mm)
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 14
Calibration: strategy
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Compute H(q) from data at larger distances (20 mm 40 mm)
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 15
Results
of Oct. tests
‘HNFS meeting’ - Siano Mirko - 25/11/2019

## Slide 16
Signal overview
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Data for
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 17
Coupling
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 18
Coupling
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 19
Coupling
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 20
Coupling
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 21
Results
‘HNFS meeting’ - Siano Mirko - 25/11/2019
 | (32.8 ± 3.0) µm | (50.9 ± 9.4) µm | (69.3 ±15.8) µm
 | (30.0 ± 1.9) µm | (41.5 ± 3.5) µm | (30.8 ±2.8) µm
 | (28.2 ± 1.9) µm | (37.0 ± 3.5) µm | (33.3 ± 3.0) µm
 | (40.8 ± 4.1) µm | (50.3 ± 6.0) µm | (69.5 ± 15.1) µm
 | (32.8 ± 3.0) µm | (50.9 ± 9.4) µm | (69.3 ±15.8) µm
 | (30.0 ± 1.9) µm | (41.5 ± 3.5) µm | (30.8 ±2.8) µm
 | (28.2 ± 1.9) µm | (37.0 ± 3.5) µm | (33.3 ± 3.0) µm
 | (40.8 ± 4.1) µm | (50.3 ± 6.0) µm | (69.5 ± 15.1) µm
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 22
Simulations
‘HNFS meeting’ - Siano Mirko - 25/11/2019

## Slide 23
 | -178.683137165
 | 101031.437305031
 | -268554.955894147
 | 333043.58574148
 | -223412.253880588
 | 78201.083309632
 | -11222.656555176
 | -178.683137165
 | 101031.437305031
 | -268554.955894147
 | 333043.58574148
 | -223412.253880588
 | 78201.083309632
 | -11222.656555176
Relation gap-K
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals
Old model
New model

## Slide 24
Dependence on
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 25
Results of simulations
‘HNFS meeting’ - Siano Mirko - 25/11/2019
horizontal
vertical
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 26
Some considerations
on signals
‘HNFS meeting’ - Siano Mirko - 25/11/2019

## Slide 27
Scattered signal
‘HNFS meeting’ - Siano Mirko - 25/11/2019
contrast of heterodyne speckles
 |  | contrast
12.4 keV |  | 
20 keV |  | 
 |  | contrast
12.4 keV |  | 
20 keV |  | 
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 28
CCD performance
‘HNFS meeting’ - Siano Mirko - 25/11/2019
Basler, 50 ms
20 keV, z = 500 mm
Basler, 50 ms
12.4 keV, z = 500 mm
FReLoN, 5 ms
12.4 keV, z = 500 mm
 | Basler | FReLoN | PCO
Full well capacity | 7000 e- | 320000 e- | 40000 e-
Dynamic range | 57.1 dB | >80 dB | 72.0 dB
SNR | 38.2 dB (1.2%) | 54.8 dB (0.18%) | 45.8 dB (0.5%)
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals

## Slide 29
CCD performance
‘HNFS meeting’ - Siano Mirko - 25/11/2019
FReLoN,
12.4 keV,
ET = 5 ms,
data at 5 mm
FReLoN,
12.4 keV,
ET = 5 ms,
data at 500 mm
FReLoN,
12.4 keV,
ET = 5 ms,
coherence measurements
Introduction to the HNFS method
Issues during Oct. tests
Results of Oct. test
Simulations
Some considerations on signals