## Slide 1: Properties of new type MRPC with 100%
2020 KoALICE WorkShop
GWNU
Kyounghyoun Kwon

## Slide 2: Contents
Chamber Building
(double stack total 8 gaps with PCB)
How to measure without NINO
(perform with Oscilloscope)
Result
(Gas shielding, Efficiency)

## Slide 3: Material
Glass(400um)
PCB(1.6mm, 0.8mm)
Mylar(175um) for insulation
Fishing line(250um) with screw
Kepton tape for insulation
Gas Tube to make flush gas evenly into the chamber

## Slide 4: Glass(Resistive Plate)
400um Glass and Glass knife
Resistance of Outer Glass
-> for High Voltage

## Slide 5: Strip type Readout PCB
Three kinds of PCB
ANODE(contain NINO connector part)
CATHODE(different strip line)
EMPTY(same as CATHODE but not-printed only drill)
Open masked area↑

## Slide 6: Strip line
Strip line of Cathode is shifted
ANODE
CATHODE
Notes: 1번이 ANODE 2번이 CATHODE strip line

## Slide 7: Building
Put mylar on the PCB and insert the screw
Put the Outer Glass and to Connect painted surface with the HV line
Hang the fishing line on the screw
Tape the Starting and End point of the fishing line keep tension
Attach the Mylar to both ends of the glass with a yellow tape

## Slide 8
Completed Gap

## Slide 9
Gas tube connected with Gas connector

## Slide 10: 3D model
Orange color = gas tube inside of the chamber
-> flush the gas into the chamber
The length of the gas tube was varied
-> gas flush into the chamber evenly

## Slide 11: Trigger Setting
Trigger signal = (PM1 & PM2) & (Si-PM + 40ns) -> Oscilloscope
Noise shielding with Al foil
a figure of meausrement perform

## Slide 12: Differential signal(sample)
F1 = C3 – C4 : (+ signal) – (- signal)
50Ω Coupling in 10ns scale
1MΩ Coupling in 100ns scale

## Slide 13: Parameter Setting
P1 = Area of F1 ->
P3 = time value of Maximum voltage of C3 ,P4 = time value of Maximum voltage of F1 ->
P5 = peak to peak of F1 ->
Save area of F1 in Histogram

## Slide 16: Result
Gas shielding
Dark Current compare
Efficiency
With Dark Current

## Slide 17: Gas shielding
Blue and Green plots are performed as same condition

## Slide 18
No Plateau?
-> No

## Slide 19: Future Plans
Trigger Setting
With more than two different MRPC
Performance test with NINO-ASIC using Standard Gas-mixture( 98%, )
Time and position resolution
Efficiency
Ecological Gas-mixture test

## Slide 20
Ideal case
NINO threshold :