ICALEPCS 2019
Impressions from the SCADA perspective
Piotr Golonka
BASICS, 28 February 2020
Papers may be searched for/accessed at https://spms.fnal.gov/pls/icalepcs2019/search.html

---
BE-ICS-FD presentation
- WEDPL04 Consolidation and Redesign of CERN Industrial Controls Frameworks
  - Paper accepted with minor technical/editorial corrections
  - Lots of content for a 15 minute time slot
  - A couple of questions received from audience, and a few informal chats after
    - Clarify what remains
      commercial, and what is
      going to be opensourced

---
Posters with possibly interesting content: integrations & tools
- WEPHA159 Integrating Conventional Facilities via BACnet (ORNL)
  - Integration of BACnet into EPICS for Spallation Neutron Source (SNS)
- MOSH3001 An EPICS Channel Access Implementation on Siemens PLC (ESS)
  - S7EPICS: PLC code allowing S7/1500 to handle EPICS Proces Variables: implementing EPICS CA (Channel Access) protocol inside PLC through a TIA Portal library
- WEPHA-134 Monitoring System for IT infrastructure and EPICS Control System at SuperKEKB (KEK)
  - EPICS PV and LOGFILE monitoring with Zabbix (same technology as CERN SSM), Grafana, Elastic Stack; CSS alarms integrated into Grafana
- WEPHA-148 CUMBIA-Telegram-Bot: Use CUUMBIA nad Telegram to Read, Monitor and Receive Alerts from the Control System
  - Messaging app to „chat” with EPICS and TANGO; for desktop and mobile
  - Read values, monitor/get notifications and alerts, formulas, bookmarks,...

---
Posters with possibly interesting content: integrations & tools
- WEPHA058 State of the TANGO Controls in development in 2019
  - „Cool applications”: use of the opensource inkscape SVG editor to build synoptics
  - Use of containers, CI
- WESH3003 WALTZ Platform for Tango Controls Web Applications (HZG)
  - Platform for web application, based on JavaEE, layered architecture
- WEPHA101 VR as a Service: Use of Virtual Reality in a Nuclear Accelerator Facility (INFN-LNL)
  - Based on 3D CAD models; envisaged for training, maintenance planning, coherence checking; proof-of-concept level
- MOPHA135 PyDM Extension Points (SLAC)
  - PyDM: Python/Qt GUI framework for control systems;
  - No-code, drag-and-drop (WYSIWYG) for simple cases
  - Extendable set of widgets, Qt stylesheets, easy connection to data

---
Posters with possibly interesting content: archivers
- WEPHA163 NXCALS Architecture and Challenges of the Next CERN Accelerator Logging Service (CERN BE-CO)
  - Architecture, data growth and integration
- WEPHA-164 CAFlux: A New EOPICS Channel Archiver System
  (Los Alamos NL)
  - On top of InfluxDB; focus at asynchronous handling for EPICS
  - Wev based configuration and viewers
- WEPHA095 Managing Archiver Rules for Individual EPICS Pvs in FRIB’s Diagnostic System (FRIB)
  - Concept of centrally-managed „info tags” on the per-PV (rather than per-device) basis and maintains „archiver rules”
  - Think of automatic configuration of archive smoothing based on (naming) rules

---
Posters with possibly interesting content: archivers
- WEPHA020 Pushing the Limits of TANGO Archiving System Using Postgresql and Time Series Database (S.Rubbio-Manrique, ALBA)
  - Comparison of archiving technologies for HDB++, focus on TimeSCALE DB
  - Could be very interesting for NextGen Archiver backend studies!

---
Posters with possibly interesting content: archivers
- WEPHA014 EPICS Archiver Appliance – Installation and Use at BESSY/ZHB
  - Alternative to „classical” Channel Archiver in EPICS
  - Similar experience to CALS: growth
    of data (to 6TB/year), 30TB accumulated
  - ArchiveViewer app progressively
    replaced with data retrieval frontends
    and Python APIs for analysis and
    optimization; jupyter notebooks

---
Posters with possibly interesting content: friends
- WEPHA170 First Steps in Automated Software Development Approach for LHC Phase II Upgrades CO2 Detector Cooling Systems
  (CERN EP-DT)
  - Describes LUCASZ CO2 „movable” detector cooling
  - The one for which we need a solution such as VirtualBox or licensing...
- WEPHA041 The CMS ECAL Control and Safety Systems Upgrades during the CERN LHC Long Shutdown 2
  - CMS ECAL specific; PLC-bases safety system with redundant PLC/Profibus
- WEPHA017 Integration of Wireless Mobile Equipment in Supervisory Application (CERN VAC)
  - Connecting SCADA servers to PLCs in pumping groups over dedicated 3G

---
Posters with possibly interesting contents:
project management
- WEMPL008 The MAX IV Way of Agile Project Management for the Control System
  - Experience of 7 years with Agile PM for control system
- WEPHA093 Code Generation Based on IFML for the User Interfaces of the Square Killometre Array (SKA)
  - conceptual modeling of user interaction, auto verification/quick prototyping
  - Qt/Taurus (Tango) code generator based on
    Interaction Flow Modelling Language

---
Posters with possibly interesting contents:
project deployment
- MOMPL006 Automatic Deployment in a Control System Environment (FRIB)
  - Use Puppet to deploy EPICS IOCs, Ansible to deploy firmware
- MOMPL009 Control System Virtualization at Karlsruhe Research Accelerator (KIT)
  - Virtualization using HyperV on a cluster of servers for
    - WinCC OA 3.15 SCADA: 15 servers in a week migreated from WinCC OA 3.11; USB for licensing
    - Tango8 for experiment control, EPICS IOCs; issues witgh ARP and link aggregations
  - Dockerhosts and portainer as management system
    - WinCC OA docker images (~1GB of RAM required) prepared for first beamlines
- WEPHA156/WESH2003 Toward Continuous Delivery of a Nontrivial Distributed Software System (MeerKAT)
  - 64-dish radiotelescope Control and Monitoring system
  - Continuous integration, automated acceptance testing
  - The „Last Mile” problem between the merge and release to production

---
Spotlights from presentations
- WECPL01 SPring-8: upgrade of control framework
  - Keep concept of MADOCA framework yet with C/C++/Python, REST API
  - MQTT-based messaging, multi-threading
  - Multi-database (Relational: MariaDB) and key-value store (Cassandra)
    for parameters, online values and archive, with high-availability

---
Spotlights from presentations
- WECPL02: project management:
  - ”Roadmap to 100 Hz DAQ at SwissFEL: Experiences and Lessons Learned”

---
Spotlights from presentations
- Karabo: WECPR03 , MOPHA040
  - „Control and Data Processing Framework from European XFEL”
    https://in.xfel.eu/readthedocs/docs/karabo/en/latest/index.html
  - „pluggable distributed applications”
  - Modern C++ or Python, signal/slots set up at runtime
  - PyQt UI, integrated „cockpit”
  - Event driven architecture with central broker or point-to-point communication
  - Alarm service, data logging with HDF5; plans for InfluxDB (need enterprise edition)
  - Numerous concepts or tools seem familiar...
  - But also for DAQ integration with a Karabo-to-ZeroMQ bridge
  - EuXFEL: 14.000 devices, 1.6M „control points”, broker rate ~1kHz per installation
  - Presented for the first time in ICALEPCS 2013 in San Francisco
  - If we had to look at an opensource SCADA, certainly an interesting candidate