## Slide 1: Conceptual Design of the DFH DFH Conceptual Design Review
A. Ballarino
A. Ballarino, R. Betemps, S. Claudet, P. Cruikshank, J. Fleiter, J. Hurte, Y. Leclercq
15 November 2019 - CERN

## Slide 2: Table of contents
The DFH in the HL-LHC Cold Powering System
DFH Functionality
The DDFH in Demo 1
DFH: Design evolution
DFH: Concept
SC Link connection to DFH: surface vs underground assembly
Conclusions

## Slide 3: Table of contents
The DFH in the HL-LHC Cold Powering System
DFH Functionality
The DDFH in Demo 1
DFH: Design evolution
DFH: Concept
SC Link connection to DFH: surface vs underground assembly
Conclusions

## Slide 4: Cold Powering System
MgB2 to HTS
-Plate
1
DF
T117 K
T250 K
MgB2
HTS
MgB2 to Nb-Ti
Nb-Ti to Nb-Ti
Nb-Ti – 1.9 K
2
SC Link (DSL)
3
DFH
4
Current Leads (DFLH)
Interface to WP3
Nb-Ti to Nb-Ti
WP3 - Magnets (-plate with Nb-Ti)
WP9
Cryogenics
WP17 – WP6b
RT Cables
Power Converters
DFHX  Triplets
DFHM  Matching Sections
LHe
4.2 K
He gas

## Slide 5: Cold Powering System
DFM
DFHM
DFHX
DFX
VALVES BOX
SC Link for Triplets
≈ 100 m
D1
SC Link for
Matching Sections
≈ 130 m
Power converters
Power converters
Cryostat and leads
Cryostat and leads
 8 m
Shaft  = 1m

## Slide 6: Table of contents
The DFH in the HL-LHC Cold Powering System
DFH Functionality
The DDFH in Demo 1
DFH: Design evolution
DFH: Concept
SC Link connection to DFH: surface vs underground assembly
Conclusions

## Slide 7: DFH Functionality
Receive and shuffle the MgB2 cables from the SC Link and connect to the HTS cables of the current leads;
Provide appropriate space for making/hosting the electrical splices between the MgB2 cables and the HTS cables of the current leads. The preference is to have the splices accessible for - highly unlikely - need for repair;
Flow the He gas received at about 17 K from the SC Link and provide appropriate cooling of the electrical connections;
Connect the current leads, distributed near the DFH, to the MgB2 cables in the SC Link with the most appropriate and compact configuration;
Extract instrumentation signals (Vtaps, Tsensors).

## Slide 8: DFH Installation
Present baseline (not based on a detailed design):
  The SC Link is lowered in the LHC underground areas, routed in its final configuration and then connected to the DFH cryostat;
  Routing of MgB2 and HTS cables and MgB2 to HTS splices are done in the tunnel (and not tested till final operation in the machine);
  Each SC Link is tested at the surface in a dedicated test station; each current lead is tested at the surface in dedicated test station.

## Slide 9: MgB2 cables in the SC Link
ext  90 mm
19 Cables
ext  60 mm
14 Cables + 1
18 kA
18 kA
18 kA
18 kA
18 kA
18 kA
18 kA
6×3 kA
6×3 kA
6×0.6 kA
3×7 kA
6×0.6 kA
 120 kA
 60 kA

## Slide 10: Helium mass flow rate in the DFH
https://arxiv.org/abs/1501.07166
 5.4 g/s for Triplets
 2.5 g/s for Matching Sections

## Slide 11: Table of contents
The DFH in the HL-LHC Cold Powering System
DFH Functionality
The DDFH in Demo 1
DFH: Design evolution
DFH: Concept
SC Link connection to DFH: surface vs underground assembly
Conclusions

## Slide 12: Demo 1

## Slide 13: DDFH in Demo 1
Full size SC Link cryostat – 2  18 kA
System test in SM-18 (completed in March 2019)

## Slide 14
Construction of DDFX demonstrator
  Double chamber with thermal shield (thermally floating)
  Acceptable heat load
  Assembly process
Realization of two 18 kA splices
Splices fixed to the cold mass
Optimization of splices’ cooling - GHe
Routing of HTS and MgB2 cables
Routing out of instrumentation (from cold mass to RT)
Vertical leads
DDFH in Demo 1

## Slide 15
DDFH in Demo 1
  MgB2/HTS splices:1.9 nΩ
  at 18 kA (measured)
T  17 K
GHe
Expected 18 kA splice resistance of 1.7 nΩ (prediction based based on FEM simulation validated via measurements in LHe at 4.5 K)

## Slide 16: Table of contents
The DFH in the HL-LHC Cold Powering System
DFH Functionality
The DDFH in Demo 1
DFH: Design evolution
DFH: Concept
SC Link connection to DFH: surface vs underground assembly
Conclusions

## Slide 17: DFH Working Reference
DDFX Design Evolution
A. Ballarino
Two modules each 4 m long ø - 1,2 m (length without current leads)
Total length with current leads  15 m (plus SC Link in between)
SC Link in between modules:  14.7 m
 30 m in the tunnel

## Slide 18: Table of contents
The DFH in the HL-LHC Cold Powering System
DFH Functionality
The DDFH in Demo 1
DFH: Design evolution
DFH: Concept
SC Link connection to DFH: surface vs underground assembly
Conclusions

## Slide 19: DFHX Concept – The cryostat
One single module

## Slide 20: DFHX Concept – Cryostat with Current Leads
0.75 deg
1.5

## Slide 21: DFHX Concept – Cryostat with Current Leads

## Slide 22: DFH Concept
Module 1:
It splays and shuffles all MgB2 cables coming out from the SC Link.
The 3 kA MgB2 cables are routed out from the shuffling module (into Module 2) via a single pipe containing the six 3 kA coaxial MgB2 cables.
It contain the 7 kA and 18 kA joints between MgB2 and HTS. The length of each of the five pipes allocated for the joints (four pipes, one for each of the 18 kA joints, and one pipe for the three 7 kA joints) is  300 mm.
**
*

## Slide 23: DFH Concept
Module 2:
This module routes out the HTS cables of the 7 kA and 18 kA current leads, and contains the box that splays and shuffles the 3 kA MgB2 cables to Module 3.

## Slide 24: DFH Concept
Module 3:
This module contains the 3 kA joints between MgB2 and HTS, and it routes out the 3 kA HTS cables. The length allocated for the two joints to the coaxial cables is 450 mm. There are three pipes for the MgB2 to HTS joints, and each pipe contains four joints (two coaxial MgB2 cables connected to four HTS cables).

## Slide 25: DFH Concept
Each DFH module is assembled separately. The modules are then put together for the routing and the splicing of the superconducting cables.
The length of the HTS part of the leads is maintained to less than 2.5 m.

## Slide 26: DFH Concept – GHe flow
SC Link
THTS
Tsplices

## Slide 27: Mock-up
Building 288

## Slide 28: From Concept to Design
** L = 802
 600
* L = 500
 284
**
*
*** Taking into account size of Cutting/Welding machines
500 - 910*** mm
3.90 m
Green: 3D design, Black: concept

## Slide 29: From Concept to Design
* Iteration with transport
1.4* m

## Slide 30: DFH Design
See next presentation

## Slide 31: Table of contents
The DFH in the HL-LHC Cold Powering System
DFH Functionality
The DDFH in Demo 1
DFH: Design evolution
DFH: Concept
SC Link connection to DFH: surface vs underground assembly
Conclusions

## Slide 32: DFH Concept
Compact concept: possibility of lowering the full system in the tunnel after test at the surface. In addition to system cost reduction because (one module and shorter length of MgB2 and SC Link), the main advantages are:
Performance of all assembly operations at the surface;
Full qualification of the system at the surface (including splices);
No manipulation of cables (handling/cutting/splicing) after qualification at the surface;
Test station for SC Links largely simplified (use of series DFH and current leads).

## Slide 33: From Concept to Design

## Slide 34: Conclusions
A 3D DFH concept has been developed
The compact concept brings in several advantages and guarantee full WP6a functionality
To date, the concept has been validated with a mock-up and engineered in a 3D design
Experience from Demo 1 has been essential for validating several aspects of the proposed concept
Possibility of lowering the system in the tunnel after cryogenic tests brings in a huge advantage for the system

## Slide 35: Thanks for your attention

## Slide 36: Additional slides

## Slide 37: HV Levels - Triplets
RT = Room Temperature (20 ± 5 °C)
NOC = Nominal Operating Conditions. For all WP6s components, it corresponds to
GHe at RT and 1.30 ± 0.05 bar

## Slide 38: HV Levels – Matching Sections
D2: treated as for a 18 kA circuit – conservative
18 kA
D2
D2 correctors: 0.6 kA rating, Worst case to ground = 590 V, Components test: 5.7 kV (RT) -
Components test 2.860 kV (NOC)