## Slide 1: HL-LHC cryo-instrumentation Status
M. Sisti (TE-CRG)
HL-LHC WP9 Cryogenics
CERN, 17 Dec 2019

## Slide 2
PFD “instrumented”
IT & D2 instrumentation
Thermometer preliminary estimation
Outline

## Slide 3: PFD IP5

## Slide 4
IT reference PFD (left IP5) (EDMS 1963720)

## Slide 5: PFD Inner triplet + DFX instrumented L5
IP5
Sub-atmospheric circuit:
PT on pumping lines (QXL side)
TT on phase separators
Pressurized LHe bath:
PT on the IFSs
TT into cold masses
Warm-up heaters into cold masses
Beam screen circuit:
TT and heater at the inlet on Q2B Service Module
4 x TT at the outlet
IFS
IFS

## Slide 6
D2 reference PFD (right IP5) (EDMS 2069331)

## Slide 7
IT String P&ID (CRNLSQLJ0068)

## Slide 8
IT cold mass thermometers
D1
Q3
Q2b
Q2a
Q1
CP
2TE826B
2TE826A
1TE826B
1TE826A
IP
2TE823B
2TE823A
1TE823B
1TE823A
1TE825B
1TE825A
2TE824B
2TE824A
2TE821B
2TE821A
1TE821B
1TE821A
TOP
BOTTOM
Quadrupole typical
cross-section view
Quadrupole typical longitudinal view
 | y [m] IP side | x [m] arc side
Q1 | 2.4 | 2.4
Q2a | / | 2.4
Q2b | 2.4 | /
Q3 | 2.4 | 2.4
CP | / | /
D1 | 1.8 | 1.8
from the end-plate
from the end-plate
LINK to EN-STI ppt for dose estimation

## Slide 9
IT warm-up heaters
Heaters will be installed always on the end covers, always on the same position.
Pictures above are applicable to all the eight installation locations.
D1
Q3
Q2b
Q2a
Q1
CP
EH835
EH834
EH833
EH832
IP
EH827
EH826
EH825
EH824
EH831
EH830
EH829
EH828
EH823
EH822
EH821
EH820
Cross-section view
Heaters
End cover
3D view – Q1 IP side
Heaters
LINK to EN-STI ppt for dose estimation

## Slide 10
IT phase separator TTs
Phase separator
Thermometers
Phase separator and thermometer configuration is the same for all the three installation locations
LINK to EN-STI ppt for dose estimation

## Slide 11
TT quantity estimation

## Slide 12
TT uncertainty requirements