## Slide 1: HiLumi Cryogenics, WHAT-WHEN-WHO for cryogenic instrumentation needs and interfaces
Serge Claudet,
On behalf of the Cryogenic project team
December 17th 2019

## Slide 2: HL-LHC cryogenic upgrade
+
P1-P5: 2 new cryoplants (~15 kW @ 4.5 K incl. ~3 kW @ 1.8 K ) and 2 x 750m cryo-distribution for high-luminosity insertions
P4: upgrade (+2 kW @ 4.5 K) of an existing LHC 18 kW @ 4.5K cryoplant
SPS-BA6: SRF test facility with beam primarily for Crab-Cavities
SPS-BA6
Other test facilities related activities not reported here
P1/P5: Provide adequate cooling for this
16Dec'19

## Slide 3: P1/P5 Cryogenic architecture
QSCG
QSVB
QSDQ
QSRG
QSDN
QSAG
QURCG
QPLG
QXL
DFHM
DFHX
QSP
GHe storage tanks
Dryer
Liquid Nitrogen tank(s)
Surface cold box
Vertical transfer line
Quench tank
Surface piping
Warm compressor station
DSHX
DSHM
DSL
Q1
Q2b
Q3
CP
D1
D2
CC
CC
Q4
Q5
Q6
HRL
QRP
QPP
SHE
SHM
SD
US
SLN
SLN
Q2a
Surface
Shaft
Underground
15 kW equivalent at 4.5 K, including 3 kW at 1.8 K
Cold compressors box
QUIG
Interconnection box
UR
UL
DFBL
(existing)
CC
CC
LHC tunnel
DFX
DFM
16Dec'19

## Slide 4: Project plans Refrigeration-Distribution
Interfaces to be frozen by end 2020
Used now to discuss for LS3 (ready to install, P1 w.r.t P5)
-
+
Today
UL’s available
UR’s available
LS3
16Dec'19
Fine for Cryo deliveries,
Need to catch-up for “users”

## Slide 5: WP9 organisation and roles
Coordination: Serge Claudet, Rob Van Weelderen
Quality, documentation, project management: Antonio Perin + Sigrid Knoops*
Magnet cooling requirements: Rob Van Weelderen + K. Puthran
Crab cavities cooling requirements: Krzysztof Brodzinski
Heat Load management: Antonio Perin + M. Spitoni
General process overview: Udo Wagner + Vanessa Gahier + Benjamin Bradu
3D models and integration: Jos Metselaar (+ designers)
Instrumentation & controls: so far CRG/CE-CI experts
P4-RF and P1-P5
  Refrigeration: Emmanuel Monneret (Sep’17)
  Cryodistribution: Michele Sisti (Jun’17)
  Cryogenic infrastructure: Gérard Ferlin (Jul’19)
SPS-BA6:
  Refrigeration: Laurent Delprat
  Cryodistribution: Krzysztof Brodzinski + Hendrie Derking
  Infrastructure: Jos Metselaar + O. Pirotte
Re-inforced 2019
Part time contributors during LS2, but valuable help expected from experienced colleagues
Done!
Consolidations: S. Claudet + Jos Metselaar
16Dec'19

## Slide 6: Towards new organgram
Coordination:
QA, documentation
Heat loads – Process
3D models
Incl. instrumentation
Cryo sub-systems
Incl Refrigerators, …
- QXL Cryoline: M. Sisti
Interfaces:
- IT+D1 cooling: Rob van Weelderen
- IT+D1 techno: M. Sisti
- 11T-connect-cryostats: R.v.W
- D2: A. Perin + t.b.d
- Crab Cavities: K. Brodzinski (+ t.b.d)
- Cold Powering: V. Gahier

## Slide 7: SPARES SLIDES

## Slide 8
HL-LHC cryogenic “control” principles
Instrumentation
=> Racks-Electronics
=> Controls
16Dec'19

## Slide 9: Cryo-distribution reference
IT-D1
D2
CC
QRL-QXL
Reference established, optimised considering project requirements and CRG expertise
All users sharing common resources
16Dec'19

## Slide 10: QXL Cryoline integration & interfaces
Radiation level: instrumentation considered OK up to 100kGy
16Dec'19

## Slide 11: TID on Cryo instrumentation
Thanks to G. Lerner and EN-STI team
OK
NotOK, alternative!
Ok for less accurate technology
16Dec'19

## Slide 12: QXL Cryoline integration and radiation constraints
- Strategy defined for instrumentation, (OK up to 100 kGy)
- Cabling to electronic cards in sheltered areas (cryo racks) and control architecture being defined (space reserved for cryo racks)
16Dec'19

## Slide 13
Cryo
PLC
Cryo
Cryo
Cryo
PLC
Cryo
Cryo
Cryo
Cryo
Cryo
Cryo
Cryo
Cryo
LHC Cryo “valves” racks, R2E-LS3 relocated and re-work required
HL-LHC Cryo “valves” cabinets !New HL!
IP1
They will be free after LS3, R2E-LS3 relocation due to the increase of the radiation levels in UJ’s
Cryo
Cryo
Cryo
UJ14
UJ16
Spare
Spare
Spare
HL-LHC rack, Spare to adapt to SC-Link instrumentation
Cryo
Cryo
RR17
Cryo
Cryo
RR13
Cryo
LHC Cryo “RadTol instrumentation” racks, re-work required
Cryo
Cryo
Cryo
For DFBL, Q6-Q5-Q4, QRL_LSS
For IT+D1, DF’s, D2, CC, QXL
For DFH’s, could be moved to gallery extremity
HL-LHC cryogenic “Valve” and “RadTol instrumentation” Racks
For DS+ARC+QRL_arc ?
For DFBL + QRL_LSS_RM (1)
For QXL valves (2)
For DFH’s + QXL + QRL_LSS, could be placed together in this zone
For DFBL, Q6-Q5-Q4, QRL_LSS
For DS+ARC+QRL_arc ?
For IT+D1, DF’s, D2, CC, QXL
Identify RR cryo racks to separate arc from LSS (!all LSS cables dismounted for LS3 => Re-work required!)
Move cryo instrum racks from UJ to UL (R2E-LS3)
Proposal to re-group all non Rad-Tol Cryo racks for LSS (LHC+HL) at gallery extremities
Then cabling + fibers requirements to be made on solid grounds!
2 x CC
D2
DFX
D1
CP
Q3
Q2b
Q2a
Q1
Q4
Q5
Q6
JM
Junction Module
DFBL
DFM
16Dec'19